ASSESSMENT OF WATER SUPPLY AND SANITATION IN RURAL AREA OF MISRAK BADWACHO WOREDA, HADIYA ZONE, SNNPR, ETHIOPIA

MSc THESIS

TESEMA HEGANA ANEBO

HAWASSA UNIVERSITY, HAWASSA, ETHIOPIA

Sept, 2017

ASSESSMENT OF WATER SUPPLY AND SANITATION IN RURAL AREA OF MISRAK BADWACHO WOREDA, HADIYA ZONE, SNNPR, ETHIOPIA

TESEMA HEGANA ANEBO

A THESIS SUBMITTED TO THE

DEPARTMENT OF BIO-SYSTEMS AND ENVIRONMENTAL ENGINEERING,

HAWASSA MAIN CAMPUS SCHOOL OF

GRADUATE STUDIES

HAWASSA UNIVERSITY

HAWASSA, ETHIOPIA

IN PARTIAL FULFILLMENT OF THE

REQUIREMENTS FOR THE

DEGREE OF

MASTER OF SCIENCE IN WATER RESOURCE ENGINEERING AND MANAGEMENT

Sept, 2017

Declaration of the Author

I, Tesema Hegana declare that this thesis represents my own work and all sources of materials used for this thesis have been duly acknowledged. I seriously declare that this thesis is not submitted to any other institution anywhere for the award of any academic degree, diploma or certificate.

Name: Tesema Hegana Anebo

E-mail address: - thasth2000@gmail.com

Signature: ……………………

Place:  Hawassa University, Hawassa

Date of submission: ----------2017

ADVISORS’ APPROVAL SHEET

Hawassa University

School Graduate Studies

This is to certify that the thesis entitled “Assessment of water supply and sanitation in Rural area of Misrak Badwacho Woreda, Hadiya Zone, SNNPR, Ethiopia.” is submitted in partial fulfillment of the requirement for the degree of Master’s in Master Of Science In Water Resource Engineering And Management and has been carried out by Tesema Hegana under my/our supervision. Therefore, we recommend that the student has fulfilled the requirements and hence hereby can submit the thesis to the department.

Name of Major Advisor                                          Signature                                            Date

_________________________                     ____________                  _____________

Name of Co-advisor                                             Signature                                           Date

_________________________                     ____________                  _____________

EXAMINER’S APPROVAL SHEET

We, the undersigned, member of the Board of Examiners of the final open defence by Tesema Hegana Anebo have read and evaluated his thesis entitled “Assessment of Water Supply and Sanitation in Rural Area of Misrak Badwacho Woreda, Hadiya Zone, SNNPR, Ethiopia.” and examined the candidate. This is, therefore, to certify that the thesis has been accepted in partial fulfillment of the requirements for the Degree of Master of Science in Water Resource Engineering and Management.

_________________________                     ____________                  _____________

Name of the Chair person                             Signature                              Date

_________________________                     ____________                    _____________

Name of Major Advisor                                Signature                                 Date

_________________________                     ____________                    _____________

Name of Internal Examiner                             Signature                             Date

_________________________                     ____________                    _____________

External Examiner                                         Signature                             Date

_________________________                     ____________                    _____________

SGS Approval                                                Signature                             Date

Final approval and acceptance of the thesis is contingent upon the submission of the final copy of the thesis to the School of Graduate Studies (SGS) through the Department/School Graduate Committee (DGC/SGC) of the candidate’s department.

Acknowledgment

This study is the result of cooperative efforts of many people without whom it would not be possible.  Thus,  in  this  section,  I  would  like  to  acknowledge  the  people  most  directly  and indirectly  contributed  their  effort  for  this  study  becoming  a  reality.  First  and  for  most,  I would  like  to  express  my  heartfelt  and  deepest  gratitude  to  my  advisor  Dr. Brook Abate (Phd) and Co-advisor Dr Moltot Zewdie (Phd) for their invaluable assistance, advice, constructive comments and observations throughout this study.

Second,  I  would  also  like  to  thank  Hawassa  University,  School  of Graduates  Studies,  College  of  IOT,  Department  of  Bio system and Environmental engineering for giving this opportunity.

Third, it gives me a great pleasure to take this special opportunity to express my genuine appreciation to Misrak Badewach Woreda Administrator for some financial support by allowing my monthly salary, water and Irrigation office and Health office for their cooperation in providing valuable information.

Forth, I would like to extend my appreciation to data collectors and study participants for their kind cooperation and   invaluable collaboration during data collection period.

Then, also I would like to extend my especial thanks to my family and my friends for their endless support on my work.

At  last  but  not  least,  I  would  like  to  express  my  cheerful  thanks  to  all  of  you  who  have supported, encouraged and helped me in all possible ways in the move to the realization of this study.

Table of Contents

List of Acronyms	v

List of tables	vi

List of figures	vii

Abstract	viii

1.	INTRODUCTION	1

1.1.	Background	1

1.2.	Statement of the Problem	3

1.4.	Objectives of the Study	5

1.4.1.	General objective	5

1.4.2.	Specific objectives	5

1.5.	Research Questions	5

1.6.	Significance of the Study	5

2.	LITERATURE REVIEW	6

2.1.	Water Supply and Sanitation in Ethiopia	6

2.2.	Rural Water Supply	7

2.2.1.	Sources of Water	7

2.2.2.	Water accessibility	7

2.2.3.	Water affordability	8

2.2.4.	Safe drinking water	8

2.2.5.	Time and distance to fetch water	9

2.3.	Water demand and future forecasting	9

2.3.1.	Water demand	9

2.4.	Sustainability of Water Schemes in Rural	10

2.4.1.	Operation and Maintenance of Water Schemes	11

2.4.2.	Factors affecting sustainability of rural water supply	11

2.4.3.	Approaches for sustainable rural water supply management	13

2.5.	Quality of drinking water	14

2.5.1.	Water quality parameters	14

2.5.1.1.	Physical and aesthetic parameters	14

2.5.1.3.	Bacteriological parameters	16

2.6.	Sanitation Access and Utilization	17

2.6.1.	Sanitation	17

2.6.2.	Sanitation policy and goals	18

2.6.3.	Sanitation and health	19

2.6.4.	Benefits of access to water supply and sanitation	19

2.6.4.1.	Respecting human values	19

2.6.4.2.	Generating economic benefits	19

2.6.5.	Sustainable sanitation	20

3.	MATERIALS AND METHODS	22

3.1.	Descriptions of the Study Area	22

3.1.1.	Location and accessibility	22

3.1.2.	Climate	23

3.1.3.	Economy	23

3.1.4.	Population condition	24

3.2.	Data Source and Collection Instruments	24

3.2.1.	Methods for evaluating existing water supply	24

3.2.2.	Population, water supply and demand projection	24

3.2.3.	System losses	26

3.2.4.	Climate Factors	26

3.2.5.	The house hold water use pattern and sanitation status	27

3.3.	Sampling techniques	27

3.3.1.	Sample size determination	29

3.4.	Data collection instruments	30

3.4.1.	Primary data collection	30

3.4.2.	Secondary data collection	31

3.5.	Water quality analysis	31

3.5.1.	Chemical aspects of drinking water quality parameters	31

3.5.2.	Water quality test	32

3.5.2.	Analysis of bacteriological parameters	35

3.5.3.	Analysis of physicochemical parameters	35

3.5.	Observation for technical analysis	36

3.6.	Statistical Analysis	36

4.	RESULTS AND DISCUSSION	37

4.1.	Household Water Use and Collection	37

4.1.1.	Distribution, type and current status of water schemes	37

4.1.2.	Time and distance to fetch clean drinking water	38

4.1.3.	Household water use habit	39

4.1.4.	Per capita Water consumption (lpd)	40

4.1.5.	Water use in the study area	41

4.2.	Water supply and consumer satisfaction	42

4.3.	Population and Water Demand Projection in the Rural Area	43

4.3.1.	Population projection	43

4.3.2.	Water demand projection for future	43

4.4.	Sustainability of Rural Water Schemes	45

4.4.1.	Technical factors	45

4.4.2.	Physical Condition of Water Supply Points	46

4.4.3.	Type of Technology and Construction Quality of water schemes	46

4.4.4.	Community Participation and Contribution in Water Supply	47

4.4.5.	Cost Sharing, Recovery and financial management	49

4.4.6.	Training to Water Committees in the Study Area	51

4.4.7.	Institutional Support and Capacity of the Woreda Water Staff members	52

4.5.	Water Quality Analysis	54

4.5.1.	Bacteriological parameter	54

4.5.1.1.	Total coli form	54

4.5.1.2.	E-coli	54

4.5.2.	Physicochemical parameter	56

4.5.2.1.	Turbidity	56

4.5.2.2.	Electric conductivity	57

4.5.2.3.	Total dissolved solids	58

4.5.2.4.	Total hardness	58

4.5.2.5.	PH (hydrogen ion concentration) of drinking water	59

4.5.2.6.	Dissolved ammonia	60

4.5.2.7.	Iron	61

4.5.2.8.	Residual chlorine	62

4.5.2.9.	Nitrate (NO3-) and Nitrite (NO2-)	64

4.5.2.10.	Manganese content of water samples	65

4.5.2.11.	Fluoride	66

4.6.	Sanitation and Hygienic Practice	68

4.6.1.	Type of latrine and construction material	68

4.6.2.	Habits of using pit latrine	68

4.6.3.	Hygienic behavior	70

4.6.3.1.	Hand washing practice	70

4.6.3.2.	Solid wastes and baby feces disposal	71

5.	CONCLUSION AND RECOMMENDATION	73

References	77

Appendices	86

# List of Acronyms

| ADD | Average Daily Demand |
| --- | --- |
| AWD | Acute watery diarrhea disease |
| CFU | Colony forming unit |
| CSA | Central Statistic Agency |
| DWD | Domestic Water Demand |
| EHIB | Environmental Health Investigation Branch |
| GoE | Government of Ethiopia |
| GTP | Growth and Transformation Plan |
| HH | House Hold |
| L/c/d | Litter per capital per day |
| LWD | Livestock’s Water Demand |
| MDGs | Millennium Development Goals |
| MoF | Ministry of Finance |
| MoWIE | Ministry of Water, Irrigation and Energy |
| RADWQ | Rapid Assessment of Drinking Water Quality |
| RWSN | Rural Water Supply Network |
| RWSS | Rural Water Supply and Sanitation |
| SL | System Lose |
| SSA | Sub-Saharan Africa |
| TNTC | Too Numerous To Count |
| UNESCO | United Nation Economic and Science Organization |
| UN-HABITAT | United Nation Human Settlement Program |
| UNICEF | United Nation Children Fund |
| VLOM | Village Level Operation and Maintenance |
| WHO | World Health Organization |
| WSSCC | Water Supply and Sanitation Collaborative council |

# List of tables

Table 1:-Accessibility indicators (WHO, 2004).	8

Table 2:-Generic water supply level (Moriarty et al, 2011)	9

Table 3:-water quality counts per 100mL and the associated risk	17

Table 4:- Economic benefit	20

Table 5:- Live stocks water demand	26

Table 6:- Climate factors adjustment.	27

Table 7:-WHO standard for water quality (WHO, 2008)	33

Table 8 :- Type of technology preferred by customers in the study area	47

Table 9 :-Women’s burden on water collection at HH level	49

Table 10:-Financial management system in the study area	50

Table 11:-Training for water committee in the study area	52

Table 12:- Bacteriological analysis of drinking water in the study area	55

Table 13:-Turbidity of drinking water in the study area compared WHO guide line	56

Table 14:- Conductivity and temperature of drinking water in the study area	57

Table 15:- TDS of drinking water	58

Table 16:- Hardness of drinking water in the study area	59

Table 17:- PH of drinking water in the study area	60

Table 18:- Dissolved ammonia	61

Table 19 :-Iron concentration in drinking water in the study area	62

Table 20:- Nitrate and Nitrite concentration in drinking water in the study area	64

Table 21:- Manganese contents of water sample	65

# List of figures

Figure 1:- conceptual framework for sustainable water services (Carter, 2010)	12

Figure 2:- Map of Misrak Badawach Woreda.	23

Figure 3:- Schematic presentation of sampling design	28

Figure 4:- Sampling points	34

Figure 5:- Map of water points/schemes distribution in the rural area of the woreda	37

Figure 6:- Walking distance, walking time and waiting time to fetch clean drinking water	39

Figure 7:- HH water use	41

Figure 8:-Frequency of traveling to water source	42

Figure 9 :-Projected population of Misrak Badewacho Woreda for 10 years	43

Figure 10 :-Projected water demand for the future	44

Figure 11:- Residual chlorine concentration in drinking water in the study area	63

Figure 12:-Fluoride map of the study area	67

Figure 13 :-Hand washing practice and access to cleaning agents around the toilet room	71

Figure 14 :-Latrine using habit in the study area	71

Figure 15:-Child feces and solid waste disposal	72

# Abstract

Providing access to safe water and sanitation to combat poor health is an integral part of the strategy to alleviate poverty in many countries and the sustainability of both sanitation and water schemes are basic requirement for development. The overall aim of the study is to assess water supply and sanitation and its challenges in rural area of Misrak Badawacho woreda. Questionnaires of both closed and open ended, field visit, documents review, FGD and key informants interview were used. Out of the total kebeles 10% were selected and samples were collected based on random sampling statistical technique. As found out according to the study, more than 63.53% of the community were walking more than the standard time of WHO, 64.7% of the community were unsatisfactory on water supply service, daily demand of water were only 5.97L/c/d, the actual water demand were only 1122.658m3/day but the required demand were 4701m3/day and the water coverage were only 29.85%. Unfair distribution of the schemes and HH size are also the other factors for low water consumption pd/cp. As found, the factors for sustainability of water schemes are technical factors such as absence of community participation during technology selection, absence of spare part, low quality of spare part, poor managements of both schemes and financial system. In addition to this water quality is also another factor such as pH and high concentration of manganese. All the water in the study area is corrosive due to low pH that ≥7. As found in the study area 95.3% of the community have latrine but 70.6% are unusable manner because the latrines have no proper privacy and improper for setting, 9.4% have no roof and wall, open defecation were become 35.3% in the area and only 15.3% of latrines have closed wall and roof. The other factor is cultural factors which increase open defecation. According to water quality test 80% of the water supply systems were contaminated by disease causing bacteria, there is no chlorination program of water schemes and most areas are affected by high fluoride concentration. Due to this in the study area UAP target is missed, schemes are exposed for non functionality, the clean water supply systems are not improved due to quality problem and communities are still using unimproved sanitation facilities. To overcome such problems, rehabilitation of existing system, expansion of on spot water supply systems, investigations additional water sources to increase the amount water production and minimize traveling distance. Increasing community participation, improving management system and using corrosion resistant pipes and rods increases sustainability of the water schemes. To improve water quality problems disinfection of water source, and investigation of alternative treatment method of fluoride and water sources with low fluoride are better. Working on improvement of rural sanitation facilities and using alternative means of latrine construction to minimize cultural factors in the study area.

Key words: - Water, Rural water supply, accessibility, sustainability, quality and sanitation

# INTRODUCTION

## Background

Water is life in general and potable water in particular is essential for life, health and human dignity. When human beings do not have access to potable water supply and sanitation, they suffer a lot in the overall socio-economic and environmental existence. The main health problems, especially in developing countries like Ethiopia, are results of poor access of potable water; poor hygiene and sanitation practices. To overcome such problems, supplying safe drinking water is of critical importance. Water supply and sanitation are among two of the most important sectors of development. Improving of community water supply and sanitation results in to improving of social and economic conditions and improved health (Davis et. al.1993 in Telmo, 2002).

Sustainable development Goal 6 to Ensure Availability and Sustainable Management of Water and Sanitation for All and targets 6.1, 6.2 and 6.3 are seated to achieve universal and equitable access to safe and affordable drinking water for all, to achieve access to adequate and equitable sanitation and hygiene for all and end open defecation, paying special attention to the needs of women and girls and those in vulnerable situations and to improve water quality by reducing pollution, eliminating dumping and minimizing release of hazardous chemicals and materials, halving the proportion of untreated wastewater and substantially increasing recycling and safe reuse globally by 2030.

According to WHO report 2015, global access to an improved drinking water source, rising to 91% and sanitation coverage is raised to 68%, the rural coverage for improved drinking water is 84% and access to improve sanitation is 51% in 2015. But still more than 663 million people are relaying on unimproved source of drinking water and 2.4 billion people do not have access to improve sanitation. From those using unimproved water for drinking 93% and from those not having improved sanitation 70% live in rural area of the world. 946 million People are still practicing open defecation. From those practicing open defecation, 93% live in rural area. Sixteen countries have reduced open defecation by more than 25 percentage points during the MDG period.

Sub Saharan Africa were mostly affected by unsafe drinking water supply and unimproved sanitation.  Access to safe drinking water is between 50 to 75%, which is 68%. This shows that 2 out of 5 people have no access to improved source of drinking water live in Africa. Access to improved sanitation facility is only 30%.

According to African Ministers councils on Water (2012), the improved water supply coverage of Africa is 66% and from those the rural coverage is 54%. The progress of improved water supply coverage since 1990 to 2010 is 56%, 58%, 61%, 66% within two decade. The annual progress is 0.5%. The rural coverage is 54% and its progress is 42%, 44%, 47%, and 54%. The annual progress of improved water supply in rural area of Africa is 0.6%.  The sanitation coverage is also small as compared to global that is 31% and 40% respectively of rural and whole Africa. The progress is also less than 0.3%. Open defecation in rural Africa is also 32%.

Water is one of primary driving force for sustainable development of any country, Where its environmental, social and economic development are to large extent dependant on improved water supply service. Universal water and sanitation could prevent thousands of children deaths and could give ample time for women and children to go to work or school. In Ethiopia access to rural water supply was among the lowest in the sub-Saharan Africa. However, over recent years access to water supply has been on an increasing trend in rural Ethiopia (MoWR, 2006).

Livelihoods of SSA countries like Ethiopia are harshly affected due to lack of safe water supply service delivery (Solomon, 2011) but Ethiopia possesses dozen major river basins having the annual surface run-off estimated at 123 billion m3 and draining a total catchment area 1136816 km2. The ground water potential of the country is also reckoned at 28 billion m3. In Ethiopia, in both rural and urban area there was poor access of potable water and sanitation facilities and the water supply service level in terms coverage, quality and quantity, and accessibility is also very low due to factors like topography, source of water reserve, distribution system, treatment plants and community health center (Taye, 2010).

According to 2012/2013 report of MoWIE, Ethiopia has already reached 61.6% achieving the MDG target as the current access. The urban coverage is 80.72% and the rural coverage is 58.71%. But still more than 41.29% of population of the country has not accessed the minimum potable water service of 15 liters per day per person in a radius of 1.5km in rural areas and 19.28% of population in urban area has not accessed the minimum potable water service of 20 l/c/d with in radius of 500m. According to JMP (2015) report, Ethiopia achieved the largest decrease open defecation from 92% in 1990 to 29% in 2015. The reduction is five times greater than the regional average for the same period and an average reduction of over 4 percentage points per year over 25 years. But the sanitation coverage is still low that improved sanitation is only 28%.

## Statement of the Problem

Around 663 millions of people globally do not have access to improved water supply and whereas 2.4 billion people do not have access to any type of improved sanitation facilities.  The sanitation target for 2015 is 77%, but the achievement is 68%. The world remains off track to meet the MDG sanitation target. If the current trend continues, it is set to miss the target by more than half a million people. Sub Saharan Africa, Oceania and south Asia have the lowest coverage of improved water supply and sanitation that 68%, 56%, 93% and 30%, 35%, and 47% respectively. From 946 million people those practicing open defecation, 9 out of 10 (90%) live in rural area. Fecal contamination in rural water supply is one of the problems.

Globally about 1.8 million people die every year due to diarrheal diseases; 90% of them are children less than 5 years of age. 88% of diarrheal disease is attributed to unsafe water supply, inadequate sanitation and hygiene (JMP, 2015).

The same is true in sub Saharan Africa that is, the countries have the lowest improved drinking water supply coverage and improved sanitation facilities (JMP, 2015). Ethiopia is one of the Sub Saharan African countries having the same problem especially in rural area.  Even though, sanitation coverage is increasing in Ethiopia, proper utilization was still very low. Resent study show that, only 28% use improved latrines, 14% share latrine, 29% use unimproved latrines and 29% practice open defecation. This shows that 28.69 million people who defecate indiscriminate on the open field (JMP, 2015).

However, the use and management of the available latrine remains poor. Many international agents and nongovernmental organizations have been working to improve the hygiene and sanitation situation by constructing latrines by using varies types of subsidies. But after such effort, it remains difficult to find village free of open defecation in the country.

Success in sanitations has generally measured on the bases of the number of latrine constructed with in the given period of time instead of the extent to which people continue to practice open defecation even when latrines are available (FMoH, 2012). Due to this diarrhea death is more than 38500 under 5 children in Ethiopia (UNICEF, 2013).

In the same way, Misirak Badewacho woreda is facing the problem of improved drinking water supply and improved sanitation facilities. According to improved water supply, there are   105 water supply schemes but people still waking more distance, the weighting time is high; women and girls are wasting their time on fetching water. The other problems in the woreda were distribution, access, affordability and reliability problem. In addition to those waterschemes susteinablity is also another problem. Regarding to sanitation, almost half of the rural population of the woreda has no improved sanitation facilities. Open defecation is very high. Diarrhea, Typhoid, Scabies and AWD are also another problem in the study area.

Though, this shows that there was less access to improved drinking water and improved sanitation in the area. It will be helpful to assess the exact level access to the service and the challenge for future action.

  - Scope

The study focus on water supply and sanitation in rural area of Misrak Badawach Woreda. It has a primary focus on water supply and demand projection, technical sustainability of rural water schemes, water quality and rural sanitation situation.

## Objectives of the Study

### General objective

The overall aim of the study is to assess water supply and sanitation and its challenges in rural area of Misrak Badawacho woreda.

### Specific objectives

- To assess the existing water supply, demand and project the future demand

- To assess technical sustainability of water supply schemes of the study area

- To evaluate the quality of drinking water in reference to established standards

- To assess the sanitation situation in the study area

## Research Questions

- How do users evaluate the existing water supply and future demand against satisfaction?

- What are the factors that affect the sustainability of water schemes in the study area?

- Does the water quality in the study area fulfill the established standards?

- How is the access and utilization of sanitation facility in the study area?

## Significance of the Study

This study will be expected to increase the knowledge and up to date information for individuals who are interested to study further on the supply, coverage, accessibility, reliability, sustainability, quality of drinking water and sanitation status in the study area. The result will serve as a working document to policy makers in the water sector and the non-governmental organization. Furthermore, it will help to draw possible suggestions and recommendations in order to improve status of improved drinking water supply and sanitation and quality of drinking water in the study area.

# LITERATURE REVIEW

## Water Supply and Sanitation in Ethiopia

Water supply problem in Ethiopia has multiple impacts on people's health, education and nutrition. That is, large part of the population still uses unprotected (unsafe) sources of water. For this, the access coverage of water supply in Ethiopia is very low in rural area that is in rural 58.71% and in urban 80.72%. The average coverage of the country is 58.71% (MoWIE, 2013). According to JMP (2015), statistics the water supply and sanitation in rural, urban and at national level of Ethiopia was 49%, 93%, 57% and 27%, 28% and 28% respectively but the baseline for both improved water supply and sanitation in rural, urban and at national level was 3%, 10%, 13% and 0%, 20% and 3% respectively. This shows that large part of the population still uses unprotected (unsafe) sources of water. For this, the access coverage of water supply and sanitation in Ethiopia rural area is low. Consequently, water-borne diseases, poor sanitation and lack of hygiene still are the most common cause of illness and death. Women and children also are main victims of these problems, as girls and women walk long distances everyday to fetch water instead of doing other productive tasks. (JMP, 2014)

Moreover, children die at early age due to unsafe drinking water before developing immune system and 5.9 million children under-five die annually from all causes. Diarrhea disease is the third leading cause of death among children under five and it is estimated that more than 340,000 children under five die annually from diarrhea diseases due to poor sanitation, poor hygiene, or unsafe drinking water that is almost 1,000 per day (WHO, 2015).

UN MDG, goal number 7 targets 10 was seated to halve the proportion of people without sustainable access to safe water and basic sanitation by 2015 and it is accepted by many courtiers (MDG, 2000).  However, this goal will be much harder to achieve in Africa than in the rest of the developing world due to the low level of the coverage in the base year coupled with high population growth rates in some areas (Harvey and Reed 2004).

Moreover, government of Ethiopia has planned a Water Supply and Sanitation Program that has set targets to be achieved over the 15- year program period starting from 2015/2016. Targets are therefore set for the national water coverage to be attained at the end of program period in 2020, in the same manner target for the Urban and Rural Water Supply also set. Those targets are 25L/c/day of improved water supply within 1km radius in rural and for urban community 40-100L/c/day within 0.5km radius in the second Growth and transformation plan of Ethiopia (MoWR, 2015).

## Rural Water Supply

Rural water supply projects differ from municipal water development, large-scale irrigation works, or hydropower development in that, a RWS project is focused primarily on the management of land and water resources for human consumption in rural areas, through the utilization of local institutions (Chritophor, 2008), it is an action, by a community and any collaborators to improve the access individuals have to a clean and reliable water source (Bhandari B. and Grant M., 2007). The systems are different from the urban system by type of management and governance, which are community based and derived from social rules (Chritophor, 2008).

### Sources of Water

According to Sijbemsa, (1989) and UN-HABITAT (2003), rainwater collected or harvested from surfaces and stored in a container, tank or cistern, surface water which includes rivers, tanks, lakes, manmade reservoirs and sea water and ground water which emerges as springs and well water are the three common sources. According to UN-HABITAT (2006) the common water service provision options are standpipes, yard and house connections.

### Water accessibility

There are no universal definitions for access to water. According to MoWIE (2002) accessible water supply means getting safe and quality drinking water with in standard that is 15l/p/d within 1.5km radius and according to JMP (2015) it implies facilities close to home that can be easily reachable and used when needed. If communities get clean drinking water within standard distance and permissible time, it is accessible (WHO, 2004).

Table 1:-Accessibility indicators (WHO, 2004).

| Travel distance to collect water | WHO standard | Average time spent to collect water | WHO standard |
| --- | --- | --- | --- |
| water supplied through multiple taps continuously | (optional access) | water supplied through multiple taps continuously | (optional access) |
| <100m | One tap on plot or within 100m (intermediate access) | within 5 minutes | intermediate access |
| 101-200 | Between 100 to 1000m (basic access) | 5-30 minutes | Basic access |
| 201-500m |  | 30 minutes to 2hours |  |
| 500-1000 |  | 2-4hours |  |
| 1.1-2Km(1.5km) | more than 1000m | >4hours | no access |
| >2km (3km) | no access |  |  |

Source

### Water affordability

The affordability of water has a significant influence on the use of water and selection of water sources. It is also determined by location and household wealth status (IRC and WUSP, 2012). In African standard if water charges are within 5% of household income, they are affordable (Bannerjee et al. 2008).

Households with the lowest levels of access to safe water supply frequently pay more for their water than households connected to a piped water system. The high cost of water may force households to use small quantities of water and alternative sources of poorer quality that represent a greater risk too (Public Health Protection, 2000).

### Safe drinking water

Safe drinking water is drawn from freshwater sources, which represent only 2.5% of the 1.4 billion cubic kilometers of water covering the earth. Less than 1% of this fresh water is safe to drink without prior treatment. “safe drinking water” as water from an “improved water source” which includes household connections, public standpipes, boreholes, protected dug wells, protected springs and rainwater collections (JMP, 2015).

### Time and distance to fetch water

Women in many developing countries walk for an average of about 6 kilometers each day to collect water. In such courtiers water collection for domestic purposes is generally the responsibility of women and children. Therefore, availability of clean water to households reduces the women’s workloads and hours spent in fetching water (UNFPA, 2002). Carrying heavy water jars over long distances puts women’s health at risk, particularly during pregnancy. Bearing heavy loads can result in premature birth, a prolapsed uterus, or back injuries (UNFPA, 2003).Yang girls are also lost education and other associated opportunities due to lack of  basic water and sanitation service (UNDP, 2006).

Table 2:-Generic water supply level (Moriarty et al, 2011)

| Service level | Quantity (l/se/d | Quality | Accessibility* | Reliability | Status per JMP definitions |
| --- | --- | --- | --- | --- | --- |
| High | ≥60 | Good | <10 | Very reliable | Improved |
| Intermediate | 40-60 | Acceptable | 10-30 | Reliable/secure |  |
| Basic (normal) | 20-40 |  | 30-60 |  |  |
| Sub-standard | 5-20 | Problematic | ≥60 | Problematic | Unimproved |
| No service | <5 | Unacceptable |  | Unreliable / Insecure |  |

*Minutes spent on fetching water per person per day

### Water demand and future forecasting

#### Water demand

Demand of water is the amount of water required to meet all the needs of the people, which the system service. It is expressed as per capita demand per day (l/c/d). Some of the factors that affect water demand are community growth, economic development and population growth in rural area. Such factors increase amount of water demand. Essentially, the analysis of effective water demand aims at offering all necessary information and knowledge for designing an effective water demand policy and especially a policy that pursues the effective use of water resource (Titenbeg, 1996 and Pearce, 1999).

In rural area water is used for different purposes, such as for domestic, livestock’s, commercial, institutional and industrial purposes. Some factors also increase water demand. Such factors are climate factor and system loss.

Domestic water demand

It the way of using water for both indoor and outdoor household purposes that all the things you do at home: drinking, preparing food, bathing, washing clothes and dishes.

System Loss (SL)

It is unaccounted water demand including distribution losses, over flow from service reservoir, leakage from main, service pipe and service pipe connections and leakages for valves etc (EPA, 2010)

The designing water supply projects are done by the base of projected population since it is the main factors which affect the water supply projects.

There is a correlation between water consumption and socio-economic change. Such socioeconomic changes like change in life style, changing housing type, and household size, acceptability and market penetration of water efficient appliances alternative sources of water, economic development, employ opportunities educational level and water pricing (Bredley, 2004). So for proper projections of future requirements water supply, population growth; economic growth; growth in number of consumer units; level of service provided to residential consumer units; changes in income levels of residential consumer units information’s are required.

## Sustainability of Water Schemes in Rural

Sustainability is a concept that is ‘complex and contested’ (Pretty, 1995). It is far from having a single accepted definition in development. However, discussions within Water Aid adopt the following definition from Carter (2010, p6) that builds on that of Len Abrams (2000):

“Sustainability is about whether or not water and sanitation services and good hygiene practices continue to work over time. No time limit is set on those continued services and accompanying behavior changes. In other words, sustainability is about lasting beneficial change in WASH services and hygiene practices.”

Different conceptual framework has been developed to understand sustainability form which one important conceptualization divided it in to five key dimensions.   (Parry Jones et al, 2001), such dimensions are institutional (organizational), social, environmental, technical, and financial/economic. These dimensions are interdependent and context specific. This is why it is difficult to conceptualize it, and perhaps why there are too few good examples of sustainability in practice (Carter et al., 2006)

### Operation and Maintenance of Water Schemes

In an engineering sense, operation refers to hourly and daily operations of the components of a system such as plant, machinery and equipment (valves etc.) which is done by an operator or his assistant. This is a routine work.

The term maintenance is defined as the art of keeping the plant, equipment, structures and other related facilities in optimum working order (WHO, 2005). In other word, operation is conveying safe drinking water for users and handling of facilities by users to ensure long component life and Maintenance required for sustaining the water supply system in a proper working conditions. It is categorized in to three, preventive, corrective and crisis (unplanned response) maintenance.

### Factors affecting sustainability of rural water supply

It is increasingly recognized that the achievement of lasting sustainable water services is dependent on the interplay of a number of factors focusing on a community based, externally supported operation and maintenance system. (Water Aid, 2011)

12 Recurrent cost sharing

9 Community based,

Externally-supported

O&M system in place

- Water user committee functioning

- Revenue collected and recorded

- Upkeep and maintenance tasks being under taken

- Strong links between users community and supports

- Strong links between users community and supports organization in place

- Environmental monitoring

DESIGN AND IMPLEMENTATION

1 Establish need and service level

10 management and monitoring system

11. Technical assistance to WUCs and users

13 Support to supply chains and service providers

14 support around externalities

EXTERNAL SUPPORT

2 Full user participations

3 Technology fit for purpose and chosen by users

4 capital contribution by users

5 High quality of implementation

6 Appropriate tariff setting

7 Environmental aspects properly addressed

8 Monitoring systems in place

Figure 1:- conceptual framework for sustainable water services (Carter, 2010)

The 14 factors listed above are vital for achieving sustainable, externally supported community based management of water services. Without real expression of demand, sustainability of services may be compromised (Carter, 2010).

According to Parry-Jones et al (2001), if a community is satisfied with its current source of water then it may not understand the need for another water point and, as a result, not contribute sufficiently to maintaining the service. Users will not priorities and value a service that does not meet their needs. This pre-construction community mobilization and training is not always carried out or is often of poor quality. The involvement, or not, of users in projects and programmers’ will affect sustainability of water services (RWSN, 2009).

Finance is another key factor affecting sustainable water services, capital costs and appropriate tariff levels. Capital costs are vital to community participation because they act as an indicator of community commitment to the project (Breslin, 2003). Alongside this, water tariffs must be sated based on community ability to finance operation and maintenance. Insufficient financing levels also reduce the life expectancy of hand pumps (Bauman, 2006).  Nowadays, the need for external support to communities to operate, maintain and sustain lasting services permanently is becoming increasingly accepted. The Rural Water Supply Network (RWSN, 2010) declares the belief that ‘communities are always capable of managing their facilities on their own’ to be a myth. Sustainability must move people from ‘independence’ using contaminated water sources to ‘interdependence’ where they have improved sources, but need to interact with a form of external support (Carter, 2006). All of these aspects use participation to install a sense of ownership in the community (Parry-Jones et al., 2001) and maintain a water service over time.

### Approaches for sustainable rural water supply management

Several approaches have been undertaken since 1980s International Drinking Water and Sanitation Supply Decade in an effort to improve the living conditions of rural communities through access to adequate water.  Such approaches are centralized and community managed approaches.

The centralized one that the system managed by the central government and the community base participatory approach is the management system that based on community (Kenedy M., 2004). Community management refers to the capability of a community to control, or at least strongly influencing the development of its water and sanitation system. Community management consists of three basic components such as responsibility, authority and control. Today, community management is highly regarded model in rural water supply (Carter et al., 1999). Community participation also enhances accountability, equity, and sustainability of benefits (Zemenu, 2012).

However, Harvey  et al, (2006) question how there can be automatic expectations that community management can be successful  in  low-income countries, since communities do not generally manage rural water systems in high-income countries successfully. Bauman (2006) suggest that two models of collecting O&M to keep the water schemes more sustainable. The two models are Model 1(community managed). In this model O&M cost are covered by community and Model 2 is community managed plus model. In this model O&M cost are shared by three different partners such as community, local authorities and central government.

### Quality of drinking water

A first indicator of the quality of water supply services is the continuity of service. In rural areas, continuity is expressed by the ratio of water points out of order, or by the average time per year or per month that a water point is unusable. In low income Sub-Saharan countries, indicatively, over one third of the rural water supply infrastructure is in disuse. A second indicator of quality is the compliance with microbiological water norms. WHO/UNESCO has recently developed a Rapid Assessment of Drinking-Water Quality (RADWQ) survey method. On average, in developing countries, compliance with the WHO norms is close to 90% for piped water, and between 40% and 70% for other improved sources (WHO/UNESCO, 2010).

### Water quality parameters

Drinking water, or potable water, is defined as having acceptable quality in terms of its physical, chemical, bacteriological parameters so that it can be safely used for drinking and cooking (WHO, 2004). WHO defines drinking water to be safe if and only if no any significant health risks during its lifespan of the scheme and when it is consumed.

#### Physical and aesthetic parameters

According to De Zuane J, (1996), Physical  aspects  of  drinking  water  quality  mainly  classified  as;  residual  chlorine, temperature,  color,  odor,  taste,  turbidity,  pH,  electrical  conductivity,  and  total  dissolved solids  and  regards  to  examination  of  quality  test  categorized  in  to  physiochemical  and aesthetical parameters.

The pH of the water show that, acidity and alkalinity of the solution with respect to hydrogen and hydroxide ion. The range of pH can be expressed by positive number from 0 to 14. If the solution has the pH below 7 acidic, above 7 basic and 7 the solution is neutral. According to WHO standard, pH of the drinking water should be 6.5 to 8.5. PH of the water is important during disinfection of water by chlorine. If pH exceeds 8, disinfection less effective (Mohammad et al., 2013). According WHO (2011) quality standard guideline, pH of the water is 7 or less the pipe system become corrosive.

TDS of the drinking water become significantly and increasingly unpalatable at greater than 1000mg/l. excessive TDS because scaling on boilers, pipe, household uses. Turbidity of water is also caused by suspended or colloidal matter. They may be inorganic or organic. It affects the efficiency of disinfection of water. The instrument used to measure turbidity is nephelometric turbidity unit (NTU). According to WHO, it must be less than 5NTU.

Electric conductivity also measure the ability of aqueous solution to carry an electric current such as; concentration of ion, mobility, valence and temperature. It measures the electric transmission of solution due to ion concentration. With more ions in the water, the water’s electrical conductivity (EC) increases (Murphy, 2007a). It also used as indicator concentration of TDS. At a high TDS concentration, water becomes saline (Kegley and Andres, 1997).  According to WHO (2011) standard guideline, it is between 10-1000 µs/cm.

      - Aesthetic parameters of drinking water quality

The aesthetic limits are namely turbidity, color, test and odor. The color of the water is due to the presence of colored substance such as vegetable matter and iron salts. Colored water is not acceptable for drinking purpose. It should be colorless and at same time no odor or weak. The presence of odor in drinking water shows that existence of toxic substance in the water.

The presence of taste on drinking water shows the presence of contaminants. Also some inorganic substances are detected by taste of water such as magnesium, calcium, sodium, copper and iron. According to Gaur, (2008) as sited by Gurmessa, (2015) decomposing organic matter, dissolved gasses and phenolic materials may cause taste of water.

#### Bacteriological parameters

There are four categories of diseases which are caused by water related microorganisms which are water born, water scarce, water based and water related vector diseases. Water borne disease is which is caused by water that has been contaminated by human, animal or chemical wastes. Such diseases are cholera, typhoid, meningitis, dysentery, hepatitis and diarrhea. Diarrhea is caused by a host of bacterial, viral and parasitic organisms most of which can be spread by contaminated water. The other is Water-scarce diseases which flourish in conditions where freshwater is scarce and sanitation is poor and such diseases include trachoma and tuberculosis (WHO, 2006).

An indicator organism is used to test water contamination in drinking water and it may not pose health risk but it can be easily isolated and enumerated. And these indicator microorganisms are more resistance for disinfecting than pathogens and do not multiply in water and distribution systems (Gadgil, 1998). Traditionally, total coli form bacteria have been used to indicate the presence of fecal contamination; however, this parameter has been found to exist and grow in soil and water environments and is therefore considered a poor parameter for measuring the presence of pathogens.  Studies also show that due to their ability to grow in drinking water distribution systems and their unpredictable presence in water supplies during outbreaks of waterborne disease, the sanitary significance or quality of water is difficult to interpret in the presence of total coli-forms (Stevens et al., 2003).

The presence of E. coli provides strong evidence of recent fecal contamination and unsuitable sanitation practice (WHO, 2004). WHO categorization of E-coli count (counts/100ml): A (0) is excellent, B (1) is acceptable, C (10-50) is unacceptable and D (above 50) is grossly polluted (WHO, 1996).

The risk of coli form presence can depend on the health or sensitivity of the consumer. The risks of E. coli presence, slightly greater than WHO Guideline’s zero count per 100ml may be of only low or intermediate risk. According to IRC (2002), as cited by Michael H. 2006,  about risk classification for thermo tolerant coli forms or E. coli of rural water supplies shown below.

Table 3:-water quality counts per 100mL and the associated risk

| Count per 100ml | Risk category |
| --- | --- |
| 0 | In conformity with WHO guide line |
| 1-10 | Low risk |
| 11-100 | Intermediate risk |
| 101-1000 | High risk |
| >1000 | Very high risk |

Source:- (IRC, 2002)

## Sanitation Access and Utilization

### Sanitation

It is about setting in place where by people effect and sustains a hygienic and healthy environment for them. Safe disposal of excreta and hygienic behaviors are essential for the dignity, status and wellbeing of every person is the reach or the poor, irrespectively of whether they live in rural area, small town or urban center (WHO, 2005).

The nearly 700 million people who would have been served if the MDG target for sanitation had been met is equal to the number of un-served people in sub-Saharan Africa (JMP, 2015) Improved sanitation facilities are used by less than two thirds of the world population. The global picture masks great disparities between regions. Virtually the entire population of the developed regions uses improved facilities, but in developing regions only around half the population uses improved sanitation.

There are also disparities in progress since 1990. Notable increases in the use of improved sanitation have been made in Northern Africa, South-eastern Asia and Eastern Asia, whereas there has been no progress in the Commonwealth of Independent States and a decline in Oceania. Among the 2.4 billion people in the world who do not use improved sanitation facilities, by far the greatest number are in Southern Asia, but there are also large numbers in Eastern Asia and Sub-Saharan Africa.

Despite significant progress on sanitation, in 2015, 2.4 billion people did not have access to an improved sanitation facility, down from 2.7 billion in 1990, a decrease of only 11%. A large majority (70%) of those without access to an improved sanitation facility live in rural areas. Eliminating open defecation, a practice strongly associated with poverty and exclusion, is critical to accelerating progress towards the MDG sanitation target. Over the past 22 years, the number of people practicing open defecation fell by a remarkable 21%, from 1.3 billion in 1990 to 946 million in 2015. Those 946 million people with no sanitation facility whatsoever continue to defecate in gutters, behind bushes or in open water bodies, with no dignity or privacy. Nine out of 10 people who practice open defecation live in rural areas.

In Ethiopia 28% use improved sanitation facilities, 14% use shared facilities, 29% use open defecation and 29% is using unimproved sanitation facilities (JMP, 2015)

### Sanitation policy and goals

The sanitation policy of Ethiopia is focused on improving the health of people ‘using local resources more effectively’ to increase latrine access and use, and to encourage attitudinal change leading to sanitation and hygiene behavior transformation The sanitation vision for Ethiopia: 100% adoption of improved (household and institutional) sanitation and hygiene by each community contributing to better health, a safer, cleaner environment, and the socio-economic development of the country. Improving sanitation and hygiene is recognized by the government of Ethiopia as an important precursor to poverty eradication. (MoH, 2005).

Objectives’ of the policy: To protect and promote the health of the population and assure a friendly and healthy environment by controlling the environmental factors which are the direct and indirect cause for the spread of environmental  health-related disease, To increase access to sustainable sanitation services.

At the Households, all households have access to and to use a sanitary latrine and at the Institutions appropriate latrines with urinals and hand washing facilities are installed at schools, health posts, Health centers, markets and public places (MoH, 2005).

### Sanitation and health

Some 842 000 people in low- and middle-income countries die as a result of inadequate water, sanitation and hygiene each year, representing 58% of total diarrheal deaths. Poor sanitation is believed to be the main cause in some 280 000 of these deaths. Diarrhea remains a major killer but is largely preventable.

Better water, sanitation and hygiene could prevent the deaths of 361000 children aged under-five each year. Open defecation perpetuates a vicious cycle of disease and poverty. The countries where open defection is most widespread have the highest number of deaths of under-5s as well as the highest levels of malnutrition and poverty, and big disparities of wealth.(JMP, 2015)

### Benefits of access to water supply and sanitation

According to expected outcomes of meeting the MDG 7 Target 10:- In the context of development challenges, it is a great priority to focus on water supply and sanitation. Indeed, it is an imperative to respect human values; it provides good health and ensures economic benefits.

#### Respecting human values

Expanding access to water and sanitation is a moral and ethical imperative rooted in the cultural and religious traditions of communities around the world. Dignity, equity, compassion and solidarity are values shared all over the world. Extending water supply and sanitation services to poor households would largely contribute to promoting them. The Right to Water, recently proclaimed by the United Nations, (General Comment No 15, 2002), is said to be "indispensable for leading a life in human dignity" and "a prerequisite for the realization of other human rights”.

#### Generating economic benefits

An analysis by the WHO found that achieving the MDG number 7 would bring substantial economic gains: each $1 invested would yield an economic return of between $3 and $34, depending on the region. Households with improved services suffer less morbidity and mortality from water-related diseases. The benefits would include an average global reduction of 10 % in diarrhea episodes.

Health-related costs avoided would reach $7.3 billion per year and the annual global value of adult working days gained because of less illness would rise to almost $750 million. Better services resulting from the relocation of a well or borehole to a site closer to user communities, the installation of piped water supply in houses, and latrines closer to home yield significant time savings.

Girls and women have better educational and productive opportunities when they have water and sanitation facilities nearby, because they can safeguard their privacy in school and save time fetching water. The availability of water can be used to start or expand small enterprises and thus increase disposable household income. At the national level, demand for agricultural products increased, and tourism may develop.

Table 4:- Economic benefit

### Sustainable sanitation

Is a type of sanitation system which was first defined by members of the Sustainable Sanitation alliance. To be sustainable, the sanitation system should meet the following five criteria which are it should be economically viable, socially acceptable, technically and institutionally appropriate, and Protective of the environment and the natural resources (SuSanA, 2008).  The purpose of sustainable sanitation, like sanitation in general, is to protect and promote human health by providing a clean environment that reduces disease, particularly by transmission via the fecal-oral route (Tilley et al 2014).

# MATERIALS AND METHODS

## Descriptions of the Study Area

### Location and accessibility

Hadiya zone is one of the fourteen zones and four special Woreda in SNNPR state and its capital is Hosanna. Misrak Badawacho Woreda is one of the ten administrative Woreda’s found in Hadiya Zone of the Southern Nations Nationalities and Peoples Region (SNNPR). It is located approximately at 70 9’00” to 8o15’00” north latitude and 37o5’00” to 40000’00” East longitudes (Fig 2).

The Woreda was established in 2006 G.C. It is one of the two municipalities and 9 rural woredas that constitute the Hadiya Zone. It is bounded by Alaba Special Woreda in the north, Siraro Woreda of Oromia region in the east, Kedida Gamela and Mirab Badawacho Woreda in the west, Damot Woyide, Damot Gale, and Damot Fulasa Woredas of Wolayita Zone in the South. The capital of the Woreda, Shone, is located at a distance of 338 km in the south-west from Addis Ababa and 123 km from Hawassa, the capital of the region, and 97km from Hosanna. The Woreda comprises 36 rural and 1 municipalities with a total of 37 administrative Kebeles.

Figure 2:- Map of Misrak Badawach Woreda.

### Climate

Annual rainfall amount ranges from 800 mm to 1300mm and evaporation rate ranges from 1400mm-1500mm. The elevation of the Woreda, based on topographic map, ranges from 1550 meters above sea level around Bilate River that is found in the eastern part of the Woreda to 2200 meters above sea level in north western part of the woreda. Having this altitude range, the whole Woreda is divided in to two major traditional agro-ecological zones: namely, dry midland (Kolla) and Wet midland or Woinadega (WoFeD, 2015).

### Economy

Agriculture is one of the major sources of income. There are intensive and diversified agricultural activities such as Maize, Teff, Enset, Wheat, Barley, Beans, Godare and Potato, are the main food crops growing in the area and also Pepper (red) and coffee are the prominent cash crops of the Woreda. They also bread domestic animals like cow, Goat, Sheep, and poultry for domestic consumption and as a source of income (MBWRDO, 2014)

### Population condition

According to the Woreda Finance and Economic Development Office the current (2014/15) projection estimation, the population of Misrak Badawacho Woreda is estimated to 188050 from which male accounts 93705 while female are 94345 showing that the proportion of female population is 50.17 percent and male is 49.83 percent. The Data also tells that area of the Woreda is 424.97 square kilometers with a density of 644 people per square kilometers. The Woreda has one urban municipality and thirty eight rural kebeles. About 50.26 percent of total inhabitants in the Woreda reside in wet Midland while 49.74 percent total Woreda population resides in the dry mid land agro-ecology (WoFeD, 2015).

## Data Source and Collection Instruments

A combination of both primary and secondary data sources were used for the study. In any type of study, it is noted to assess the availability of secondary data before embarking upon the collection of primary data.

### Methods for evaluating existing water supply

The existing water supply of the study area can be estimated by using documented data of the water supply and household survey.

### Population, water supply and demand projection

Population projection

The projection was done based on present population from central statistical authority of Ethiopia. There are several models in statistically population projection. The mostly used model by Ethiopian statistics authority is written as:-

Pn=Po(1+r100)n------------------1

Pn= future population

Po= current population

r= growth rate of population and n= decade of year

Livestock’s population projection

The economy of Misrak Badewacho Woreda is mainly based on agriculture but in addition to these they also breed domestic animals for domestic consumption and as source of income. The total population of livestock’s in the woreda is117559 (MBWRDO, 2015). For the projection of livestock’s in the study area there is no known standard growth rate. The growth rate was developed by taking four years populations of livestock’s in the area (Apendix C, Table 16)

Water Demand Analysis

To determine the total water quantity of the study area for different purposes, the water demand should be known. The water demand was furcated by considering some loses that affect on all type of water demand. Some types of water demands are domestic, commercial, industrial, livestock and agricultural water demand. This study was considered only domestic, livestock and system loss of water demand because the study was done drinking water supply and sanitation in rural area.

Domestic water demand

Water is used in home for different purposes. Some of those are drinking, cooking, bathing, washing of clothes, utensils and home, and flashing of water for closet.

The quality required for domestic demand mainly depends on climatic conditions, social and customs of the people. Per capita water demand of the study area was obtained by only household survey result. This is due to the absence of document data at office level in the woreda. So the daily domestic water demand (DWD) projection was done by adopting the per capita water consumption recommended for rural community by Ministry of Water Resource, Energy And Irrigation of Ethiopia. The Ministry of Water Energy and Irrigation adopted the general design standards of 30 to 50 lpcpd for urban and 15 to 25 lpcpd for rural area.

Rural daily domestic water demand (DWD) was projected as 15L/c/day for short term (2002-2006 E.C), 20L/c/day for medium term (2007-2011 E.C) and 25lpcpd for long term (2012-2016) (MoWEI, 2002). So there is a base line adopt the per capita consumption of water in rural area. So 25L/c/day used for the coming 15 years.

DWD=Pn*DWD-------------------2

DWD=domestic water demand

Pn=population at the target year 
ADWD=average  daily water demand

Live stock’s water demand

The protection of live stock in rural community is an integral part of their life. Water is also an essential commodity for animals as human. Live stocks water demand analysis were considered when, no other means of sufficient water source for live stocks. However the use of improved source for livestock is not encouraged. It is assumed that most of the animals watered from natural sources like river and ponds. If such sources are not available the animals should be watered from cattle trough near the water supply schemes and some the community also used to water animals they use local watering materials. According to MoWR (2007) as sited by Tsegaye 2016 when watering is to be allowed, the following specific demand was adopted (Table, 6)

Table 5:- Live stocks water demand

| S/N | Animal | Water demand | Average water demand (L/c/d) |
| --- | --- | --- | --- |
| 1 | Cow and Oxen | 25-35 L/c/d | 30 L/c/d |
| 2 | Goats and Sheep | 5-15 L/c/d | 10 L/c/d |
| 3 | Mules, Donkeys and Horses | 20-25 L/c/d | 22.5 L/c/d |

Source: - (Hofkes, 1983)

### System losses

Water that distributed to the system does not reach to the consumers with 100%. Some of the water losses in the water distribution lines due to crakes, breakage of joint-pipe, and broken pipes, loose valves and fittings. Rarely consumers live the tap where they are not fetching water. In rural area, there is no sufficient data to analyze the water lose. Due to that lose were analyzed by using some standards of MoWEI, (2002) volume two as sited by Tsegaye 2016 10% loss were recommended for rural water supply.

SL=10%*(DWD+LWD)-------------------4

Were LWD= Livestock’s Water Demand

### Climate Factors

Claimant variability and changes affects the availability of demand and quality of water, Different sources of uncertainties stemming for the climate change; such as future temperature, precipitation, sunshine duration, wind speed, relative humidity, evaporation rate, transpiration rate and soil moisture content will have significant impact on water consumption. The extreme events like drought or frequent flood will have also considerable impacts on future demand. Therefore, how these climate parameters change in future will govern to water demand forecasting (IPCC, 2007). Ministry of Water Resource also grouped these factors in to three groups (MoWR, 2007)

Table 6:- Climate factors adjustment.

| Total Average Daily Requirement (m3/d) |  | Maximum Daily Coefficient |
| --- | --- | --- |
| 200 |  | 2 |
| 3000 |  | 1.55 |
| 40000 |  | 1.45 |
| 300000 |  | 1.35 |
| Group | Mean annual precipitation (mm) | Factor |
| A | 600 or less | 1.1 |
| B | 601-900 | 1 |
| C | 901 or above | 0.9 |

Source: - water supply lecture note

TADWD=DWD+LWD+SL*1.55*1------5

Were TADWD=Total Average Daily Water Demand

### The house hold water use pattern and sanitation status

To assess the house hold water use pattern and sanitation status, an interview were conducted with structured questionnaires and field Visits were used. The questionnaires were both closed and open ended questions.

The questions were meant to capture direct answer from the respondents, while the open ended questionnaires were used to arrive at relevant information that could not be obtained by the closed ended questions. The questionnaires were supported by personal in depth interview and transect walk.

### Sampling techniques

For this study, in the first stage of sampling 36 kebeles were selected by purposive sampling techniques for household water use pattern and sanitation status. And these kebeles were stratified based on the agro-ecology of the woreda and availability of water supply systems.    Misrak Badawacho has two agro-climatic zones which are wet Midland and dry mid land agro-ecology (WoFeD, 2015). The proportionality is almost equal, then, two kebeles are selected from the wet Midland agro-ecology and the remaining two are selected from mid land agro-ecology by simple random sampling method in order to have representative sample. The woreda were topographically well situated but some kebeles are far from the center Shone town to reach easily due to that 10% or four kebeles were selected these are Jarso Kutube and Ajeba Borara from wet land agro-ecology and 1st Amburse and Weramo Bonkoya from mid land agro-ecology zone. Finally all sample sizes are allocated proportionally by using systematic random sampling techniques.

- Jarso kutube

- Total Pop=4643

- No of HH=774

- Sample size=15HH

Purposive

Simple Random sampling

Sampling techniques

Misirak Badewacho Woreda (36 Rural kebele)

From wet midland 2 kebeles

From dry midland 2 kebeles

- Jarso kutube

- Ajeba borara

- 1st Amburse

- Weramo Bonkoya

- Ajeba borara

- Total pop=5473

- No of HH=912

- Sample size=17HH

- 1st Amburse

- Total Pop=6204

- No of HH=1034

- Sample size=20HH

- Weramo Bonkoya

- Total Pop=10170

- No of HH=1695

- Sample size=33HH

Figure 3:- Schematic presentation of sampling design

### Sample size determination

Beneficiaries are primary source of data in order to insure the generalization of the finding to larger population; the study was adequate sample respondent for selection through appropriate techniques. The number of sample household for interview will be determined using the formula developed by (Cochran, 1977).

n'=Z2pqd2-----------------------------1

n=n'1+n'-1N---------------------------2

Where:-

n’ =despaired sample size when the HH population is > 10000

n= no of sample size the HH population is <10000

z=95% confidence limit (its value at 0.05 is 1.96)

p=0.05 (proportion of the population to be included in the sample i.e. 5%)

q=1-0.05=0.95------------------------3

N= total number of population =9252

d = margin of error or degree of accuracy=0.05

Since, the number of house hold population in the study area is less than 10000; both equations will be used to analyze the sample size.

n'=Z2pqd2=1.962*0.05*0.950.052=73----------------4

n=n'1+n'-1N=731+73-19252=72-----------------5

Considering 18% for unsuccessful collection of planned data, the sample size will be 85 HH from four kebeles.

Sample size for each kebele individual HH heads is calculated by using proportional distribution of the sample depending on total HH in each selected kebeles

Then, the first name has selected randomly from each selected kebele that was served as starting point for HH survey. Then every nth interval for all selected randomly from each kebele until their sample size was completed.

### Data collection instruments

Multiple data collecting instruments were used in the study such as personal computer, video camera, photo camera and audio recording device. The questionnaires were both closed and open ended questions. It was designed to capture direct answer from the respondents, while the open ended questionnaires were used to arrive at relevant information that could not be obtained by the closed ended questions. Also it was supported by personal in depth interview and transect walk. Structured and unstructured interview, personal observation and document analysis were the principal means of gathering the data in the study.

#### Primary data collection

The primary data were collected from respondents by using household survey, key informants interview (closed and open ended interview) and observation of the water supply and sanitation schemes.

- Household survey

Both open and closed questionnaires are used to get the over view of the respondent background. It was addressed characteristics of the household that is socioeconomic characteristics of household which were considered sex, age, material, status, household size, educational level and occupation. These helped to understand the socio-economic gender relation in the household.

The other part of the questionnaires were consisting key aspects in relation to water use and demand in household like quantity, quality, access, time, distance, reliability and sanitation conditions like toilet, its usage and current status.

- Key informant interview

The key informant’s interviews were used to get the information about institutional set up, operation and maintenance, cause of non-functionality of the schemes and coverage of the water supply in the study area.

Three of the key informants were selected from water office and two were from health office those having a good knowledge on the subject. Questionnaires were administered for both office key informants.

- Focus Group Discussion(FGD)

Four focus group discussions were under taken in four sampling kebeles such as 1st Amburse, Ajeba Borara, Jarso Kutube and Wramo Bonkoya. The participants are men and women from both community and committee members.  FGD was under taken to get real information about the water schemes functionality, hygiene and sanitation, participation in operation and maintenance cost, demand and need of service.

### Secondary data collection

The secondary data were collected from different sources like research documents that have been done by different researchers, reports of various organizations such as WHO,Unicef, World Bank,JMP,MoWI, MoH, CSA,. The literature part of the study contain the water supply, access, reliability, affordability, coverage, demand analysis, future demand, quality of drinking water and sanitation. The literature shows what have been done before and the gap at this time and in future.

## Water quality analysis

#### Chemical aspects of drinking water quality parameters

Chemical impurities of drinking water source may be caused due to natural source such as:-industrial and agricultural practice.

Hardness, magnesium, chloride, sulphate, fluoride, alkalinity nitrate, and some toxic metals such as; copper, chromium (cr+6), Iron manganese …etc are classified as the major inorganic parameters of drinking water.

Hardness of drinking water is mainly due to calcium and magnesium carbonate and bicarbonate and removed by boiling. Calcium and magnesium sulfate can be removed by chemical precipitation by using lime and sodium carbonate. Hardness of water mainly measured as CaCO3. Because calcium carbonate is highly dissolving compound in water.

The permissible limit of total hardness according to WHO (2004) and national drinking water recommendation of Ethiopia is 300mg/l.

When ferrous iron oxidizes to ferric iron, it can give a reddish-brown color to the water, which could be aesthetically displeasing and its permissible limit is 0.3mg/l. Manganese can cause an undesirable taste as well as staining laundry when levels exceed 0.1 mg/liter.

The presence of manganese may also lead to the accumulation of deposits in the piping system. There is no health-based guideline value set for iron but for manganese it is four times higher than the acceptable threshold of 0.1 mg/liter (WHO, 2004).

According to environmental protection Agency (2010), calcium is one of the significant chemical in human body and important for normal growth of human body. Calcium ion is the highest constituent of water hardness and is advantageous to health. The permissible limit of calcium is 75mg/l.

### Water quality test

WHO drinking water quality guideline provide international norms on water quality and human health that are used as the basis for regulation and standard setting in developing and developed countries world-wide. The table also shows the essential physicochemical characteristics of drinking water (WHO, 2008)

Table 7:-WHO standard for water quality (WHO, 2008)

| S/N | Constituents | Unit | WHO guideline | Ethiopian standard |
| --- | --- | --- | --- | --- |
| 1 | PH | PH | 6.5-8.5 | 6.5-8.5 |
| 2 | Temperature | 0c | <15oc |  |
| 3 | Conductivity | µs/cm | 10-1000 |  |
| 4 | Total dissolved solid (TDS) | mg/l | 1000 | 1000 |
| 5 | Turbidity | NTU | 5 (for rural) |  |
| 6 | Residual chlorine | mg/l | >0.5mg/l | >0.5mg/l |
| 7 | Total hardness (CaCO3) | mg/l | 300 | 300 |
| 8 | Magnesium Hardness | mg/l |  |  |
| 9 | Calcium Ca2+ | mg/l | 75 |  |
| 10 | Dissolved NH3 | mg/l | 1.5 | 1.5 |
| 11 | Magnesium Mg2+ | mg/l | 150 |  |
| 12 | Iron (Fe2+) | mg/l | 0.3 | 0.3 |
| 13 | Manganese Mn2+ | mg/l | 0.1 |  |
| 14 | Chloride (Cl) | mg/l | 250 | 250 |
| 15 | Fluoride (F-) | mg/l | 1.5 | 1.5 |
| 16 | Nitrate NO3- | mg/l | 50 | 50 |
| 17 | Sulfate SO42- | mg/l | 250 |  |

For the temporal and special variation of water quality, Water sampling taken in deferent seasons (dry and wet seasons) to get better result. However, due to time and budget restriction the samples were collected form limited water points by considering the type of water supply schemes in the study area.

As mentioned above on sampling techniques, four kebeles were selected for the study area based on the public compliance on water quality and type of water schemes in the area. From the total of ten sampling points, six sampling sights were taken from Jarso Kutube (four from shallow well and two from hand dung well), two sampling sights were taken from Ajeba Borara (one from motorized schemes and one from hand dag well), one sampling sights were taken from Weramo Bonkoya and one sampling sights were taken from 1st Amburse kebeles.

Figure 4:- Sampling points

In Misrak Badewacho woreda there are 105 water schemes. From those ten sampling points mentioned above, samples were collected by using 1000ml polyethylene plastic bottles for different parametric analysis. Three samples were taken from each sampling points for both bacteriological and physicochemical parameters. The water sampling and preservation techniques were done on standard methods of water sampling and preservation techniques (APHA, 1998, Hutton, 1996). Before collection bottles were washed by concentrated nitric acid and distilled water to protect contamination of the samples. Each sample were labeled and kept in ice-box during transportation to laboratory of South Region Bureau of Water and Irrigation Office to analyze both parameters.

The analysis included the major bacteriological and physicochemical parameters. Some of the physicochemical analyses are done on field such as pH, Temperature, electric conductivity, TDS, Turbidity, Residual and chlorine.

The rest are done in laboratory such analysis are Total hardness, Calcium hardness, Magnesium hardness, Dissolved NH3, Ca2+, Mg2+, Iron Fe2+, Mn2+, residual chlorine, Nitrite NO2-, Nitrate NO3- and fluoride.

### Analysis of bacteriological parameters

Escherichia coli (or alternatively, thermo tolerant coli forms) are measured in sight and lab generally in 100ml sample of the water. All the samples for bacteriological analysis were incubated on sight by using field incubation kit. The procedure includes membrane filtration followed by incubation of the membrane on selective media at 37oc and counted after 24 hours. The media used is m-ColiBlue 24 broth. This media can read both E-coli and total coli form at the same temperature at the same time.

All the samples for bacteriological were taken incubated on sight by using water treatment kit and taken to lab and counted after 24 hour. Six samples were taken from motorized schemes (3 from reservoir and3 from HH) and four samples for hand dag well (source and HH) and ten samples were taken from shallow wells (5 from source and 5 from HH).

### Analysis of physicochemical parameters

Digital turbid meter 9300 model were used for measuring turbidity of the sample on the field, PH and electric conductivity were measured by using electric EC meter and PH meter, TDS were determined by TDS photometer, the cationic and anionic chemicals were analyzed by using DR 5000 spectrophotometer. Residual chlorine was analyzed by using pocket chlorimeter at field.

Total hardness was analyzed by using 50ml of sample which is well mixed, 1ml of buffer solution was added, Man Ver2 and Buffer solution1 (1ml) was used, the sample were titrated by EDTA and the pink color were changed to Blue at the end point. Calcium hardness was done in the same way but differ by only reagent used. In calcium hardness Cal Ver2 and 8N of Potassium Hydroxide (1ml) was used as a reagent. Finally both are calculated by using the following formula respectively including Magnesium hardness.

## Observation for technical analysis

To evaluate water supply schemes, both open and closed ended questionnaires were prepared and different community groups were interviewed such as water committee, water office expert, community groups, and reviewing of official documents were used for the analysis.

The evaluation include water scheme construction quality, functionality, management frame work, spare part supply means, water schemes protection mechanisms like presence or absence of fence, guard, stagnant water around the water point, fixed fetching time and its problem, problems related with service structure. Descriptive statistic analyses were used to analyze the findings.

## Statistical Analysis

After gathering all information, deferent statistical methods of analysis were used to come up with the appropriate results. The final result was presented by both qualitative and quantitative terms. The statistical tools like one way ANOVA, percentages, arithmetic mean, min, max, standard deviation, ratios, tables, maps, bar graphs and pie charts were used. The water quality analysis results are compared against the standards set by WHO (2008) and the Ethiopian drinking water quality standards (ES, 2002).

# RESULTS AND DISCUSSION

## Household Water Use and Collection

### Distribution, type and current status of water schemes

As shown on water schemes and water point’s distribution map (Fig 5 and appendix C Table 2), almost all schemes were at the western part of the woreda. Most of the areas of the woreda are not covered by water points and water schemes. As an information from  interviewed  key informant of Water and Energy Office, most population of the woreda are traveling more than 4-6km of single tripe to fetch clean water from the protected wells. This travel is 2.5-4.5km more of the UAP standard that is 1.5km and the development plan. Only 9,204 hectares or 21.66% of the area of the woreda where covered by water points and water schemes within 1.5KM from the total area of the woreda, 42,497 hectares.

Figure 5:- Map of water points/schemes distribution in the rural area of the woreda

As shown on the Fig 5, communities are traveling more distance to get clean water. Geographic location, unfair distribution of the schemes and quality the source are the main factors. This increase the distance traveled and time spent to fetch clean water. It is one of the factors that decrease the amount of water that have been fetched per household per day.

### Time and distance to fetch clean drinking water

Rural women, girls and boys spend more time on household work like collecting clean drinking water, fuel, caring children and processing food. This is because of poor rural infrastructure and service as well as culturally assigned roles. Due to this women carry a great part of the burden of providing clean water and fuel for their household (UNDP 2011). According to UNFP report (2002) collection of clean water for domestic purpose is generally the responsibility of women and children and they walk an average of 6 kilometer each day.

About 96.47% of the respondent ensures that, collection of water is the responsibility of women and girls and only 2.4% of the respondent considers collecting water is common work almost for all household. This shows that in almost all of the study area women and girls have more burden of collecting clean water.  Also from the total respondent 57.6% walking more than 5km of round trip, the rest walk less than 1.5km distance.

In the study area more than half of women, boys and girls invest their time on collecting drinking water.  The maximum time required to fetch water from the source including waiting time varies from 4 minutes to 2:40 hours with standard deviation of 51.27 and more than 63.53% of the respondents are walking more than the standard time seated by WHO that is 15 minutes walk to the source equivalent to 1km distance (Appendix c Table 1). As sited by Moriarty et al, (2011) the basic minimum amount of 20 l/d within 30 minutes of both round and according to MoWRD, (2006) physical access to improved water service is defined interims of distance is 1.5 km. Also according to JMP (2010) studies indicated that household members who spent more than 30 minutes to collect water usually fail to fulfill the house hold daily water consumption.

This is because, an increase in round trip beyond 30 minutes mean that people tends to collect less water and compromise meeting their basic needs. So in the same way in the study area 63.53% of the population did not fulfill their daily requirement of clean drinking water of 25L/d (Fig 6). This shows that water schemes are not constructed according to UAP standard, most water schemes are on spot, unfair distribution of the water schemes and absence of water schemes for those kebeles which are situated in Bilate catchment due to fluoride problem. These factors reduce the amount of water that have been used per household and force to use unclean source of water.

Figure 6:- Walking distance, walking time and waiting time to fetch clean drinking water

### Household water use habit

Safe drinking-water does not represent any significant risk to health over a lifetime of consumption, including different sensitivities that may occur between life stages (WHO, 2011) and Water treatment is essential to improve quality which reduce risk of water born disease (WHO, 2004b).

According to respondent information in the study area 54.1% has no separate water container in their home, 30.6% had their hand contact with clean drinking water from source to home use and 63.5% were not using home water treatment chemicals. In the study area, 36.9% of the respondents were using unclean source of water for drinking, such as river and pond (Appendix C Table 7).

The lab report also shows 80% of the water sources were contaminated by E-Coli and the correlation between educational back ground of the society in the study area and home water treatment chemical use has weak (r=0.204) (Appendix D Table 1). In other way, as the information obtained from health office key informant diarrhea and typhoid are still within top 5. This all show that there were no or less community awareness creation in the study area on how keep cleanliness of drinking water from source to home.  So water and Energy and Health office should work on this part to increase the clean water use habit.

### Per capita Water consumption (lpd)

In rural area there were no direct measurement methods to analyze daily water consumption because they use different water collecting instrument with different volume. According to the HH interview 89.4% of the respondents use plastic tank called jerry can, only 1.2% use pot (Ensira) , 7.1% use bucket and jerry can, 2.4% use pot and jerry can and 1.2%  use only bucket to collect water for house hold use. Most of the jerry cans used in the area were 15L, 20L, 25L and 30L. So the estimation of the amount of water consumed in one house hold was done by multiplying the number of jerry cans of water collected per day, volume of the jerry can and divided by average family size in the household.

According to respondent interview result the daily domestic water consumption in the study area ranges from 2.56 l/d/p to 8.97 l/d/p with an average consumption of 5.97 l/d/p (Appendix C Table 8). According to JMP (2015) report, 147 countries including Ethiopia met the MDG target on drinking water. MoWIE (2002) guideline also recommends that 15l/d/p in rural area of Ethiopia, it also recommends that after the year 2016, 20l/d/p for short term and 25l/d/p for long term in rural. For a short term 7.3m3/p/year were required and for a long term 9.13m3/p/year required, but the existing water supply were only 2.18m3/p/year. This shows that the area doesn’t meet even if the short terms plan of MoWE.

One way analysis of variance (ANOVA) test shows that significant difference (p<0.05) for the per capita water consumption among kebele (Appendix D Table 7). The correlation was observed between household size and domestic water consumption per person per day with a value of (0.314) (Appendix D, Table 8), this show that when HH size increase, amount of water per HH also increase.

But, per capita water consumption per day per person is very small which is 62.35% of the respondents are getting water between 50-70L/d/household. This is because of that in the study area the household size is very large that is the average household is 7.8 persons per household. That larger the HH size, the water consumption must be larger. The other factor is population size and water schemes are not balanced.  Due to those factors, the amount water consumption is very small as compared to population size in HH level.  So in addition to distance travel and time spent to fetch water in the study area, population and HH size is an additional factor that reduces amount of water consumed per person.

### Water use in the study area

The main use of clean water in the study area is that for drinking, cocking, washing cloth, animal watering and bathing. The priority of the water used from the improved source is for domestic purpose. Only 21.2% is used for animal watering and no water system in the study area are designed for animal watering (Table 9). In the other hand no water is used for irrigation purpose. Fontein (2007) as sighted by semaria (2012) multiple use service of water is intended to meet domestic and productive demands of the poor in more comprehensive manner. It is one way of reducing poverty and can generate income for cost recovery in water supply system.

In the study area the absence of multi use service of water (MUS) shows that the insufficiency of water for domestic purpose and according to the respondent interview about water use MUS in the study area was zero percent. Another reason for this is lack of awareness on MUS. So, water and irrigation and Agriculture and natural resource office should work more on MUS, because it helps more on water schemes sustainability and used as a means of cost recovery for schemes maintenance.

Figure 7:- HH water use

| Water use activities | Frequency | Percent |
| --- | --- | --- |
| Drinking and cooking | 85 | 100.0 |
| Washing cloths and bathing | 64 | 75.3 |
| Improved water sources used for animal | 18 | 21.2 |
| Irrigation/vegetable production | 0 | 0.0 |

## Water supply and consumer satisfaction

According to HH survey 64.7% of the respondents on quantity of the water supply are not satisfied due to long distance, low reliability of the water, low quality and quantity and schemes non functionality. Most customers’ un-satisfactions were due to long distance and low reliability of the water supply schemes and 40% of respondents are also un-satisfied due to the quality of the water in some of the study area.

According to the respondents 47.06% of community are traveling to the source of water once in a day and 41.18% travels twice a day and only 11.77% travels more than three times per day (Fig, 8). This show that customers were fetching clean drinking water once in that area due to the existence of water schemes at long distance, spending time to fetch water, queuing time at the water source, frequency of travel to the source and quantity of water in the source. This pushes away the community to use the clean water. This show that water schemes distribution doesn’t meet the UAP standard (1.5km). Due to this communities are using unsafe source as a drinking water and in some of the study area even there were no water schemes, 36.5% the respondent were using Bilate River for drinking.

The other problem is that, most water schemes are on spot. Due to this large number of communities are using single water point. This also increase queuing time and decrease life span of the spare parts. This all factors have an influence on customer’s satisfaction and water schemes sustainability.

Figure 8:-Frequency of traveling to water source

## Population and Water Demand Projection in the Rural Area

### Population projection

The population projections were very important to understand and plan the future need of people live in some area and their resource demand in the future. The projection has been developed from the national statistical CSA guide line of (2008) census. Depending on national census Misrak Badawacho Woreda Finance and Economic Development Office is using the current populations that were developed from national census of 2007 for year 2015. The projected population was used as a base year. The projection was done by using the growth rate of SNNPR that were 2.9%. The 2015 to 2025, that is10 years population projections of the woreda was done (Fig 6). The correlation between the projected population and the amount of water for the population has strong positive relation (Appendix D Table 6). This show population growth has great influence on the amount of drinking water supply.

Figure 9 :-Projected population of Misrak Badewacho Woreda for 10 years

### Water demand projection for future

In any water supply system design, evaluation of an existing amount and future water demand is a key task. At any time water demand projection is done depending on factors like current population and future population at the target years, livestock’s water demand, System lose and community economic growth.

The economic development and population growth is the main factors for the increment of water demand. As shown below the water demand projection is done as per the plan of MoWEI 2002 and GTP 2 that is 25l/d/p for a long term in rural area of Ethiopia.

Figure 10 :-Projected water demand for the future

As official report and key informants discussion in water office, the current total domestic consumption of the woreda were 1473.94m3/d and the projected future consumption for the coming 10 years was 14564m3/d. The current estimated official water coverage was also 39.19% within 1.5km and 15L/p/d. But as it is discussed in section 4.2.4, the actual average consumption of clean drinking water was 5.97l/d/p and 100% Average daily demand in 2015 is 10972m3/day. The currently required DWD is 6558m3/day and the existing water for domestic use is 1122.66m3/day and the requirement raised by 584.18%. As compare to GTP 1 and universal access plan of the government, the water coverage of the woreda is so small. So the woreda concerning sectors should work more on investigating new water source and decreasing non functionality rate and work on distribution system constriction for on spot water schemes to increase the coverage.

## Sustainability of Rural Water Schemes

According to a water service definition, this would mean that water continues to be available for the period for which it was designed in the same quantity and at the  same quality as it was designed, (Abrams,  1998). Some factors affect the sustainability of the water schemes. Such factors are Technical, social and economic factors.

### Technical factors

The water system is said to be functional, the system is giving full service with both quality and quantity. As shown in section 4.3.1, the non functionality of water scheme in the study area is less than 20% that is 17.14% but those non functional schemes, almost all are non functional due to the absence of spar part especially in case of motorized schemes.

The sustainability of water supply systems in rural area were determined by some factors like design and construction quality and the household water use is directly affected by the non functionality of the water schemes. From the survey the main technical problems of water schemes sustainability’s are Motorized schemes: failure of retaining structure around the reservoirs, minor cracks on water points, breakage of different water point elements and intake pipe clogging and for hand pumps: pump failure, spar part breakage and ground water drawback. The other technical factor in the study area is absence of adequate skilled man power in the woreda water office. Due to this most moralized schemes maintenance were done by regional experts. Even there were no skilled experts at zonal level. In other way design period of the schemes is also one of the factor for sustainability of the schemes but not in consideration. According to key informant’s interview and focus group discussion wiwath water committee, most water schemes have more than 20 service years’ specially motorized schemes.  In the study area this is a big issue at dry (Bega) season. At this season more than 35% of the systems became non functional because the old systems can’t resist the over time use. So the woreda should consider full rehabilitation for the old systems.

According to Water and Energy Irrigation Office key informant and focus group discussion with water committee, all most every management systems were community based. This system is one of the sustainability models in rural area (Bauman 2006). This model is functional in low cost spare part using water scheme but not functional for schemes that needs coasty spare parts.

### Physical Condition of Water Supply Points

The physical conditions of the water supply system are an indicator of sustainability.  Appropriate fencing with right kinds of fencing materials (wood or metal weirs) could prevent animals and human from freely entering to the water supply point and increase the sustainability of the water schemes.

From the field survey 90% of the water schemes at the sampling point are functional, 70% are fenced by wood and 90% of the schemes have guard. But 71.4% of the fenced water schemes have no door. Due to this both human and animals can enter the compound of water schemes due to improper fence and door. More than 62% of the schemes were exposed to deferent types of contamination including animal contact (Appendix C, Table 13)

According to field survey, water point locations from customers living area were not more than 2 to 120 minutes of single trip (Fig 6). The picture represented by is more near to home, but all the fence woods are taken by customers near the water points which may show lack of ownership. In other way, 90% of the sample water schemes in the study area have employed guard to take care of the system, however, it was beyond their control and also it is not their only work. They were frequently assigned those on their land were the water points are constructed and   the payment is also very small. It is also given as land compensation not as a payment so that the wells are not protected wells (Appendix E, Fig 1).

#### Type of Technology and Construction Quality of water schemes

In the study area from ten sampling points, 50% of respondents preferred shallow wells technology because of its easy for maintenance that it can be maintained by any local artesian with minimum training, has low spare part cost as compared to the motorized one and most time its maintenance does not require water office experts from woreda, zone or regional level.

According to respondents result that, there were no chance to choose the type of water supply system which is better for them. 100% of the mandates of choosing water technology were given to water office (Table 8).

Table 8 :- Type of technology preferred by customers in the study area

| Type of schemes | Frequency | Percent |
| --- | --- | --- |
| BH | 5 | 50.0 |
| SHW | 5 | 50.0 |
| Total | 10 | 100.0 |
| Who will choose the type of water schemes for you? |  |  |
|  | Frequency | Percent |
| Water Office | 10 | 100.0 |

According to the key informant interview from Water and Energy Office the sustainability of water schemes in the study area were in question. The selections were not considering the community participation. The selections of technology were simply to supply water for the community even though it is not the preference of the community. Due to this some water schemes were facing financial and spare part problem due to less community participations and lack ownership.

#### Community Participation and Contribution in Water Supply

An active participation of the community in all aspects before, during and after implementation of the project is a strong indication of sustainability of water supply systems. In the study area community participate contributing many in different ways such as both daily and annual  fee in motorized schemes and in hand dag wells and shallow wells the contribution system were only monthly and annual payment.

According to field survey, only 20% of the community participates by all form of contribution such as labor, paying service on time, cash contribution and active participation on water project work, 30% participate only by paying annual and as per the water service charge and the rest 50% participate by annual and monthly  ( Appendix C Table 9). But the remaining 30% believe that participating only by as per the water service charge payment.

In the same way, from all water schemes 20% are well managed by water committee and community and almost fully supported by community participation. Such water schemes are capable of leading themselves up to exchanging of submersible pump as like 1st Amburse water supply scheme. Hence, the level of community participation is a basic for the sustainability of the water schemes.

According to Zemenu (2012) Women’s participation in the water development process also have an important factor for the sustainability of water schemes. As a result of this realization, women’s participation were being given due consideration in any rural water development in Ethiopia and Africa. This consideration were involved from the fact that in many developing countries’ women walk more than 6km distance to fetch water each day (UNFPA 2002) and water collection for domestic purposes were generally the responsibility of women and girls in almost all developing countries (IFAD 2012).

In the same way according to HH interview and field survey result, 85% of water collection burden were on both women’s and girls’.  As per the FGD with water committee, 90% of the members were aware of the advantages of women’s participation in water management cases in the study area (Appendix C Table 9). Regardless of this still the number of women’s member in the committee was very low that is not more than two. One of the factors that influence the number of women members in water committee was cultural factors.

Such factors are husband influence, rural culture. Husband’s seek her at home when he back to his home from any were and women participate only cooking food, fetching water, bearing child and carrying her husband at home. Due to this most women did not participating on making decision on their water problems.

According to field survey, from 10 sampling points two water points were managed by full participation of community. The schemes were always functional, that they were supplied with all spare parts by community and water committee. Whereas the Weramo water scheme in the study area had no any community participation.

Everything for the system from planning to construction including fuel revolving fund was supplied by NGO’s. But the systems were non functional after one year of service. Even though there is enough money and or supply of spar part and technical support the schemes were not functional. This shows that the contribution of community participation to the sustainability of a scheme is crucial.

Table 9 :-Women’s burden on water collection at HH level

|  | Frequency | Percent |
| --- | --- | --- |
| Mother | 26 | 30.6 |
| Daughter | 15 | 17.6 |
| Father | 1 | 1.2 |
| Son | 5 | 5.9 |
| Mother and Daughter | 18 | 21.2 |
| Daughter and son | 18 | 21.2 |
| Mother ,Daughter and fathe | 2 | 2.4 |
| Total | 85 | 100.0 |

#### Cost Sharing, Recovery and financial management

The concepts of cost sharing and cost recovery were the key aspect of sustainability of water supply system. When the water schemes construction project were designed the project funders transfer budget to finance and planning office in the woreda. Then the community is expected to share 15% total cost of the project. In rural area, community does not share cost only by cash, they share by labor and kind (local materials).

The most contributions of community in rural area is line excavation and buck filing, supply of local construction materials like wood for fencing and stone for small water schemes construction (hand dag wells). In the study area all this were considered as cost share.

According to Ahmed (2013), cost recoveries were a tool for the long-term scheme sustainability. This cost recovery were encouraged by both government and donors, for example in Southern region the cost recovery collected from the water consumers according to the proclamation number 102/2012 article 25.

In the study area the cost recovery system depends on the type of water supply technology. According to key informant interview with water office experts, in motorized schemes there were annual and as per the water service interims jerry cans and pots. In the case of hand dag wells and shallow wells there were only monthly payment and annual contribution (appendix C table 9), but the big issue in the study area was the management system of all the collected many and less community participation.

According to field survey and FGD with water committee, from those water schemes selected as sampling point only 80% have documentation system, from those having documentation system 20% have fully equipped documentation including their own office, 30% have only registration book and 30% have WaSHCo legalization, by law and registration book but 50% of the water schemes have no legal receipts (Table 10). In general in the study area poor financial management system was one of the problems.  Financial managements were a key element for the sustainability of the water schemes in rural of the study area. This show that only cost sharing can’t sustain the water schemes. To sustain the water schemes well in addition to community participation, financial management, Washcoo training, trained care takers and official support are also other factors for sustainability.

Table 10:-Financial management system in the study area

| Water schemes having legal documents |  |  |
| --- | --- | --- |
|  | Frequency | Percent |
| Yes | 8 | 80 |
| No | 2 | 20 |
| Total | 10 | 100 |
| Type of legal documents they have |  |  |
|  | Frequency | Percent |
| registration book and receipts | 3 | 30 |
| WaSHCo legalization, by law, registration book, receipt and office | 2 | 20 |
| WaSHCo legalization, by law and registration book | 3 | 30 |
| Total | 8 | 80 |
| No any documentation system | 2 | 20 |
| Total | 10 | 100 |

From all sampling point 20% of the schemes are fully supported community and government. Community supported by labor, materials and money and government contributed by technical support. The schemes are fully functional, well managed and consumers are also well satisfied. 10% of the water schemes are fully supported by government and NGOs but there is no any support from community. Still the scheme becomes nonfunctional.

Even though community participation is there, some schemes are non functional and not sustainable, due to less spare part supply and under quality of those spare parts especially for hand pumps. Due to this life time of the spare parts are below the design period. It increases yearly expenditure and decrease sustainability of water schemes (Appendix C, Table, 11).

According to FGD with water office experts and water committee, income per year of water schemes and expenditure for maintenance is not balanced but the spar part quality becomes decreased. Due to this spare parts did not giving full service year as designed. This also shows that, decrease in quality of water schemes spare parts and increase of its cost have great influence on sustainability of water schemes in rural area. So government should work more on quality spare part supply.

#### Training to Water Committees in the Study Area

Training was one of both pre and post implementation factors for the sustainability of the water supply system (Gebrehiwot, 2006) and it has a great role on sustainability. Even if the community members have high demand for water they may lack the ability to manage, maintenance and documentation by their own. Training increase the awareness of the committee how to maintain their schemes, and manage the scheme income. And it increases the awareness of the committee and community about willingness to sustain system. According to field visit and FGD with water committee, only 50% of the committee gets training; from those only 2 schemes committee gets full training (Table 11).

The main problems for less trained committee were high turnover of the committee members. On behalf of community also 70% of them have no awareness on water source and they did not take any care on the water supply system. This is due to lack of trained committee to create awareness for the community. There is some community steal wood from fence at night time. Even the committee have legal document (by law), they have no enough skill to use it. Half of the water schemes have no any regulation document to punish such stealing people. These also decrease sustainability of water schemes.

Table 11:-Training for water committee in the study area

| Trained water committee |  |  |
| --- | --- | --- |
|  | Frequency | Percent |
| Yes | 5 | 50 |
| No | 5 | 50 |
| Total | 10 | 100 |
| Types of training |  |  |
|  | Frequency | Percent |
| scheme, financial and O&M management training | 2 | 20 |
| scheme and financial management training | 3 | 30 |
| Total | 5 | 50 |
| Missing | 5 | 50 |
| Total | 10 | 100 |

#### Institutional Support and Capacity of the Woreda Water Staff members

There were three institutions to support the water schemes in the study area. Those were governmental institution, NGOs and water users committee.  According to the field visit and FGD, 20% of the water committee is fully functional that they have every documentation system and their own office, 30% have partial documentation system at their home and 50% have no any documentation system (Appendix C, Table 13).

The experts of the woreda water office were very small in number to manage and support the water supply systems in the woreda because of large number of water schemes and distance from the woreda center Shone Town to water schemes. In the Woreda Water Energy and Irrigation Office two electro mechanics, two community promoters and one water quality expert exist but there is no any transportation means to reach the105 water supply system to support and give any training to water committee and community.  According to community promoters for example one expert correspond to more 52 water systems.

Therefore, communities should manage their scheme through their representative water use committee (WUCs). For every village water users committee there were one technician, who took training for five days about operation and maintenance. If the breakage were beyond the capacity of the water committee technician, they move to the woreda water office in order to get support from the woreda technicians, but most of the time they did not find the technician because they are busy to help community.

In Weramo Bonkoya water supply system, the system was non functional due to cost recovery and have fluoride problem. Due to the fluoride problem 50% of the water production discarded as waste water, only 50% are used for drinking purpose and the system have two generators that one were used for pumping the water from the ground and the other were used to operate the fluoride treatment machine (Appendix E, Fig, 2). This may quadruple the costs of water in the area as compared to normal operating system. In normal case the cost were 50 cents per 25L jerry cans but in Weramo Bonkoya 25L is purchased for 4 birr per jerry can. In addition to this Catholic mission also supported 10,000 birr revolving fund to this system. After three months of their support the system is non functional.

Only institutional support without community participation can’t sustain the water supply system. This shows that the community plus model of Bauman (2006) is one of the best models for sustainably of water schemes. It gives priority for community participation and increase life span of the schemes.

## Water Quality Analysis

### Bacteriological parameter

#### Total coli form

Total coli form includes organisms that survive and grow in water and it may or may not caused by fecal contamination. According to laboratory report total coli form ranges from 1 to too numerous to count (Table 10). From all sampling points of the water schemes in the study area, all the systems were contaminated by Total coli form bacteria and especially Weramo Bonkoya water scheme were highly contaminated by total coli form even if it is not possible to count during laboratory analysis.

Also on this thesis part 4.3.3, household water use habit 63.5% did not use any water treatment chemicals at home level and from field survey results out of ten sampling points 90% of the schemes in the study area have no chlorination program. Even if presence of total coli form is not index of fecal pollution or of health risk but provides basic information on treatment efficiency and water quality.

#### E-coli

E-coli were the major species in the fecal coli form group. It was generally not found growing and reproducing in the environment. Consequently, E. coli is considered to be the species of coli form bacteria that were the best indicator of fecal pollution and the possible presence of pathogens in the drinking water.

The analyzed samples were taken from ten sampling points and evaluated each bacteriological value of the sampling point were compared with WHO and Ethiopian drinking water quality guide line. The values obtained from each sampling points were interpreted in accordance with the maximum allowable WHO limit (Table, 13).

According to field visit, all sampling points around 30m were free of human feces but contaminated by animal manure and some have stagnant water around the source. From sampling points 40% of the water sources are at the downstream of the farm land. In the study area 90% of the water sources were has no chlorination program.

There were no observed correlation between residual chlorine and E-coli but there were positive correlation between E-coli and pH (Appendix D, Table 3 and 4) with the correlation value of (r=0.728).

Table 12:- Bacteriological analysis of drinking water in the study area

| Sample code | Guide lines |  | Result |  |  |  |  |  |  | Remark | Residual chlorine |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | WHO | Ethiopia | Source |  | Remark |  |  | HH |  |  |  |
|  |  |  | Total coli form | E-coli | IRC risk classification |  |  | Total coli form | E-coli | IRC risk classification |  |
| WB001 (BH) | 0 | 0 | TNTC | 8 | Low risk |  |  | TNTC | 9 | Low risk | 0.08 |
| AA001 (BH) | 0 | 0 | 6 | 2 | Low risk |  |  | 9 | 4 | Low risk | 0.04 |
| Jk001 (SHW) | 0 | 0 | 10 | 2 | Low risk |  |  | 11 | 2 | Low risk | 0.13 |
| Jk002 (SHW) | 0 | 0 | 7 | 1 | Low risk |  |  | 7 | 1 | Low risk | 0.09 |
| JK003 (SHW) | 0 | 0 | 1 | 2 | Low risk |  |  | 2 | 2 | Low risk | 0.06 |
| JK004 (HDW) | 0 | 0 | 2 | 0 | Low risk |  |  | 2 | 0 | Low risk | 0.02 |
| JK005 (SHW) | 0 | 0 | 3 | 0 | Low risk |  |  | 3 | 0 | Low risk | 0.06 |
| JK006 (SHW) | 0 | 0 | 1 | 1 | Low risk |  |  | 2 | 1 | Low risk | 0.07 |
| AB001 (HDW) | 0 | 0 | 8 | 3 | Low risk |  |  | 5 | 1 | Low risk | 0.05 |
| AB002 (BH) | 0 | 0 | 7 | 3 | Low risk |  |  | 8 | 2 | Low risk | 0 |

The lab result, in the study area 80% of the water supply systems were contaminated by E-coli at both source and HH level. 60% of result shows there were no HH contamination and 20% shows that there is no contamination at both source and HH level except total coli form. WHO (2011) and Ethiopian water quality guide line recommends’ zero for E-coli but IRC categorized the risk due to E-Coli in to five categories for rural water supply systems. Depending on this classification the area is under low risk category.

The source of contamination may be from infiltration of animal manure around the source or wash in of human feces by rain because the sampling season were highly rainy season, most of the water sources around the study area are surrounded by farm land, insufficient or no chlorination of the source, corroded and unclean rods in hand pump sources, defects on pipe line, absences of disinfection after maintenance, inefficient cleaning of jerry cans and

other water collecting materials at HH level and absences of HH water treatment chemical use habit were some of the factors for the contamination of the water.

### Physicochemical parameter

The physic-chemical parameter is directly related to the quality of drinking water. It provides information about the health of water body. The parameters were used to find out the quality of water for drinking purpose.  During field survey ten samples were collected and the following physicochemical analyses were done on field and in the laboratory.

#### Turbidity

Turbidity in water caused by suspended particles or colloidal matter that obstructs light transmission through the water (WHO, 2011).  According  to  the  WHO  (2012)  standard  for  turbidity,  the  maximum  allowable  permissible limit value must always be low, preferably lower than 1 NTU. In rural area due to significant cost challenges turbidity were less than 5NTU. Turbidity affects not only the quality of water, but also other chemical and bacteriological parameters and efficiency of the treatment of water.

Table 13:-Turbidity of drinking water in the study area compared WHO guide line

| Sample code | Lab result in NTU | WHO guide line in NTU |
| --- | --- | --- |
| WB001 (BH) | 5 | 5 |
| AA001 (BH) | 3 | 5 |
| jk001 (SHW) | 5 | 5 |
| jk002 (SHW) | 10 | 5 |
| JK003 (SHW) | 5 | 5 |
| JK004 (HDW) | 5 | 5 |
| JK005 (SHW) | 5 | 5 |
| JK006 (SHW) | 12 | 5 |
| AB001 (HDW) | 13 | 5 |
| AB002 (BH) | 5 | 5 |

According to samples collected from the study area, from all samples 30% were turbid, from HDW 50% were turbid and from 5 samples of SHW, 40% were turbid (Table, 13). But turbidity has no direct health risk, it reduce the disinfection efficiency of the water.

According to field visit and key informant interview from water and irrigation office, the turbidity of hand dag wells were due to construction quality that is there were no any filtration media were added inside the well except the natural soil.

Turbidity of the shallow wells is due to high concentration of Iron (Table 18) and corrosiveness of the water due to pH. High concentration of iron causes corrosion of the rod inside the well. According to field visits almost all rods in hand pumps are highly corroded. The rods used in the study area are low quality rods and easily attacked by corrosion. The main factors for the turbidity of hand pumps are unclean and corroded rods. To prevent this problem the customers must use quality rod that is stainless rods.

#### Electric conductivity

Electric conductivity’s were the measure of dissolved solids in water. It also affected by temperature. The higher were the temperature, the electric conductivity also higher. For an increase of water temperature in 10c, the electric conductivity increase by 2-3 %.( Iyasele, J.U et al, 2015). The high electric conductivity of Weramo Bonkoya were firstly due to high temperature, secondly the rising and pressure pipe installed were much corroded.

Table 14:- Conductivity and temperature of drinking water in the study area

| Sample code | lab result (µs/cm) | WHO standard (µs/cm) | Temperature in 0c |
| --- | --- | --- | --- |
| WB001 (BH) | 1317 | 1000 | 27.5 |
| AA001 (BH) | 837 | 1000 | 20.1 |
| Jk001 (SHW) | 780 | 1000 | 21.4 |
| Jk002 (SHW) | 818 | 1000 | 20.4 |
| JK003 (SHW) | 744 | 1000 | 20.5 |
| JK004 (HDW) | 875 | 1000 | 22 |
| JK005 (SHW) | 726 | 1000 | 20.5 |
| JK006 (SHW) | 810 | 1000 | 20.3 |
| AB001 (HDW) | 745 | 1000 | 20.7 |
| AB002 (BH) | 798 | 1000 | 20.6 |

EC measurement is an excellent indicator of TDS which is the measure of salinity that affects test of potable water.

Electrical conductivity is used to indicate the total ionized constituent of water. It is directly related to sum of the cat ions and anions. According to laboratory result, EC of all samples were not more than the permissible level of WHO standard except weramo water supply system. The higher EC of weramo Bonkoya (WB001 BH) indicate that the presence of reduced Ionics due to high temperature and volcanic eruption in the area.

#### Total dissolved solids

In drinking water TDS are made up of inorganic salts and small concentration of organic matter. Such contributory ions were: carbonate, bicarbonate, chloride, Sulphate, nitrate, potassium, calcium, and magnesium. The major contributor of TDS in water was a natural contact with rocks and soil (Gurmessa, 2015). According to WHO (2011) water quality guide line, if the TDS of water were less than 600mg/l, the palatability of water were good and for drinking water the maximum permissible level is 1000 mg/l. The TDS value found in water system in the study area range from 363-659mg/l. the health risk were not significant due TDS, because it were less than WHO guide line

Table 15:- TDS of drinking water

| Sample code | Laboratory result of TDS | WHO guide line for TDS |
| --- | --- | --- |
| WB001 (BH) | 659 | 1000 |
| AA001 (BH) | 419 | 1000 |
| Jk001 (SHW) | 390 | 1000 |
| Jk002 (SHW) | 409 | 1000 |
| JK003 (SHW) | 372 | 1000 |
| JK004 (HDW) | 438 | 1000 |
| JK005 (SHW) | 363 | 1000 |
| JK006 (SHW) | 405 | 1000 |
| AB001 (HDW) | 373 | 1000 |
| AB002 (BH) | 399 | 1000 |

#### Total hardness

Hardness of the water considered as a physical or chemical parameter. It represents the total concentration of calcium and Magnesium ion in water. It can be easily examined and evaluated by precipitating soap. Hard water consumes more soap to form foam or lather. According to Dezuane (1996) as sited by Gurmessa 2015, the degrees of hardness were expressed as follows. If hardness of the water were 0-50 mg/le the water were soft water, 51-150 mg/l the water were moderately hard, 151-300 hard water and more than 300 mg/l were very hard water.  The laboratory result shows that, the result ranges from 82.4 mg/l to 250 mg/l (table 17). 90% of laboratory results show that the water were under soft water category except Weramo Bonkoya that the water were under moderately hard water category. But according to WHO recommendation, all results are below 300 mg/l (Table 16). There is no health risk due to using of this water sources for drinking purpose.

Table 16:- Hardness of drinking water in the study area

| Sample code | Lab report water hardness | WHO Gide line of water hardness |
| --- | --- | --- |
| WB001 (BH) | 250 | 300 |
| AA001 (BH) | 104 | 300 |
| Jk001 (SHW) | 111.2 | 300 |
| Jk002 (SHW) | 137.8 | 300 |
| JK003 (SHW) | 126.4 | 300 |
| JK004 (HDW) | 84.6 | 300 |
| JK005 (SHW) | 130 | 300 |
| JK006 (SHW) | 106.4 | 300 |
| AB001 (HDW) | 82.4 | 300 |
| AB002 (BH) | 90 | 300 |

#### PH (hydrogen ion concentration) of drinking water

PH is an important parameter of for the evaluation of acid-base balance in water. If PH is 0-6.9, the solution is acidic, 7.1-14, basic and 7 neutral. According to WHO (2011) water quality guide line the maximum permissible level of drinking water pH is range from 6.5-8.5. According to the lab result, 90% of the, sample result shows that the pH were within the range of permissible level of WHO guide line except the shallow well that found in Jarso Kutube kebele village 2, which has pH of 6.2 (Table, 17).  At field visit time all the other water schemes had pH of permissible level.

Table 17:- PH of drinking water in the study area

| Sample code | WHO guide line | pH of Drinking water | WHO guide line |
| --- | --- | --- | --- |
| WB001 (BH) | 6.5 | 7.8 | 8.5 |
| AA001 (BH) | 6.5 | 7.2 | 8.5 |
| jk001 (SHW) | 6.5 | 7.2 | 8.5 |
| jk002 (SHW) | 6.5 | 6.3 | 8.5 |
| JK003 (SHW) | 6.5 | 6.8 | 8.5 |
| JK004 (HDW) | 6.5 | 7.1 | 8.5 |
| JK005 (SHW) | 6.5 | 6.8 | 8.5 |
| JK006 (SHW) | 6.5 | 7.1 | 8.5 |
| AB001 (HDW) | 6.5 | 7.1 | 8.5 |
| AB002 (BH) | 6.5 | 7.3 | 8.5 |

pH of water has no direct impacts on consumers. For chlorination of water, the pH should preferably less than 8. If the pH of the water is 7 or less, the water is more likely to be corrosive (WHO, 2011). According to laboratory result, 30% of the sampling points have pH of less than 7, 60% have pH of 7.1-7.3 and 10% have pH of 7.8. This shows that the water is corrosive which could affect the life of the water pumping distribution system. This fact is supported by the observation during the field visit and FGD from water and energy office experts, corrosion is one of the great problems for sustainability of hand pump water schemes in the study area. It decrease the life span of water scheme spare parts especially rod of hand pumps, increases maintenance cost and decreases sustainability of schemes. Hence pH is one of the most important water quality parameter, which contributes to the non functionality of the water scheme. To overcome such problems, corrosion resisting materials should be used. For motorized schemes HDPE pipes are one of the best corrosion resistant pipes and for hand pumps water schemes the only exposed part for corrosion is the rod and stand. The best option is using stainless steel rod and stand.

#### Dissolved ammonia

Ammonia is a colorless, pungent gaseous compound of hydrogen and nitrogen that were highly soluble in water. Source of ammonia in water were Fertilizer, Animal manure and some nitrogen releasing compounds (WHO, 1996, vol 2).  According to US EPA (2013), ammonia is a health risk for aquatic life. The maximum permissible level of ammonia in water is 1.5mg/l (WHO, 2011).

The laboratory results of dissolved ammonia were also less that the permissible level of WHO standard. High concentration also used as an indicator that the water to be contaminated by E-coli.

Table 18:- Dissolved ammonia

| Sample code | Laboratory results of dissolved ammonia | WHO standard | Ethiopian standard |
| --- | --- | --- | --- |
| WB001 (BH) | 0.48 | 1.5 | 1.5 |
| AA001 (BH) | 0.32 | 1.5 | 1.5 |
| jk001 (SHW) | 0.29 | 1.5 | 1.5 |
| jk002 (SHW) | 0.32 | 1.5 | 1.5 |
| JK003 (SHW) | 0.34 | 1.5 | 1.5 |
| JK004 (HDW) | 0.38 | 1.5 | 1.5 |
| JK005 (SHW) | 0.33 | 1.5 | 1.5 |
| JK006 (SHW) | 0.27 | 1.5 | 1.5 |
| AB001 (HDW) | 0.82 | 1.5 | 1.5 |
| AB002 (BH) | 0.27 | 1.5 | 1.5 |

#### Iron

Iron is the fourth most abandoned element in the earth’s crust and it were very common problem in drinking water that has strong relation with hardness of the water. When, Iron increase in drinking water, hardness of the water also increases at the same time.  Iron cause the discoloration of water, unpleasant test, color and promote the growth of iron bacteria. It also precipitates in distribution and household plumbing.

According to WHO (2011), anaerobic ground water contain iron at concentrations up to several milligrams per liter without discoloration and when exposure to air, iron were oxidized to ferric iron give objectionable color. The permissible level of iron in drinking water must be less than 0.3 mg/l. However, 70% of the laboratory results of iron concentration is below the maximum permissible level of the guideline (table 19,). But some results like AA001, JK002 and JK006 are somewhat above the guide line. As field visit these concentrations were not only from the ground water. According to WHO (2011) water quality guide line aeration is one of the options to remove iron and the other options are chlorination and using lime stone cane remove iron as precipitate.

For AA001 sample, the systems were newly maintained and the rising pipe and some pressure line pipes are very old. This concentration can be minimized by using quality pipe that can resist corrosion. In the case of sample JK002 and JK006, it exacerbated due to the low quality rod fitted on the system. Such cases are minimized by using stainless rod as reported by water and energy office. In the case of AB001, the systems were old hand dag well system and in the area the soil were also reach of iron. The other reasons that the sampling time were also rainy season.  According to Gurmessa (2015) the iron concentrations were high at rainy season than dry season.

Table 19 :-Iron concentration in drinking water in the study area

| Sample code | Iron Concentration | WHO guide line |
| --- | --- | --- |
| WB001 (BH) | 0.17 | 0.3 |
| AA001 (BH) | 0.36 | 0.3 |
| jk001 (SHW) | 0.28 | 0.3 |
| jk002 (SHW) | 0.36 | 0.3 |
| JK003 (SHW) | 0.02 | 0.3 |
| JK004 (HDW) | 0.06 | 0.3 |
| JK005 (SHW) | 0.17 | 0.3 |
| JK006 (SHW) | 0.38 | 0.3 |
| AB001 (HDW) | 4.9 | 0.3 |
| AB002 (BH) | 0.05 | 0.3 |

#### Residual chlorine

Chlorine is a chemical that is used to disinfect drinking water. It is used to ensure the water quality from source to consumption. Residual chlorine is a free chlorine which indicates a sufficient amount of chlorine were added initially to the water to in activate bacteria and some viruses that causes diarrheal disease and  the water is protected from recontamination during storage.  During treatment of drinking water, residual chlorine shows that sufficient amount of chlorination were done. Low level of chlorine encourages the growth of bacteria in drinking water. Chlorine concentration decrease from source to consumption normally.

According to WHO guide line the minimum residual chlorine were 0.2 mg/l and the maximum were 0.5 mg/l. if the concentration were kept at this level can kill many pathogenic, disease causing micro organisms such as E-coli. Studies have shown that when residual chlorine levels drop below recommendations, several water quality problems can occur. With regard to public health, bacteria and selected viruses called  bacteriophage (A bacteriophage is a virus that infects and replicates within a bacterium)   are  able  to  multiply  in  water  that  were  not  properly  disinfected. The residual chlorine ranges from 0 to 0.13 mg/l. This shows that all results are below the minimum permissible level of residual chlorine as WHO guide line. Also the household interview on water chlorination and home treatment 63.5% did not use any chemical for home water treatment and from field surveying and focal group discussions with water committee 90% of the schemes in the study area has no official chlorination program (Fig 15).

The low residual chlorine in the water supply system shows that the water system were exposed to growth of pathogens like E-coli and all the water systems in the study area are not clean drinking water. So the water office in the woreda must take care on chlorination of the schemes on time and also the woreda should work more on household water treatment.

Figure 11:- Residual chlorine concentration in drinking water in the study area

#### Nitrate (NO3-) and Nitrite (NO2-)

Nitrate (NO3-) were found naturally in the environment and an important plant nutrient. Nitrate can reach both surface and ground water by agricultural activities (including excess application of inorganic nitrogenous fertilizer and manure) and from oxidation of nitrogenous waste products in human and animal excreta (WHO, 2011).

Generally, ground water has high nitrate concentration than surface water because of the percolating chemical fertilizers, leaching of solid waste landfills, and septic tank effluents to the ground. If the amount of nitrate were high in drinking water, it has high health risk for infants. When nitrate were reduced to nitrite and change hemoglobin to methemoglobin. Methemoglobin reduces the amount of oxygen that can be carried in the blood. This results in cells throughout the body being deprived of sufficient oxygen to function properly. These conditions were called methemoglobinemia (EHIB, 2000). According to laboratory results all the results are below the WHO guide line and there were no nitrate and nitrite problem in the study area of drinking water (Table 19).

Table 20:- Nitrate and Nitrite concentration in drinking water in the study area

| Sample code | WHO guide line for NO2- | WHO guide line for NO3- | NO2- Lab result | NO3- Lab result |
| --- | --- | --- | --- | --- |
| WB001 (BH) | 0.1 | 50 | 0.03 | 48.4 |
| AA001 (BH) | 0.1 | 50 | 0.02 | 1.8 |
| jk001 (SHW) | 0.1 | 50 | 0 | 3.1 |
| jk002 (SHW) | 0.1 | 50 | 0.1 | 16.7 |
| JK003 (SHW) | 0.1 | 50 | 0.02 | 7.5 |
| JK004 (HDW) | 0.1 | 50 | 0.03 | 20.2 |
| JK005 (SHW) | 0.1 | 50 | 0.02 | 4 |
| JK006 (SHW) | 0.1 | 50 | 0.01 | 17.6 |
| AB001 (HDW) | 0.1 | 50 | 0 | 0 |
| AB002 (BH) | 0.1 | 50 | 0.01 | 5.7 |

#### Manganese content of water samples

Manganese is grayish white metal. Their guide lines for drinking water were set for aesthetic reason because manganese can stain plumbing and launder. Manganese containing water can react with coffee, tea and even alcoholic beverages producing a black sludge affecting both taste and appearance. According to laboratory analysis, 50% of the results in the study area are greater than the WHO guide line that is 0.1 mg/l. High level of inhalation can causes neurological effect on human.

But according to Suzuki, (1970) as sighted by WHO, exposes of human for 0.75mg/l manganese in drinking water in Japan has no health effects and according to IPCS, (1999) as sighted by WHO (2011) the genotoxic potential of manganese in humans is not known.

Also according to Vieregge et al., (1995) as sighted by WHO (2011)  no neurological effect of manganese at a level of at least 0.3mg in drinking water. If the level of manganese excides 0.1mg/l in water supply, it causes undesirable test in beverage and stains sanitary ware and laundry. As iron it also causes accumulations of deposits in distribution system. Even at the concentration of 0.2mg/l manganese will often form coating on pipe which may slough off as a black precipitate.

Table 21:- Manganese contents of water sample

| Sample code | Manganese lab report (mg/l) | WHO guide line |
| --- | --- | --- |
| WB001 (BH) | 0.3 | 0.1 |
| AA001 (BH) | 0 | 0.1 |
| jk001 (SHW) | 0.3 | 0.1 |
| jk002 (SHW) | 0 | 0.1 |
| JK003 (SHW) | 0.1 | 0.1 |
| JK004 (HDW) | 0.2 | 0.1 |
| JK005 (SHW) | 0 | 0.1 |
| JK006 (SHW) | 0.6 | 0.1 |
| AB001 (HDW) | 0.4 | 0.1 |
| AB002 (BH) | 0 | 0.1 |

It can be removed by chlorination followed by filtration. According to section 4.5.2.8 on this paper 90% of the schemes have no chlorination program. So the amount of manganese in water indicates the absence of disinfection and it also have negative contributes for the sustainability of water schemes.

#### Fluoride

Fluoride is one of the major problems of ground water in Ethiopia. But it is essential for human health to fight dental caries. The maximum permissible level of fluoride in drinking water is not more than 3mg/l at any way. Sources of fluoride in drinking water is dissolution of minerals contained in bed rocks, discharges of industrial wastewater coming from the manufacturing of semiconductors, aluminum, glass, etc and fluoridation of drinking water.

According to WHO (2011) drinking water guide line, the minimum permissible level were 0.5 and the maximum permissible level were 1.5mg/l. High concentration can cause mottling of teeth, change in bone structure and neurological damage are some of the health risk.

Both dental mottling and bon deformation are common in rift valley of Ethiopia that the study area also found in Bilate rift valley and the concentration of fluoride in the study area varies from dray woynadega to wet woynedega. As the laboratory and field survey results, the fluoride concentration in the study area ranges from 0-3.17mg/l at sampling points. Only one water sample that taken from Weramo Bonkoya water scheme has the fluoride concentration of 3.17mg/l and this concentration is more than double of the WHO guide line (Fig, 16).

Figure 12:-Fluoride map of the study area

In the study area as reported by water and irrigation office, all the water schemes around the Bilate rift valley have fluoride concentration ranges from 3 to 12mg/l.  Due to this all water supply systems in this rift valley are non-functional. Water and irrigation office must use some options of fluoride removal techniques that are environmentally adaptable and materials must be available in rural areas.

Currently available  methods of fluoride removal from water include adsorption onto activated alumina, bone char and clay, precipitation with lime, dolomite and aluminum sulfate, the Nalgonda technique, ion exchange and membrane processes such as reverse osmosis, electro-dialysis and nano filtration.  But most of the available materials for defluoridation are expensive and technically non-feasible in rural communities in Ethiopia.

Hence the development of defluoridation method based on locally available materials is desirable. The technology must be technically simple, cost effective, easily transferable, use local resources and must be accessible to the rural community. Some cost effective methods such as Bone chare method, chemical additive method or nalgonda technology also applied. In addition to this alternative water source investigation from fluoride free area also better.

## Sanitation and Hygienic Practice

Environmental sanitation is essential to promote health and prevent diseases. It is described in terms of personal hygiene, toilet facilities and surrounding environment. Water supply conditions without sanitation and hygiene behavior looks nothing (Water Aid, 2009).

### Type of latrine and construction material

According to respondent response 95.3% have latrine but from those having pit latrine, 70.6% are constructed their latrine without proper closed wall and without roof, 9.4% have constructed without wall and roof and only 15.3% are constructed their latrine with closed wall and roof.  Most of the latrines having closed wall and roof were found in kebeles that are selected from near Shone area 1st Amburse.  All latrines in the study area were traditional and 69.4% of their cover is wood and wood products, 11.8% are covered by wood and cement and only 14.1% of the latrines in the study area were covered by slab. Almost all latrines in the study area were exposed to animal contacts.

According to key informants from Woreda Health Office, they were not satisfied on the type of latrines in the rural area of the woreda. Because such latrines were exposed type of latrines for communicable disease and the latrines did not meet the standard of improved sanitation facilities. Improved sanitation facilities were hygienically separate human excreta from human contacts (JMP, 2012).

In the study area almost all sanitation facilities are not separated from human and animals contacts especially from flies. As the category of sanitation the population in the study area was under the category of unimproved sanitation. In the study area this lack of improved sanitation can cause spreading of disease caused by unimproved sanitation.

### Habits of using pit latrine

During the time of respondent interview and survey results, only 64.7% of respondents use their latrine properly and the rest did not use their latrine. There were so many factors that were revealed by the respondents. Some of the factors which push away the community from using the latrine are lake of privacy protection around the latrine, bad smell and cultural factors.

In rural area almost all materials used for privacy protection around the latrines are local materials and it has not more than 2-3 months survival, due to these farmers are becoming exhausting to exchange the privacy protection materials. The other factor is cultural factor. Some of the cultural factors those influence latrine use are, in the study area some women and girls did not use latrines in front of the house, aged males did not use latrine at the backyard,  father in-law and daughter in-law did not use same latrine in common and most babies under the age of ten do not use latrine. In rural area open defecation is increasing due to this. One of the solutions for this problem was selection of the location of the latrine in reference to the house. If the latrine was located at the side of the house, both male and females can use freely but still father in-law and daughter in-law can’t use same latrine. The other solution is construction of alternative latrine at the backyard and in front of the house.

According to the respondent’s response, 31.8% of the respondent’s dose not satisfied on the latrine they have due to that the traditional latrines are not proper for seating. This shows that unclean able super structure make the latrine dirty and unsafe for use. To overcame this problem customers use slab for cover but slab has also another health problem that when the slab was heated by solar radiation then high temperature is there. This may causes hemorrhoid problem on users. So full package latrine construction was the best option by using local materials. Such latrines are latrine with closed wall, roof and slab for super structure cover.

In the study area during household interview and field visit almost all latrines in the study area have no squat-hole cover and air vent. This shows that all the latrines are exposed to human and animal contact especially for fly contact.  This also exposes human health to risk by contaminating water, food and home use utensils by flies and other contaminating agents. To overcome these problems in the study area, concerning sectors should work on improving latrine construction by using locally available materials. Such improvement minimizes influence of the factors on usage of latrines.

### Hygienic behavior

#### Hand washing practice

According to household interview results, only 41.2% are practicing hand washing at all critical time but not according to sanitation standard. But most are practicing at various times like14.1% practice only before eating, 28.2% practice only before eating and after defecation, 8.2% are practicing before feeding child, before preparing food and before eating (Fig 14). Almost more than half of the respondents doesn’t consider the five critical time of hand washing time.

According key informant interview in health office more than half (65.9%) of latrines in the study area have no hand washing facilities around it and from those having  hand washing facilities only 27.1% were contain water and soap and ash for cleaning agents. This shows that most of the respondents in the study area do not using cleaning agents during hand washing at critical time and the critical hand washing practice is also less. Washing hands with soap reduces the risk of diarrheal diseases by 42–47%. There were also indications that hand washing is an important preventive measure in the incidence of acute respiratory infections.

Overall, interventions to promote hand washing might save a million lives a year. Each person should be able to wash hands with water and soap after toilet use, before food preparation, before eating and after cleaning babies. The use of mud, ash and soap all achieved the same level of cleanliness and it suggests that the action of rubbing hands were more important than the agent used. (Cairncross, 2010).

Figure 13 :-Hand washing practice and access to cleaning agents around the toilet room

According to key informant interview from health office, the study areas were one of the pilot program areas in SNNPRS on CLTSH program by SNV in 2007. From 36 rural kebeles, only 63.2% of kebeles were ODF, sanitation facilities coverage is 71% and utilization were 70% but hand washing practice were very poor that less than 25%. But according to the respondent interview OD were approach to 35% (Fig 15).

Figure 14 :-Latrine using habit in the study area

#### Solid wastes and baby feces disposal

In almost all of the study area, children were not considered to use toilet even if the household have latrine. 76.5% of households in the study area well managed baby feces and put it to the latrine (Fig 10). This shows that most children do not use toilet. The reasons were that all latrines in the study area are traditional and not proper for babies.

According to UNICEF (2008) as sited by semaria 2012, good hygiene practice (especially, hand washing with soap after defecation and before preparing food and safe disposal of children’s feces) prevent diarrhea. Also as sited by water sanitation program (2015) there is a common belief that the feces of infants and young children are not harmful Gil, A. T, et al (2004) but this is not necessarily true. In fact, there is evidence that children’s feces could be more risky than adults’ feces, due to a higher prevalence of diarrhea and pathogens such as hepatitis A, rotavirus, and E. coli in children than in adults (Feachem, et al. 1983). Therefore, children’s feces should be treated with the same concern as adult feces, using safe disposal methods that ensure separation from human contact and household contamination.

In rural area of the study area, only 21% of household use traditional sanitary pit to dispose wastes. Almost all households in the study area clean their home and near house but 79% of them have poor disposal (Fig 16). According to Cairncross  et al (2010) improved sanitation attributes to 36% reduction in risk of diarrhea while hand washing with soap reduces the risk of diarrhea by 48% and also UNICEF (2010) reported that,  good  hygiene practices improve overall health through reduced rates of pneumonia,  scabies,  skin  and  eye  infections,  and influenza. Most of the household reveal that they have no knowhow for management of solid wastes and they simply damp to field and farm land. Therefore, woreda health and water and energy office should work hard on this gap. The situations were more serious at rainy season.

Figure 15:-Child feces and solid waste disposal

# CONCLUSION AND RECOMMENDATION

  - Conclusion

As found out, Misrak Badawacho woreda water supply could not meat water demand of the population with the existing capacity.  In the study area 57.6% of the population is walking more than 5km, 63.5% of the respondent is also walking more than the standard time set by WHO and MoWRD  that is  25l/c/p within 30min walk both round . At present the coverage of the clean water supply in Misrak Badawacho Woreda is only 29.8%, 17.1% of the schemes are non functional and 64.7% of the respondents are unsatisfactory on clean water supply.  Water use at the house hold level is affected by Geographical location, house hold size, distance walk to get clean drinking water and collection time. Per capita water consumption is only 5.97L. This is well below 15l/c/p of UAP target and 25l/c/p of MoWRD long term plane till 2016. The actual demand of clean water is 1122.658m3/d and the required demand is 6558m3/d. This all calls most of the rural area population are under poor clean water supply, adversely affects personal hygiene and clean food preparation and this favors transmission of communicable and water born disease.

As the study found that technical factors are one of the problems, such factors increases non functionality of water schemes. Physical conditions of the schemes are also other factors. In the study area 71.4% of the fenced schemes have no door. Community and Women’s participation is also low.  In addition to this poor financial and schemes management system is also another factor for sustainability. Institutional support is also another factor for sustainability of the schemes in the study area that there is unbalanced number of water schemes and number of expert. The other challenge for sustainability of water schemes in the study area is living all operation and maintenance cost covering to the community. In addition to those factors, water quality is one of the additional factors that influence sustainability. Almost 90% of water schemes in the study area have pH of 7 or less than 7. Due to this the water is corrosive. Water distribution lines and hand pump spare parts are exposed for corrosion and this also decrease sustainability of water schemes. Another quality problem is manganese and Iron. They aggravate corrosion and decrease life expectance of the water system.

Water quality is another issue in the woreda. According to bacteriological analysis, from 10 sampling points almost all are contaminated by total coli form and 80% are also contaminated by E-coli that are above WHO and national permissible limits. From Physicochemical analysis residual chlorine is below the permissible level (0.2-0.5mg/l), 40% of water sample iron concentration above WHO guide line that is 0.3mg/l, and almost all water systems have pH of less than 7 and high manganese concentration. Due to poor quality of drinking water, poor sanitation and hygiene, lack of house hold water treatment and lack of drinking water disinfection at source and poor sanitation was a great probability of spread of disease in the area.   The implications for this in addition to above cases are low coverage of drinking water, high distribution of diarrhea disease and typhoid that they still top 5 in the area, use of non disinfected drinking water. To reduce the prevalence of water born disease improved clean drinking water both in quantity, quality and availability, improved sanitation and sanitation facility, proper environmental hygiene is required.

In addition to those, sanitation facilities in the study area are another problem. Almost all are constructed by local materials, all latrines are traditional and 69.4% of their cover is also wood product. Such covers are not suitable for cleaning. According to WHO all latrine did not meet standard of improved sanitation standard. They are exposed to animal contact. 31.8% of latrine users are not satisfied due to locally made unsafe seating.The other factors that push away the community from using latrine are lack of privacy protection around the latrine due to unsustainable local materials, bad smell due to improper super stricture and cultural factors. This all increases open defecation in the study area. In addition to those more than half of the latrines have no any hand washing facilities. Proper hand washing practice is also only 27.1% and all communities in the study are clean their environment but 79% of them dispose solid waste improperly. Due to such conditions the area exposed to sanitation related health risk.

If the communities are provided with such facilities according to international and national standard and enhanced with appropriate information they can protect themselves from waterborne disease especially diarrhea and typhoid disease and water wash disease. It is therefore very important that the woreda admin and wash sectors work more on behavioral change of the community enhancing by continues water, sanitation and hygiene education.

  - Recommendation

The following recommendations are useful in achieving effective and efficient provision of clean water supply and sanitation in the study area.

- Equitable distribution of water schemes:-in the study area there is no even distribution of schemes, communities weighting more time to fetch water, walk more distance. To address those communities, Government and NGOs should work on contraction of new water schemes, expansion of on spot schemes by considering the density of population in the area and national water supply standard.

- Detail study on water supply: - in the study area there is no detail study for both underground and surface water. To increase potential of clean water supply in the area both source should be identified for both human and livestock through detail study if financial conditions allow.

- The woreda should work more on community participation to develop community ownership which is crucial for sustainability of schemes.

- Documentation: - in the study area there is no proper documentation of both financial and legal documents.  Due to this the schemes histories are not known. It is highly recommended that woreda water and irrigation and Health office should work more. In other way the same is true at water source level.

- Water quality influence on sustainability: - almost all water sources in the study area are corrosive due to low pH. So corrosion is one of the sustainability and water quality factor in the study area. To overcome such problems using corrosion resistant material such as plastic pipes for line distributions and stainless rods for hand pumps.

- Water treatment at home and source: - absence of disinfection of drinking water at the source by chlorine is one of the problems that increase pathogenic bacterial contamination. So woreda water and irrigation and health office should focus on source water disinfection and on creation of awareness on usage of home water treatment chemicals.

- Rural latrine technology and use: - In the study area almost all latrines are traditional and un-cleanable, improper to seating, no privacy especially for women and no vent system. So woreda Health office and wash sectors should work on the improvement of rural latrine during contraction.

- Influence of culture on latrine usage: - in the study area father in-law and daughter in-law do not use same latrine, women and girls and aged males do not use latrine in front of house and at the backyard. During construction of latrine it is better to place the latrine at the side of the home building. But still daughter in-law and father in-law did not use it again. Construction of two latrine at both backyard and in front of hose is an alternative means.

# References

African Misters’ Councils on water 2012. Decisions of the 11th AMCOW Executive Committee of the African Ministers Council on water on 16th June 2012 in Cairo, Egypt.

Ahmed, 2013. Sustainability Of Rural Water Services Implemented Using Community-Managed Project Approach In Amhara Region Of Ethiopia. MSc thesis. Visamäki Campus. HAMK Unversity of Applied Scince.p32.

APHA (Amahara Public Health Association). 1998. Standard methods for the examination of water and waste water 20th ed. Washingiton.

Bannerjee et al, 2008. Access, Affordability and Alternatives: Modern Infrastructure services in Africa. Africa Infrastructure Country Diagnostic. World Bank February 2008, Washington Dc, USA

Baumann 2006. Do operation and maintenance pay? Waterlines, Vol 25, No1, pp10-12. http://www.rwsn.ch/documentation/skatdocumentation.2009-03-06.0210700241

Bhandari B. and Grant M. 2007. User  satisfaction  and  sustainability  of  drinking  water  schemes  in rural communities of Nepal, Canada

Bradley R.M. 2004. Forecasting domestic water use in rapidly urbanizing area in Asia. Journal of Environmental Engineering, 130(4), 465-471).1

Breslin E. 2003. Demand response approach in practice: Why sustainability remains elusive, Water Aid in Mozambique. http://www.wateraid.org/documents/plugin documents/ elusivesustainability.pdf

Cairncross. 2010. Water supply and sanitation: an agenda for research. Journal of Tropical Medicine and Hygiene 92, 301–314.

Carter, R.C., Tyrrel, S.F., and Howsam,P. 1999. Impact and Sustainability of community water supply and sanitation programs in developing countries. Journal of the Chartered Institution of Water and Environmental Management, Vol. 13, pp 292-296.

Carter, R.C., Rwamwanja, R., and. Sutton, S. 2006. Functional sustainability in community water and sanitation. A case study from south west Uganda,Tearfund.

Carter, 2009.  Operation and Maintenance of Rural Water Supplies. In Perspectives N° 2. St. Gallen: Rural Water Supply Network (RWSN). URL [Accessed: 06.09.2015].

Carter, 2010. User financing of rural hand pump water services, WaterAid, UK. IRC Symposium: Pumps, pipes and promises, 2010.

Central Statistics Agency of Ethiopia. 2008. Summary and Statistical Report of the 2007 Population and Housing Census: Population Size by Age and Sex

Central Statistics Agency of Ethiopia (CSA). 2010. The population projection for July. 2011 Magazine (1), CSA, Addis Ababa

Christopher. 2008. Community Water Supply: Project Effectiveness and Sustainability, USA,

Cochran G. W. 1977. Sampling techniques (3rd ed). New York, John Wiley and sons.

Davis, J. Garvey, J. and Wood, M. 1993. Developing and managing Community Water supply. (Oxford Developing Guide Line No 8). Oxford University.

De Zuane J. 1996. Hand Book of Drinking Water Quality. Published.

EHIB (Environmental Health Investigations Branch). 2000. Health Concerns Related to Nitrate and Nitrite in Private Well Water. California Department of Health Services, California.

Ethiopian Standard (ES). 2002. Drinking water specification, Quality and standards Authority of Ethiopia. Addis Ababa Ethiopia, ES publication.

EPA, 2010. Control and mitigation of drinking water loss in distribution system. Accessed on www.awwa.org/portals/0/files/waterlosscontro/ . 2016.

Feachem, R.G., Bradley, D.J., Garelick, H. and Mara, D.D. (1983) Sanitation and disease: health aspects of excreta and wastewater management. World Bank Studies in Water Supply and Sanitation 3, Wiley, Chichester, UK.

FMoH (Federal Ministry of Health). 2012. Sanitation and Hygiene statutes. Addis Ababa Ethiopia.

Fontein 2007. An Evaluation of a Multiple Use water Supply system Developed by the Rural Development Academy. Bangladesh: Thesis Submitted to Cranfild University. Available at   <www.irc.nl/page/9405> , last visited February, 2015.

Gadgil A. 1998. Drinking water in developing countries. Lawrence Berkeley National laboratory, environmental energy technologies division, 1 Cyclotron Road, California, s.1.

General comment No 15. 2002. The right of water. Available on www.ohchr.org/english/issues/water/docs/SUb_Com_Guisse_guidelines.pdf

Gil, A., C. Lanata, E. Kleninau, and M. Penny. 2004. Children’s Feces Disposal Practice in Developing Countries and intervention to prevent Diarrheoal Disease. Environmental Health Project, USAID. Washington, DC: USAID. www.ehproject.org.

Gurmessa Oljira. 2015. Investigation of drinking water quality from source to distribution system. MSc Thesis. Addis Ababa civil and environmental engineering. 109p.

Harvey, PA. Uno, J. and Reed, RA. 2006. Operation and maintenance for rural water services: Sustainable solutions,WELL Centre. http://www.lboro.ac.uk/well/resources/Publications/ Briefing%20Notes/BN15%20O%20and%20M.htm

Hofkes, 1983. Operation and maintenance of water supply system. The evaluation of drinking water sanitation projects. Hand out. IRC. Rijeswijk, The Netherlands. 63 p.

Howarth, R. W.,Bilen, J., Swaney, D., Townsend, A., Jaworki, N., Lajtha, K., Downing, JA., Elmgren, R., Caraco, N., Jordan, T., Berebdes, F., Fereny, J., Kudeyarov, V., Murdoch, P. and Zhu Zhao-liang 1996. Regional nitrogen budgets and riverine N &P fluxes for the drainages to the North Atlantic Ocean: Natural and human influences,Biogeochemistry, 35, 75 – 139.

Hutton, 2004. Evaluations of the costs and benefits of water and sanitation improvements at the global level.World Health Organization, Geneva.

IFAD. 2012b. Gender and Water. Securing water for improved rural livelihoods: The multiple uses system approach. (Rome: IFAD).

IPCC. 2007. Forth Assessment report. Intergovernmental plane on climate change secretariat. Geneva, Switzerland. <http://www.ipcc.ch/>

IPCS. 1999. Manganese and its compounds. Geneva, World Health Organization, International Programme on Chemical Safety (Concise International Chemical Assessment Document 12).

IRC. 2002. Small Community Water Supplies: Technology, people and partnership, Ministry of Housing, Spatial Planning and the Environment, Netherlands.

IRC and WSUP. 2012. Financing Water and Sanitation for the Poor: Six Key Solutions. Discussion Paper co-published by IRC International Water and Sanitation Centre (IRC) and Water and Sanitation for the Urban Poor (WSUP)

Iyasele, J. U. 2015. Assessment of water quality of ground water for drinking purpose in the upper west and northern region of Ghana. Accessed http://doi.org/10.1186, 2016.

JMP, 2010. Progress on sanitation and drinking water. 2010 update. New York, Geneva: JMP.

JMP, 2012. Progress on sanitation and drinking water. 2012 update. New York, Geneva: JMP.

JMP, 2014. Prograce on sanitation and Dirinking water 2014 update.

JMP. 2015. Prograce on sanitation and Dirinking water 2015 update. http://www.wssinfo.org/fileadmin/useruplod/resources/ (Accessed on may 2015)

Kegley, S.E. and Andrews, J. 1997. The Chemistry of Water. Library of Congress Cataloging in Publication Data. University Science Books, Sausalito, California. 48-51.

Kennedy M. 2004. Issues  regarding  sustainability  of  rural  water  supply  in  Zambia,  South Africa.

Lee, R.D. and Tuljapurkar. 1994. Stochastic population forecasts for the United States: Beyond high, medium, and low. Journal of the American statistical association, 89, 1175-1189.

Len Abrams. 2000. Understanding sustainability of local water services. Accessed 2016 on

http://www.irc.nl/page/67592.

Lluís Basteiro & Ignasi Salvador. 2003. Manual of technical criteria for water projects in Ethiopia.

MDG (Millennium Development Goal), 2000. Millennium Development Goal on Water and Sanitation.

Michael H. 2006. Drinking water quality assessment and treatment in east Timor a case study: Tangkae, the University of East Timor.

Ministry of Health. 2005. National Hygiene and Sanitation Strategy. Federal Democratic Republic of Ethiopia; 11−52.

MBWRDO (Misrak Badewacho Woreda Rural Development Office). 2014. Annual plan of the sector. Unpublished.

MBWRDO (Misrak Badewacho Woreda Rural Development Office). 2015. Annual plan of the sector. Unpublished.

Misrak Badewacho Woreda water office. 2014. Annual report, Unpublished.

Mohamed, AAJ., Ibrahim, AR., Sadri, AS., Lee, HL. And Islam SM. 2013. Study of ground water quality at Dindigul Town Tamilandu, India, Int. Res. J. Environment Science, pp 68-73 (2013).

Moriarty, P., Batchelor, C., Fonseca, C., Klutis, A., Naafs, A., Nayarko, A., Pzon, K., Potter, A., Reddy, R. and Snethalata, M.  2011.  Ladders and levels for assessing and costing water service delivery. WASHCost Working Paper No. 2. The Hague, the Netherlands: IRC International Water and Sanitation Centre.

MoWIE. 2002. Water sector development program (WSDP) volume II main report. Addis Ababa, Ethiopia, (October).

MoWRD. 2006. Universal access program (UAP) for water supply and sanitation service from 2006-2012. Addis Ababa, Ethiopia.

MoWR. 2015. The second Growth and Transformation plan. Federal Democratic Republic of Ethiopia. Addis Ababa. p. 9.

Murphy 2007a. General Information on Specific Conductance. Water Quality Monitoring. City of Boulder/USGS.

Parry-Jones, S., Reed, R. and Skinner, B. H.  2001. Sustainable Handpump Projects in Africa: A literature review. Loughborough, WEDC, Loughborough University.

Pearce 1999. Pricing water: Conceptual and theoretical issues, Paper for European Commission for conference on pricing water: Economics, Environment and Society. Portugal: Sintra.

Peter Harvey and Bob Reed, 2004. Rural Water Supply in Africa: Building Blocks for Hand pump Sustainability WEDC, Loughborough University, UK.

Peter  Harvey and Robert A. 2006. Community-managed water supplies in Africa: sustainable or dispensable?, England

Pretty 1995. Participatory Learning for Sustainable Agriculture. World Development: forecasting (August 1995) Vol. 23, No. 8.

Public Health Protection. 2000. Safe water supply Vital to Your Health; Sweden.

Robinson. 1993. Economic Evaluation and Health Care: Cost-Benefit Analysis. Journal of British Medical. Volume 307(6909), 9 October 1993, pp 924-926

Roza Siraj. 2015. Determinants of Diarrhea among Children of under Five Years of Age. MSC Thesis. Haromaya Unversity, Environmental Health Science, Haromaya, 62p.

Rural Water Supply Network. 2009. Myths of the rural water supply sector, Perspectives No 4. http://www.rwsn.ch/documentation/ skatdocumentation.2009-07-27.8158674790/file.

Rural Water Supply Network. 2010. Myths of the rural water supply sector, Perspectives No 4. http://www.rwsn.ch/documentation/ skatdocumentation.2010-07-27.8158674790/file.

Semaria Moges. 2012. Water supply and sanitation. MSc Thesis. Hawassa University, Technology institute, Hawassa, Ethiopia, 105p.

Sijbemsa W.  1989. What Prices Water?  User Participation in Paying for Community Based Water Supply with Particular Emphasis on Piped System, The Hague, and the Netherlands

Solomon Jida.  2011.  Thesis submitted to the School of Graduate Studies of Addis Ababa  University for Partial Fulfillment of the Requirements for the Degree of Masters of Environmental Science in Environmental Science program. Addis Ababa

SuSan A. 2008. Towards more sustainable sanitation solutions - SuSanA Vision Document.           Sustainable Sanitation Alliance (SuSanA)

Stevens M., Ashbolt N. and Cunliffe D. 2003. Recommendation to change the use of coli form as microbial indicators of drinking water quality. Australia Government National Health and Medical Research Council.

Suzuki 1970. Environmental Contamination by Manganese. Japan Journal of Industrial Health, 12. Pp 529-533.

Taye. 2010. Assessment of climate change impact on hydrological extremes in two source regions of Nile Basin. Hydrology and Earth Science discussion. 7(2010), PP. 5441-5465.

Telmo, C. 2002. A water supply and sanitation study of the village of Gouansolo in Mali, West Africa, and Michigan Technological University.

Tietmberg T. 1996. Environmental and natural resource. Harper Collins. N Y.UN, (2003)

Tilley, E., Luthi, C., Moral, A., Zurburgg, C. and Schertlenleib, R. 2014. Compendium of sanitation system and technologies. 2nd revised edition. Swiss Federal Institution of Aquatic Science and Technology (Eawag). Duebendorf, Switzerland.

United Nations Department of Economic and Social Affairs. 2010. The Millennium Development Goals Report. http://www.un.org/millenniumgoals/pdf

UNDP. 2011. Human Development Report Interactive World Map http://hdr.undp.org/statistics/data/hdi_rank_map.cfm (accessed: 28th August 2016)

UNDP. 2006. Human Development Report Interactive World Map http://hdr.undp.org/statistics/data/hdi_rank_map.cfm (accessed: 28th August 2016)

UNFPA. 2002. UNFPA annual report 2002.

UNFPA. 2003. Human development report. Oxford University press. New York.

UN-HABITAT. 2003. United Nations Human Settlements Programme: Improving the lives of 100 million slum dwellers; towards the millennium Development Goals, Nairobi Kenya

UN-HABITAT. 2006. Meeting Development Goals in small urban centers; Water and sanitation in the world’s cities, UK. Earth scan.

UNICEF. 2008. UNICEF Handbook on Water Quality. UNICEF, New York, USA. Available at: www.unicef.org/wash/files/WQ_Handbook_final_signed_16_April_2015.pdf

UNICEF. 2010. UNICEF Handbook on Water Quality. UNICEF, New York, USA. Available at: www.unicef.org/wash/files

UNICEF 2013, The state of world children’s 2013. A fair chance for every child. United Nation Plaza, New York, USA.

Vieregge P et al. 1995. Long term exposure to manganese in rural well water has no neurological effects. Canadian Journal of Neurological Science, 22:286–289.

Water Aid. 2009. Water supply and sanitation frame work. URL: http//www.wateraid.org/publications/ (Accessed 14 April, 2015).

Water Aid. 2011. Sustainability frame work URL: http//www.wateraid.org/publications/ (Accessed 14 April, 2016).

WHO. 1996. Guidelines for Drinking-Water Quality, 2nd ed, Vol.2 Health Criteria and Other Supporting Information, World HealthOrganizations, Switzerland, Geneva.

WHO. 2004. Guidelines for drinking water quality, 3rd edition Vol.1. World Health Organizations, Switzerland, Geneva

WHO. 2004b. World Health report. Geneva, World Health Organization.

WHO. 2005. Operation and Maintenance of Water Supply Systems, Central Public Health and       Environmental Engineering Organization, Ministry of Urban Development, New Delhi.

WHO. 2006. In Water, Sanitation and Health World Health organization. World Health Organization. Geneva.

WHO. 2008. Guidelines for Drinking water quality. Third Edition. Vol 1:Recommendation. World Health Organization. Geneva.

WHO. 2011. Guidelines for Drinking-water Quality 4th edition V1, World Health Organization, Geneva.

WHO. 2012.  Progress on Sanitation and Drinking-water; WHO/UNICEF Joint Monitoring Program for Water Supply and Sanitation Geneva, Switzerland.

WHO/UNESCO. 2010. Progress on Sanitation and Drinking-water: 2010 Update. Geneva: WHO press.JMP 2010 Update

WoFeD. 2015. Five Years Strategic Plan of Misrak Badewacho Woreda. Unpublished.

World Bank: Ethiopian country Brief Results, retrieved on July 17,2011

Zemenu Awoke. 2012. Assessment of Challenges of Sustainable Rural Water Supply. MSc Thesis. School of Cornell University, New York. 76p.

# Appendices

Appendix A

| Demographic information |  |
| --- | --- |
| General information’s | Interviewer:- |
|  | Date of interview:- |
|  | Checked by :- |
| Respondents’ background | - Name of the respondent ------------------------------------------- |
|  | - Sex: 1. Male 2. Female |
|  | - Age of the respondent ------------ |
|  | - Marital status 1. Single 2. Married 3. Divorced |
|  | - Name of the Kebele:------------------------------------------------- |
|  | - Name of the Village:------------------------------------------------- |
|  | - No of people live in your house:--------------------------------- |
|  | - Educational status of the respondent - Primary - Secondary - Higher level - Non formal education - No educational background |
|  | - Occupation of the respondent - Farming - Small scale business - Gov’t employee - Privet work |

|  | HH survey Questionnaires for Water supply and sanitation related information’s |
| --- | --- |
| 1 | What is the source of drinking water for your household members? |  |  |  |  | - Unprotected well - Protected well - DBH - SHW - HD - Public tap - Unprotected spring |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Protected spring - Surface water - River - Pond - River and pond - River pond and public tap |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | If the source of drinking water is protected one (such as hand dag-well, Shallo-well, Borehole,pipe line, protected spring ) are you satisfied with the quantity of water you get from this schemes? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Yes - No |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 | If the answer for Q2 is No, what are the reasons? |  |  |  |  | - Low reliability of the scheme - Low quantity of the water - Long distance to the scheme |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - The source is non-functional - The source is not maintained |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 | Did you satisfied with the quality of the water from Q2 sources? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Yes 2. No |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 | If your answer for question 4 is No, what are the reasons? |  |  |  |  | - The source is salty - The source has bad test - The source is muddy |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - The source has bad smell - The source has warm - The source is too hard/ soft to wash - The source change the color of tooth |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | - Others ------------------------------------------------------ |
| 6 | For what purpose you are using the water source? |  |  |  |  | - Drinking and cooking - Washing cloths and bathing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Animal watering - Vegetable production - Choice 1-3 6. Choice 1-2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | Others ----------------------------------------------------------------- |
| 7 | What is the daily average consumption of water in your household? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - 5-10L - 11-20L |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - 21-40L - 41-50L |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - 50-60L - Above 60L |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8 | How long do you travel to fetch water if there is no privet connection? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - < 100m - 101-200 m |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - 201-1000m - 1001-1500m |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Above 1500m |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9 | How many times do you collect water with in one day? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Once - Twice |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Three time |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - More than 3 times |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 | How much time you spent in minutes to go to water source and to come back? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Less than 5 min - 5 min |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - 5-30 min - More than 30 min |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11 | How long is the average waiting time at the water source? (in minutes) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Less than 10 min - 10 to 30 min |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - 30 to 60 min - More than 60 min |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12 | Who is responsible to collect water in your household? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Mother - Daughter |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Father - Son - All |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - choice 1&2 - choice 2&4 - choice 1,2&3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 13 | Is there a separate container for drinking and other water in your home? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Yes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - No |  |  |  |  |  |  |  |  |  |
| 14 | Is there any of drinking water and your hand when you take water from container? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Yes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - No |  |  |  |  |  |  |  |  |  |
| 15 | What is an instrument (container) that commonly used to carry water from source to home? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Pot - Bucket |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Jerry can - Other |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - choice 2&3 - choice 1&3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 16 | How often do you clean your water collecting container? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Daily - Weakly |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - When it is unclean - I never clean |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 17 | Do you use any chemical treatment in your home? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Yes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - No |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 18 | Dose the water source become dray? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Yes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - No |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 19 | If your answer for Q18 is yes, when dose it dry? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Winter (Jan-march) - Summer (Jun-August) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Autumn(sep-dec) - Spring (April-June) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 20 | Do you have a latrine? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Yes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - No |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 21 | If the answer for Q20 is yes, what type of latrine facilities do you have? |  |  |  |  |  | - Open pit latrine without closed wall and roof - Pit latrine without closed wall and with roof |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Pit latrine with closed wall and roof |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 22 | If the answer for Q21 is number 1, what is used to cover the roof? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Hay |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Other |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 23 | What Type of materials is used to prepare cover of the latrine? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Wood - Wood and cement |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Slab covered |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 24 | Who is responsible to construct latrine? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Men |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Women - Others |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 25 | If the answer for Q20 is No, where do you go for defecation? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Bush or garden - Neighbor’s latrine |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Other |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 26 | - Is you and your family frequently use the latrine? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Yes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - No |  |  |  |  |  |  |  |  |  |  |  |
| 27 | If your answer is No, why? |  |  |  |  |  |  | - Due to cultural influence - Due to bad smell of the latrine - Not secure for privacy |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Other factors ------------------------ - All - Choice 2&3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 28 | Do you have any satisfaction on your latrine? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Yes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - No |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 29 | If your answer for Q28 is No, why? |  | - Cultural factor - The toilet room is very far from my house - Not proper for sitting - Too smelling |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - No roof - Not cleanable - Choice 1-3 - Choice 3,5&6 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 30 | Is there face and urine on the cover of your latrine? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Yes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - No |  |  |  |  |  |  |  |  |
| 31 | If the answer for Q30 is yes, why is it? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - ------------------------------------------------------------------------ |
| 32 | Is there any bad smell when you are using your latrine? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Yes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - No |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 33 | If your answer for Q32 is Yes, what type of chemicals you are using to overcome the bad smell? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Ash - Common salt - Boiled water |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Some chemicals from market - If any other methods ---------------- - Choice 1-3 - Choice 1&3 - Choice 1&2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Assessment of hygienic behavior of the respondent |
| 34 | How often do you use the latrine? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Always - Some tine |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Not at all |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 35 | If your answer for Q34 is Not at all, where do you defecate? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Inside the bush - Simply on the field |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - If other place ------------------------------------------------------- - Choice 1&2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 36 | When is it important to wash your hands? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Before feeding child - Before preparing food - Before eating |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - After defecating - After defecating and cleaning babies - Other ------------------------ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 37 | Are there any hand washing facilities around the larine? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Yes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - No |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 38 | Are the hand washing facilities contain water? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Yes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - No |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 39 | If your answer for Q37 is yes, what type of cleaning agents you are using? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Sop - Ash |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Other cleaning agents - Water only - Nothing is used |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 40 | How do you manage feces of children? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - I simply through outside the compound - I put it to the latrine |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - I never manage it |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Sustainability of the water supply system |
| 1 | Who is operating and managing the water supply scheme in your community? (multiple responses is possible) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Donor agency - Government office - Water committee representing the community |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Joint management that involve governments agency and community - Joint management that involve donor agency and community - Other --------------------------- |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | Do the water committee members given adequate technical and capacity building training in order to enable them operate and manage the water supply system? | - Yes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - No |  |  |
| 3 | If your answer for Q 2 is no, why? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ---------------------------------------------------------------------- |
| 4 | If your answer for Q 2 is Yes, what type of training has been given to you? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Schemes management training - Financial management training - O&M training |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - All training - Other ----------------- |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 | What to be done in order to ensure reliability of the water supply systems? (multiple response is possible) |
|  | - Availability of spare parts needs to be ensured for the system remains functional - Local skills should be in place in order to operate and maintain water system - Technical and capacity building training need to be in place for those community members who manage the water system - Scale up community members participation in the management and governance of the water supply scheme - Other specify.....……………….................................... |
| 6 | Who is responsible for maintenance of the source? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Water office - Water committee |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - NGOs - Both 1&2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - All |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7 | Who is more responsible for water schemes money? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Men |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Women |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8 | Your answer for Q 7 is one of the two, why is it? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 1.------------------------------------ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9 | As a committee member, what is your responsibility to sustain the water schemes? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - ------------------------------------------------------------------------- |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 | What do you do as a community member in order to enable the water supply schemes be Sustainable? (multiple responses is possible) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Labor contribution during maintenance - Paying service fee in time and cash contribution 3. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Actively Participate in discussion on water scheme issues - Other ------------- |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 | How do you practice cost sharing for operation and management of the water supply scheme? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Annual contribution - Monthly contribution - Pay as per water supply |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - By labor - Local materials - Ideas - Other ------------ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11 | How is the functionality of your water supply system in terms of water availability and seasonal fluctuations? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Well functioned - Non functional |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Functional with some breakage - No enough yield - Other ------------- |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12 | Have Zonal and woreda water offices given you some sorts of support for your water supply scheme? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Yes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - No |  |  |
| 13 | If your answer for Q 12 is yes, what are those supports? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Technical supports - Financial supports for O&M - Capacity building training |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Spare parts support - Others --------------------------------------- |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 14 | What are the type of water supply schemes are more sustainable? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Borehole - Shallow well |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Hand dag well - Rain water harvesting |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 15 | Who will choose the type of water schemes for you? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Water office - Community |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Both - NGO’s - Others -------------- |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 16 | Is there any legal document that supports you to administer your water schemes? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Yes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - No |  |  |  |  |  |  |  |  |  |  |  |
| 17 | If your answer for Q 16 is Yes, what are those? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - WaSHCoo legalization Doc - By law - There is no any documents |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Others ------------ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 18 | In your understanding, what is the importance of women participation in water committee |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Women are more responsible than men - Women are more affected than men for water problem |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - I don’t know any thing - Others ------------------------- |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Observation check list |
| Name of the person who filled the form |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Date |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | Woreda |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 2 |  |  |  |  | Kebele |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 | Specific location name of the water point/source |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 | GPS coordination of the water point/source |  |  |  |  |  |  |  |  |  |  |  |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Y |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Z |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 | Climate | - Woynadega |  |  |  |  |  |  | - Dray woynadega |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Wet woynadega |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Kolla |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 | Water source identification No |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | e.g. 01/02…etc |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7 | What is the current status of the scheme? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Functional |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Non functional |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8 | If the system is non functional, what is the reason? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Electrical problem - Mechanical problem - Both |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Water quality problem - Design problem - Other problem ----------------- |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9 | What is the year of construction of the scheme? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 | Funded by home? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - NGOs |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Government |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11 | How many HH are using the water source? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12 | The actual discharge rate of the scheme (Lit/Sec) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 13 | Is there chlorination program for the scheme? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Yes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - No |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 14 | If your answer for Q 13 is Yes, How many times per year the system is chlorinated? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - 2 times - 4 times |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - 6 times - 12 times |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 15 | How often is this source non functional? |  |  |  |  |  |  |  |  |  | - Once per month - Once per three month - Once per six months |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - In the dry seasons only - If any more ---------------------------------------------- |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 16 | How long will it take for maintenance after the source is non functional |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Less than two month - 3 to 6 months |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - 6 to 12 months - More than a year |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Sanitary surveillance |
| 17 | Is there any stagnant water around the water point |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Yes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - No |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 18 | Is the scheme is well fenced to protect animals from contaminating the source? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Yes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - No |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 19 | Dose the water color change after heavy rain? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Yes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - No |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 20 | Is the scheme guarded? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Yes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - No |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 21 | Is there a pit latrine within 30m from the dug well? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Yes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - No |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 22 | Are there any other sources of pollutions within 10m around the scheme (e.g. industry, animal breeding, cultivation, etc) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Yes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - No |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 23 | Are there any human and animal feces around the water point? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Yes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - No |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 24 | Are there any stagnant water around the water source? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Yes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - No |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Women’s participation on water schemes sustainability |
| 1 | Does the present project source of water help you reduce the amount of time required to fetch water? If so, how much time? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | Are you member of the water committee? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Yes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 2. No |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 3. no committee |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 | How many women you think should be members of total water committee? Circle the number of women. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - One - Two |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Three - Four |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Five - Above 6 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 | Do you think representation of more women in the water committee is good for the society? Why? or why not? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 | What do you think are the reasons that prevent you and other women from participating in the water committee? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 | Have you been given special encouragement to participate in the water committee? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Yes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - No |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7 | If your answer for Q 6 is yes, what are the encouragements? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Questionnaires for Misrak Badewacho Woreda Water and Irrigation Office Key informants |
| 1 | Which of the following water facilities are used by the HHs or community in the area? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Public tap - Protected well - Unprotected well |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Protected spring - Unprotected spring - Other---------------------------- |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | What is the total coverage of potable water supply? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ------------------------- |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 | Are there any significant problems regarding to clean water supply and sanitation? | - Yes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - No |  |  |  |  |  |  |  |
| 4 | If your answer for Q3 is yes, what are the problems? |  |  |  |  |  |  |  |  |  |  |  |  | - Unavailability of ground water - Quantity problem - Quality problem |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Accessibility problem - Others --------------------------------------------- |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 | What are the major activities that you have been taking in your organization to tackle the above mentioned problems? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - ---------------------------------------------------------------------------------------------------------------------------------------------------------------------- |
| 6 | Who is responsible for the construction of the water supply and sanitation facilities |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Community - NGOs - Government |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Others ------------------------------------------------------------------------- |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7 | Are there any NGOs that have been involved in water supply and sanitation program? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Yes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - No |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8 | If your answer is Yes, what is/are their contribution? |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - --------------------------------------------------------------------------------------------------------------------------------- |
| 9 | What is the major problem for break-down or interruption of service of water supply schemes in the woreda? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - --------------------------------------------------------------------------------------------------------------------------------------------------------------------- |
| 10 | What do you suggest to solve the problem of non-functional of the schemes to provide sufficient ware supply in your woreda? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - ------------------------------------------------------------------------------------------------------------------------------------ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11 | Explain the present conditions of clean water supply conditions of the woreda? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - ------------------------------------------------------------------------------ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12 | What do you say about the awareness of the rural community regarding to clean water supply and sanitation? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - --------------------------------------------------------------------------------------------------------------------------------------------- |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 13 | Who is responsible for the maintenance of the broken water and sanitation schemes? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - ---------------------------------------------------------------------------------------------- |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 14 | Do you have appropriate institutional structure in the provision of rural water supply? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Yes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - No |  |  |  |  |  |  |  |  |  |  |
| 15 | Is/are there any new water scheme construction is the in the woreda? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Yes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - No |  |  |  |  |  |  |  |  |  |  |
| 16 | If your answer for Q 15 is Yes, what are they? |  |  |  |  |  |  |  |  |  |  | - ----------------------------------------------------------------------------------------------------------------------------------------------- |
| 17 | How many of the above mentioned schemes are functional and how many are non-functional? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - ------------------------------------------------------------ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - ------------------------------------------------------------------------------- |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 18 | What is the reason that the schemes are non-functional? |  |  |  |  |  |  |  |  |  | - Lack of budget - Lack of spare part |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Lack of community awareness - Due to yield problem |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 19 | Nowadays in your woreda, how many schemes are there? |  |  |  | - Functional ----------------- - Non functional ------------ - Rural coverage-------------% |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Urban coverage --------% - Total coverage ---------% |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | - No of boreholes ------------- Non-functional------------- - No of shallow wells ----------Non-functional------------- - No of hand dag wells ---------Non-functional ------------ - Total No of schemes --------------Total discharge --------------% - No of water point of all ---------------No of non functional-------- |
| 20 | It the available water in your woreda enough to meet the demand? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Yes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - No |  |  |  |  |  |  |  |  |  |  |  |  |
| 21 | If your answer for Q 20 is No, from where the community used water to meet the demand? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - ------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------ |
| 22 | From where animal water supply is? |  |  | 1.-------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------- |
| 23 | Is the existing water for animal is enough for current demand? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Yes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - No |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 24 | If your answer for Q 23 is No, what is your suggestion to overcome the problem of animal water supply and demand? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - ---------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------- |
| 25 | Do your organization perform water quality test for each of the water schemes constructed? | - Yes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - No |  |  |  |  |  |
| 26 | If your answer for Q 25 is Yes, which type of chemical tests have been done by your organization? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Physical test - Chemical test - Bacteriological test |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Fluoride test - Other |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 27 | If your answer for Q 25 is No, what is the reason behind that the water quality test have not been done? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - -------------------------------------------------------------------------------------------------------------------------- |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 28 | Is there any participation of your Organization on construction of HH latrine? | - Yes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - No |  |  |  |  |  |  |
| 29 | If your answer for Q 28 is Yes, what are those? |  |  |  |  |  |  |  |  | - ---------------------------------------------------------------------------------------------------------------------------------------------------- |
| 30 | If your answer for Q 28 is No, what is the reason? |  |  |  |  |  |  |  |  |  |  |  | - ----------------------------------------------------------------------------------------------------------------------------------------------- |
| Questionnaires for Misrak Badewacho Woreda Health Office |
| 1 | What is the total coverage of sanitation facilities in the rural area of Misrak Badewacho? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | How was the awareness of the community on construction of latrine in the rural area? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Poor - Good |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Very good - Excellent |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 | If your answer for question No 2 is poor, why it is? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - ---------------------------------------------------------------------------------------- |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 | What are the more happening water born disease in your woreda? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 | Which water born disease takes the highest position in top ten diseases in your woreda? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 | What type of latrines is most common in rural area of your woreda! |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7 | What is your office responsibility on sanitation facility? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8 | As a health office, did you evaluate the quality of drinking water in rural area of your woreda? | - Yes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - No |  |  |  |
| 9 | If your answer for Q 8 is yes, which quality problem has been investigated? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Physical - Chemical |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Bacteriological - All |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 | If your answer for Q 8 is No, what is the reason? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11 | Haw was the trained of children mortality and water quality in your woreda? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

Appendix B

Population Projection

| Table 1:-Population projection of Misrak Badwacho Woreda by growth rate of 2.9% |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| S/N | kebele name | 2015 Total | 2016 Total | 2017 Total | 2018 Total | 2019 Total | 2020 Total | 2021 Total | 2022 Total | 2023 Total | 2024 Total | 2025 Total |
| 1 | G/Bulgita | 5124 | 5275 | 5430 | 5590 | 5754 | 5924 | 6098 | 6277 | 6462 | 6652 | 6848 |
| 2 | Bulgita | 4403 | 4533 | 4666 | 4803 | 4945 | 5090 | 5240 | 5394 | 5553 | 5716 | 5884 |
| 3 | W/Gere | 6884 | 7087 | 7295 | 7510 | 7731 | 7958 | 8192 | 8433 | 8682 | 8937 | 9200 |
| 4 | Wera lalo | 1000 | 1027 | 1055 | 1083 | 1113 | 1143 | 1173 | 1205 | 1238 | 1271 | 1305 |
| 5 | W/Boshera | 5769 | 5939 | 6113 | 6293 | 6479 | 6669 | 6865 | 7067 | 7275 | 7489 | 7710 |
| 6 | Wera Mazoria | 2323 | 2385.7 | 2450.1 | 2516.3 | 2584.2 | 2654 | 2725.7 | 2799.3 | 2874.8 | 2952.5 | 3032.2 |
| 7 | Bantwosen | 4321 | 4448 | 4579 | 4714 | 4852 | 4995 | 5142 | 5294 | 5449 | 5610 | 5775 |
| 8 | J/kutube | 4642 | 4779 | 4919 | 5064 | 5213 | 5366 | 5524 | 5687 | 5854 | 6026 | 6204 |
| 9 | M/Jarso | 6152 | 6333 | 6519 | 6711 | 6909 | 7112 | 7321 | 7537 | 7758 | 7987 | 8222 |
| 10 | J/Hadena | 4466 | 4597 | 4733 | 4872 | 5015 | 5163 | 5315 | 5471 | 5632 | 5798 | 5968 |
| 11 | 1st Chefa | 4427 | 4557 | 4691 | 4829 | 4972 | 5118 | 5268 | 5423 | 5583 | 5747 | 5916 |
| 12 | 2nd Chefa | 5073 | 5222 | 5376 | 5534 | 5697 | 5865 | 6037 | 6215 | 6398 | 6586 | 6780 |
| 13 | 1st Qeranso | 6275 | 6460 | 6650 | 6845 | 7047 | 7254 | 7468 | 7687 | 7914 | 8146 | 8386 |
| 14 | 2nd Qeranso | 6232 | 6415 | 6604 | 6798 | 6999 | 7204 | 7416 | 7635 | 7859 | 8091 | 8329 |
| 15 | Geera | 5005 | 5152 | 5304 | 5460 | 5621 | 5786 | 5956 | 6131 | 6312 | 6498 | 6689 |
| 16 | Edo | 6154 | 6335 | 6521 | 6713 | 6911 | 7114 | 7324 | 7539 | 7761 | 7989 | 8224 |
| 17 | T/Anbesa | 4424 | 4554 | 4688 | 4826 | 4968 | 5114 | 5265 | 5420 | 5579 | 5743 | 5912 |
| 18 | T/Kokore | 5213 | 5366 | 5524 | 5687 | 5854 | 6026 | 6204 | 6386 | 6574 | 6768 | 6967 |
| 19 | Lenda | 7037 | 7244 | 7457 | 7677 | 7903 | 8135 | 8374 | 8621 | 8875 | 9136 | 9404 |
| 20 | Langeno | 5802 | 5973 | 6148 | 6329 | 6516 | 6707 | 6905 | 7108 | 7317 | 7532 | 7754 |
| 21 | M/Korga | 4669 | 4806 | 4948 | 5093 | 5243 | 5398 | 5556 | 5720 | 5888 | 6061 | 6240 |
| 22 | Abuka | 5651 | 5817 | 5988 | 6165 | 6346 | 6533 | 6725 | 6923 | 7127 | 7336 | 7552 |
| 23 | Woldeya | 4645 | 4782 | 4922 | 5067 | 5216 | 5370 | 5528 | 5690 | 5858 | 6030 | 6208 |
| 24 | Korga Bashilo | 5357 | 5515 | 5677 | 5844 | 6016 | 6193 | 6375 | 6563 | 6756 | 6955 | 7159 |
| 25 | Kumudo | 2731 | 2811 | 2894 | 2979 | 3067 | 3157 | 3250 | 3346 | 3444 | 3545 | 3650 |
| 26 | Amburse Anjulo | 4934 | 5079 | 5229 | 5382 | 5541 | 5704 | 5872 | 6045 | 6222 | 6405 | 6594 |
| 27 | 1st Amburse | 6204 | 6387 | 6574 | 6768 | 6967 | 7172 | 7383 | 7600 | 7824 | 8054 | 8291 |
| 28 | Lakole | 5015 | 5163 | 5314 | 5471 | 5632 | 5798 | 5968 | 6144 | 6325 | 6511 | 6702 |
| 29 | A/Borara | 5473 | 5634 | 5800 | 5970 | 6146 | 6327 | 6513 | 6705 | 6902 | 7105 | 7314 |
| 30 | A/Elele | 3043 | 3133 | 3225 | 3320 | 3417 | 3518 | 3621 | 3728 | 3838 | 3951 | 4067 |
| 31 | A/Chelfo | 3928 | 4044 | 4163 | 4285 | 4411 | 4541 | 4675 | 4812 | 4954 | 5099 | 5249 |
| 32 | D/Bonkoya | 5689 | 5856 | 6029 | 6206 | 6389 | 6577 | 6770 | 6969 | 7175 | 7386 | 7603 |
| 33 | Sh/Gaferso | 7680 | 7911.3 | 8149.9 | 8395.7 | 8648.8 | 8910 | 9178.3 | 9454.7 | 9740.2 | 10034 | 10336 |
| 34 | Tilo Kubedimtu | 7516 | 7737 | 7965 | 8199 | 8440 | 8689 | 8944 | 9208 | 9479 | 9757 | 10045 |
| 35 | Awarkasa | 5619 | 5784 | 5955 | 6130 | 6310 | 6496 | 6687 | 6884 | 7086 | 7295 | 7509 |
| 36 | W/Bonkoya | 9170 | 9442 | 9722.3 | 10011 | 10309 | 10615 | 10930 | 11254 | 11588 | 11932 | 12286 |
| Total |  | 188050 | 193583 | 199277 | 205140 | 211181 | 217394 | 223788 | 230375 | 237156 | 244130 | 251314 |

Appendix C

Respondents Results

Table 1:-Time and distance required fetching clean drinking water

|  | walking distance to fetch clean water |  |  |
| --- | --- | --- | --- |
| S/N | Distance | Frequency | Percent |
| 1 | < 100m | 9 | 10.6 |
| 2 | 101-200m | 7 | 8.2 |
| 3 | 201-1000m | 13 | 15.3 |
| 4 | 1001-1500m | 7 | 8.2 |
| 5 | above 1500m | 49 | 57.6 |
|  | N | 85 | 100.0 |
|  | waiting time to collect clean water from source |  |  |
| S/N | waiting time | Frequency | Percent |
| 1 | Less than 10 min | 10 | 11.8 |
| 2 | 10 to 30 min | 15 | 17.6 |
| 3 | 30 to 60 min | 9 | 10.6 |
| 4 | more than 60 min | 51 | 60.0 |
|  | N | 85 | 100.0 |
|  | Walking time to collect clean water from source |  |  |
| S/N | Travel time | Frequency | Percent |
| 1 | less than 5 min | 6 | 7.06 |
| 2 | 5 min | 10 | 11.76 |
| 3 | 5-30 min | 15 | 17.65 |
| 4 | more than 30 min | 54 | 63.53 |
|  | Total | 85 | 100.0 |

| Table 2:-Level of customers satisfaction on Both quantity and quality of water supply in the study area |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Water user satisfaction on quantity of supply |  |  |  |  |  |  |  |
| S/N |  | water user satisfaction on quantity |  | Frequency |  | Percent |  |
| 1 |  | Yes |  | 30 |  | 35.3 |  |
| 2 |  | No |  | 55 |  | 64.7 |  |
|  |  | Total |  | 85 |  | 100.0 |  |
| Reason for un-satisfaction on quantity of water supply |  |  |  |  |  |  |  |
| S/N |  |  |  | Frequency |  | Percent |  |
| 1 |  | Low reliability of the scheme |  | 4 |  | 4.7 |  |
| 2 |  | Low quantity of the water |  | 1 |  | 1.2 |  |
| 3 |  | Long distance to the scheme |  | 29 |  | 34.1 |  |
| 4 |  | The source is non-functional |  | 1 |  | 1.2 |  |
| 5 |  | The source is not maintained |  | 1 |  | 1.2 |  |
| 6 |  | choice 1,2,3 |  | 14 |  | 16.5 |  |
| 7 |  | choice 2,3 |  | 3 |  | 3.5 |  |
| 8 |  | Long distance to the scheme, The source is non functional and not maintained |  | 2 |  | 2.4 |  |
|  |  | sub Total |  | 55 |  | 64.7 |  |
| 9 |  | satisfied on all |  | 30 |  | 35.3 |  |
| Total |  |  |  | 85 |  | 100.0 |  |
| customers satisfaction level on quality of water supply in the study area |  |  |  |  |  |  |  |
| S/N |  |  |  | Frequency |  | Percent |  |
| 1 |  | Yes |  | 51 |  | 60.0 |  |
| 2 |  | No |  | 34 |  | 40.0 |  |
|  |  | Total |  | 85 |  | 100.0 |  |
| Reason for customers un-satisfaction on water supply quality |  |  |  |  |  |  |  |
| S/N |  | reason of un-satisfaction |  | Frequency |  | Percent |  |
| 1 |  | The source is salty |  | 1 |  | 1.2 |  |
| 2 |  | The source is muddy |  | 14 |  | 16.5 |  |
| 3 |  | The source is too hard/ soft to wash |  | 3 |  | 3.5 |  |
| 4 |  | The source is both muddy and has bad smell |  | 2 |  | 2.4 |  |
| 5 |  | The source is muddy and warm and change tooth color |  | 14 |  | 16.5 |  |
|  |  | sub Total |  | 34 |  | 40.0 |  |
| 6 |  | satisfied on quality of water |  | 51 |  | 60.0 |  |
| Total |  |  |  | 85 |  | 100.0 |  |
| frequency of traveling to water source |  |  |  |  |  |  |  |
| S/N |  |  |  | Frequency |  | Percent |  |
| 1 |  | Once |  | 40 |  | 47.1 |  |
| 2 |  | Twice |  | 35 |  | 41.2 |  |
| 3 |  | three time |  | 6 |  | 7.1 |  |
| 4 |  | more than three time |  | 4 |  | 4.7 |  |
|  |  | Total |  | 85 |  | 100.0 |  |

| Table 4:-Type of latrine and materials used to construct |  |  |  |
| --- | --- | --- | --- |
| WSSRI20 |  |  |  |
| Q20 |  | Frequency | Percent |
| Do you have a latrine? | Yes | 81 | 95.3 |
|  | No | 4 | 4.7 |
|  | Total | 85 | 100.0 |
| Q21 |  | Frequency | Percent |
| If the answer for Q20 is yes, what type of latrine facilities do you have? |  | 4 | 4.7 |
|  | Open pit latrine without closed wall and roof | 8 | 9.4 |
|  | Pit latrine without closed wall and with roof | 60 | 70.6 |
|  | Pit latrine with closed wall and roof | 13 | 15.3 |
|  | Total | 85 | 100.0 |
| Q22 |  | Frequency | Percent |
| If the answer for Q21 is number 1, what is used to cover the roof? |  | 12 | 14.1 |
|  | Hay | 6 | 7.1 |
|  | Other | 67 | 78.8 |
|  | Total | 85 | 100.0 |
| WSSRI23 |  |  |  |
| Q23 |  | Frequency | Percent |
| What Type of materials is used to prepare cover of the latrine? |  | 4 | 4.7 |
|  | Wood | 59 | 69.4 |
|  | Wood and Cement | 10 | 11.8 |
|  | slab covered | 12 | 14.1 |
|  | Total | 85 | 100.0 |
| Q24 |  | Frequency | Percent |
| Who is responsible to construct latrine? |  | 4 | 4.7 |
|  | Men | 76 | 89.4 |
|  | Women | 5 | 5.9 |
|  | Total | 85 | 100.0 |
| WSSRI25 |  |  |  |
| Q25 |  | Frequency | Percent |
| If the answer for Q20 is No, where do you go for defecation? |  | 81 | 95.3 |
|  | Bush or garden | 2 | 2.4 |
|  | Neighbor’s latrine | 1 | 1.2 |
|  | Bush or Garden and neibor's latrine | 1 | 1.2 |
|  | Total | 85 | 100.0 |
| Table 5:- Habits of using pit latrine. WSSRI26. Frequency; Percent. Is you and your family frequently use the latrine?; 4; 4.7. Yes; 55; 64.7. No; 26; 30.6. Total; 85; 100.0. WSSRI27. Frequency; Percent. If your answer is No, why?; 59; 69.4. Due to bad smell of the latrine; 1; 1.2. Not secure for privacy; 21; 24.7. choice 1,2, & 3; 2; 2.4. choice 2 & 3; 2; 2.4. Total; 85; 100.0. WSSRI28. Frequency; Percent. Do you have any satisfaction on your latrine?; 4; 4.7. Yes; 54; 63.5. No; 27; 31.8. Total; 85; 100.0. WSSRI29. Frequency; Percent. If your answer for Q28 is No, why?; 56; 65.9. Cultural factor; 1; 1.2. Not proper for sitting; 10; 11.8. Too smelling; 1; 1.2. Not cleanable; 9; 10.6. choice 1-3; 2; 2.4. choice 3, 5 & 6; 6; 7.1. Total; 85; 100.0. WSSRI30. Frequency; Percent. Is there face and urine on the cover of your latrine?; 4; 4.7. Yes; 36; 42.35. No; 45; 52.9. Total; 85; 100.0. WSSRI31. Frequency; Percent. If the answer for Q30 is yes, why is it?; 49; 57.6471. improper for cleaning; 36; 42.35. Total; 85; 100. WSSRI32. Frequency; Percent. Is there any bad smell when you are using your latrine?; 4; 4.7. Yes; 67; 78.8. No; 14; 16.5. Total; 85; 100.0. WSSRI33. Frequency; Percent. If your answer for Q32 is Yes, what type of chemicals you are using to overcome the bad smell?; 16; 18.8. Ash; 54; 63.5. Common salt; 1; 1.2. Boiled water; 1; 1.2. if any other methods; 1; 1.2. choice 1,2,3; 3; 3.5. choice 1 &3; 4; 4.7. 1 & 2; 5; 5.9. Total; 85; 100.0. |

| Table 6:- Hand washing practice in the study area |  |  |  |
| --- | --- | --- | --- |
| WSSRI36 |  |  |  |
| S/N |  | Frequency | Percent |
| When is it important to wash your hands? | Before feeding child | 0 | 0.0 |
|  | Before preparing food | 0 | 0.0 |
|  | Before eating | 12 | 14.1 |
|  | After defecating | 7 | 8.2 |
|  | After defecating and cleaning babies | 0 | 0.0 |
|  | Choice 1-5 | 35 | 41.2 |
|  | choice 1,2 & 3 | 7 | 8.2 |
|  | choice 3 &4 | 24 | 28.2 |
|  | Total | 85 | 100.0 |
| WSSRI37 |  |  |  |
|  |  | Frequency | Percent |
|  |  | 4 | 4.7 |
| Are there any hand washing facilities around the larine? | Yes | 25 | 29.4 |
|  | No | 56 | 65.9 |
|  | Total | 85 | 100.0 |
| WSSRI38 |  |  |  |
|  |  | Frequency | Percent |
| Are the hand washing facilities contain water? | Yes | 23 | 27.1 |
|  | No | 62 | 72.9 |
|  | Total | 85 | 100.0 |
| WSSRI39 |  |  |  |
|  |  | Frequency | Percent |
| If your answer for Q37 is yes, what type of cleaning agents you are using? |  | 62 | 72.9 |
|  | Sop | 5 | 5.9 |
|  | Ash | 5 | 5.9 |
|  | sop and ash | 13 | 15.3 |
|  | Total | 85 | 100.0 |

| Table 7:- Household water use habit |  |  |  |  |
| --- | --- | --- | --- | --- |
|  |  |  | Frequency | Percent |
| WSSRI13 | Is there a separate container for drinking and other water in your home? | Yes | 39 | 45.9 |
|  |  | No | 46 | 54.1 |
|  |  | Total | 85 | 100.0 |
|  |  |  | Frequency | Percent |
| WSSRI14 | Is there any of drinking water and your hand contact when you take water from container? | Yes | 26 | 30.6 |
|  |  | No | 59 | 69.4 |
|  |  | Total | 85 | 100.0 |
|  |  |  | Frequency | Percent |
| WSSRI17 | Do you use any chemical treatment in your home? | Yes | 31 | 36.5 |
|  |  | No | 54 | 63.5 |
|  |  | Total | 85 | 100.0 |

Table 8:- Per capita water consumption

| Name of kebele | n | Average | minimum | maximum | Stdev |
| --- | --- | --- | --- | --- | --- |
| Ajeba Borara | 17 | 6.41 | 2.56 | 10.26 | 3.01 |
| 1st Amburse | 20 | 5.45 | 2.56 | 7.69 | 2.19 |
| Jarso Kutube | 15 | 5.45 | 2.56 | 7.69 | 2.19 |
| Weramo Bonkoya | 33 | 4.70 | 2.56 | 6.41 | 1.96 |
| Total | 85 | 5.97 | 2.56 | 8.97 | 1.06 |

| Table 9:-water schemes Contributions of community in the study area |  |  |
| --- | --- | --- |
| What do you do as a community member in order to enable the water supply schemes be Sustainable? (multiple responses is possible) |  |  |
|  | Frequency | Percent |
| all contributions | 1 | 10.0 |
| Labor and cash contribution | 4 | 40.0 |
| Labor, cash contribution and active participations | 4 | 40.0 |
| Labor and active participations | 1 | 10.0 |
| Total | 10 | 100.0 |
| How do you practice cost sharing for operation and management of the water supply scheme? |  |  |
|  | Frequency | Percent |
| all contributions | 2 | 20.0 |
| Annual and pay as per the water service contributions | 3 | 30.0 |
| Annual, monthly contributions and | 5 | 50.0 |
| Total | 10 | 100.0 |
| Do the water committee members given adequate technical and capacity building training in order to enable them operate and manage the water supply system? |  |  |
|  | Frequency | Percent |
| Yes | 5 | 50.0 |
| No | 5 | 50.0 |
| Total | 10 | 100.0 |
| Who is more responsible for water schemes money? |  |  |
|  | Frequency | Percent |
| Men | 1 | 10.0 |
| Women | 9 | 90.0 |
| Total | 10 | 100.0 |

Table10:- Age distribution of the respondents

| Age distribution of the respondents |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Age | Total | Male | Female | Percent | Average HH | Mean of respondent age | standard deviation |
| 25-29 | 16 | 14 | 2 | 18.8 | 7.8 | 44.612 | 11.711 |
| 30-34 | 6 | 5 | 1 | 7.1 |  |  |  |
| 35-39 | 16 | 12 | 4 | 18.8 |  |  |  |
| 40-44 | 11 | 8 | 3 | 12.9 |  |  |  |
| 45-49 | 13 | 7 | 6 | 15.3 |  |  |  |
| 50-54 | 9 | 7 | 2 | 10.6 |  |  |  |
| 55-59 | 5 | 3 | 2 | 5.9 |  |  |  |
| 60-64 | 5 | 3 | 2 | 5.9 |  |  |  |
| 65-69 | 2 | 2 | 0 | 2.4 |  |  |  |
| 70+ | 2 | 0 | 2 | 2.4 |  |  |  |
| Total | 85 | 62 | 23 | 100 |  |  |  |

Table 11  Occupations of the respondent

| Occupations of the respondent |  |  |
| --- | --- | --- |
|  | Frequency | Percent |
| Farming | 65 | 76.5 |
| Small scale business | 2 | 2.4 |
| Gov't employ | 6 | 7.1 |
| Both Farming and small scale business | 3 | 3.5 |
| Both farming and privet work | 7 | 8.2 |
| Both Farming & Gov't employ | 2 | 2.4 |
| Total (N) | 85 | 100.0 |

Table 12 Educational background of respondents

|  | Frequency | Percent |
| --- | --- | --- |
| Primary | 32 | 37.6 |
| Secondary | 7 | 8.2 |
| Higher level | 9 | 10.6 |
| Non formal education | 14 | 16.5 |
| No educational background | 23 | 27.1 |
| Total (N) | 85 | 100.0 |

Table:-13 physical conditions of water schemes in the study area at sample points

| What is the current status of the scheme? |  |  |
| --- | --- | --- |
|  | Frequency | Percent |
| Functional | 9 | 90.0 |
| Non fictional | 1 | 10.0 |
| Total | 10 | 100.0 |
| Is the scheme is well fenced to protect animals from contaminating the source? |  |  |
|  | Frequency | Percent |
| Yes | 7 | 70.0 |
| No | 3 | 30.0 |
| Total | 10 | 100.0 |
| Is the scheme guarded? |  |  |
|  | Frequency | Percent |
| Yes | 9 | 90.0 |
| No | 1 | 10.0 |
| Total | 10 | 100.0 |
| Are the fences with door? |  |  |
|  | Frequency | Percent |
| Yes | 2 | 28.6 |
| No | 5 | 71.4 |
| Total | 7 | 100.0 |

Table:-14 community contribution and spare part cost balance for hand pump

| S/N | Activities | Monthly and Yearly contribution in different Years in birr |  |  | Av Beneficiary in HH |  | Increment from 2002-2005 E.C | Increment from 2003-2008 E.C |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 2002 E.C | 2005 E.C | 2008 E.C |  |  |  |  |
| 1 | Monthly contribution | 4 | 5 | 7 | 48 |  | 125.00% | 175.00% |
| 2 | Yearly contribution | 0 | 0 | 10 | 48 |  | 0 |  |
|  |  | Spare part Cost increase in birr |  |  |  |  |  |  |
| 1 | U-cell (2 per year) | 64 | 76 | 130 |  |  | 118.75 | 203.13 |
| 2 | O-ring (2 per year) | 50 | 60 | 110 |  |  | 120.00 | 220.00 |
| 3 | Bush baring (2 per year) | 64 | 76 | 130 |  |  | 118.75 | 203.13 |
| 4 | Rod | 70 | 90 | 210 |  |  | 128.57 | 300.00 |
| 5 | PVC | 150 | 180 | 310 |  |  | 120.00 | 206.67 |
| 6 | gurd monthly salery | 360 | 600 | 1200 |  |  | 166.67 | 333.33 |
| 7 | Yearly transportation cost | 70 | 100 | 160 |  |  | 142.86 | 228.57 |
| Total cost for spare part |  | 828 | 1182 | 2250 |  |  | 142.75 | 271.74 |
|  | Spare part quality and service Year |  |  |  |  |  |  |  |
|  | Quality | V. Good | Good | Poor |  |  |  |  |
|  | service year | V. Good | Good | Poor |  |  |  |  |

Table 10:- Top ten diseases for Misrak Badwacho Woreda

| Observation check list |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Name of the person who filled the form |  |  |  |  |  |  |  |  |  |  |  |  |  | Date |  |  | Very good | Good | Satisfactory | Poor |
|  | Woreda |  |  |  |  |  |  |  | 2 |  | Kebele |  |  |  |  |  |  |  |  |  |
|  | GPS coordination of the water point/source |  |  | X |  | Y |  | Z |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Climate | - Woynadega | - Dray woynadega - Wet woynadega |  |  |  |  |  |  | - Kolla |  |  |  |  |  |  |  |  |  |  |
|  | What is the current status of the scheme? |  |  |  | - Functional |  |  |  |  |  | - Non functional |  |  |  |  |  |  |  |  |  |
| Sanitary surveillance |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  | No |  |  |  |  |  |
| 1 | Is there any stagnant water around the water point |  |  |  |  |  |  |  |  |  |  | 4 |  |  | 6 |  |  |  |  |  |
| 2 | Is the scheme well fenced to protect animals from contaminating the source? |  |  |  |  |  |  |  |  |  |  | 8 |  |  | 2 |  |  |  |  |  |
| 3 | Is there any water color change after heavy rain? |  |  |  |  |  |  |  |  |  |  | 4 |  |  | 6 |  |  |  |  |  |
| 4 | Is the scheme guarded? |  |  |  |  |  |  |  |  |  |  | 9 |  |  | 1 |  |  |  |  |  |
| 5 | Is there a pit latrine within 30m from the dug well? |  |  |  |  |  |  |  |  |  |  | 1 |  |  | 9 |  |  |  |  |  |
| 6 | Are there any other sources of pollutions within 10m around the scheme (e.g. industry, animal breeding, cultivation, etc) |  |  |  |  |  |  |  |  |  |  | 4 |  |  | 6 |  |  |  |  |  |
| 7 | Are there any human and animal feces around the water point? |  |  |  |  |  |  |  |  |  |  | 10 |  |  | 0 |  |  |  |  |  |
| 8 | Is there any stagnant water around the water source? |  |  |  |  |  |  |  |  |  |  | 4 |  |  | 6 |  |  |  |  |  |

Table:- 15

| Livestock’s population growth rate trend |  |  |  |  | Live stock's population projection |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Year | Live stock Name | Population | Growth rate |  | Year | Live stock Name | Population |
| 2010 | Cow and Oxen | 60021 | 2.72 |  | 2016 | Cow and Oxen | 71247 |
|  | Sheep and Goats | 40623 | 2.67 |  |  | Sheep and Goats | 48120 |
|  | Horse, Mules and donkey | 1316 | 2.65 |  |  | Horce, Mules and donkey | 1551 |
|  | Total | 101961 | 2.68 |  |  | Total | 120874 |
| 2011 | Cow and Oxen | 61726 | 2.84 |  | 2017 | Cow and Oxen | 73294 |
|  | Sheep and Goats | 41757 | 2.79 |  |  | Sheep and Goats | 49484 |
|  | Horce, Mules and donkey | 1352 | 2.71 |  |  | Horce, Mules and donkey | 1593 |
|  | Total | 104834 | 2.78 |  |  | Total | 124283 |
| 2012 | Cow and Oxen | 63504 | 2.88 |  | 2018 | Cow and Oxen | 75398 |
|  | Sheep and Goats | 42947 | 2.85 |  |  | Sheep and Goats | 50889 |
|  | Horce, Mules and donkey | 1390 | 2.82 |  |  | Horce, Mules and donkey | 1637 |
|  | Total | 107840 | 2.85 |  |  | Total | 127788 |
| 2013 | Cow and Oxen | 65383 | 2.96 |  | 2019 | Cow and Oxen | 77562 |
|  | Sheep and Goats | 44201 | 2.92 |  |  | Sheep and Goats | 52334 |
|  | Horce, Mules and donkey | 1429 | 2.82 |  |  | Horce, Mules and donkey | 1682 |
|  | Total | 111013 | 2.9 |  |  | Total | 131391 |
| 2014 | Cow and Oxen | 67325 | 2.97 |  | 2020 | Cow and Oxen | 79788 |
|  | Sheep and Goats | 45496 | 2.93 |  |  | Sheep and Goats | 53821 |
|  | Horce, Mules and donkey | 1468 | 2.74 |  |  | Horce, Mules and donkey | 1728 |
|  | Total | 114289 | 2.88 |  |  | Total | 135096 |
| 2015 | Cow and Oxen | 69257 | 2.87 |  | 2021 | Cow and Oxen | 82078 |
|  | Sheep and Goats | 46793 | 2.85 |  |  | Sheep and Goats | 55349 |
|  | Horce, Mules and donkey | 1509 | 2.77 |  |  | Horce, Mules and donkey | 1776 |
|  | Total | 117559 | 2.83 |  |  | Total | 138906 |
|  | Cow and Oxen | Average growth rate | 2.87 |  | 2022 | Cow and Oxen | 84433 |
|  | Sheep and Goats |  | 2.84 |  |  | Sheep and Goats | 56921 |
|  | Horce, Mules and donkey |  | 2.75 |  |  | Horce, Mules and donkey | 1825 |
|  | Total |  | 2.82 |  |  | Total | 142823 |
|  |  |  |  |  | 2023 | Cow and Oxen | 86856 |
|  |  |  |  |  |  | Sheep and Goats | 58538 |
|  |  |  |  |  |  | Horce, Mules and donkey | 1875 |
|  |  |  |  |  |  | Total | 146851 |
|  |  |  |  |  | 2024 | Cow and Oxen | 89349 |
|  |  |  |  |  |  | Sheep and Goats | 60200 |
|  |  |  |  |  |  | Horce, Mules and donkey | 1926 |
|  |  |  |  |  |  | Total | 150992 |
|  |  |  |  |  | 2025 | Cow and Oxen | 91913 |
|  |  |  |  |  |  | Sheep and Goats | 61910 |
|  |  |  |  |  |  | Horce, Mules and donkey | 1979 |
|  |  |  |  |  |  | Total | 155250 |

Table 16:-livestock’s population growth

| Live stock's water demand analysis |  |  |  |  |
| --- | --- | --- | --- | --- |
| Year | Live stock Name | Livestock's Population | Water demand in L/LS/day | Total water Demand in M3 |
| 2015 | Total Livestock's | 117559 | 20.83 | 2449 |
| 2016 | Total Livestock's | 120874 | 20.83 | 2518 |
| 2017 | Total Livestock's | 124283 | 20.83 | 2589 |
| 2018 | Total Livestock's | 127788 | 20.83 | 2662 |
| 2019 | Total Livestock's | 131391 | 20.83 | 2737 |
| 2020 | Total Livestock's | 135096 | 20.83 | 2814 |
| 2021 | Total Livestock's | 138906 | 20.83 | 2893 |
| 2022 | Total Livestock's | 142823 | 20.83 | 2975 |
| 2023 | Total Livestock's | 146851 | 20.83 | 3059 |
| 2024 | Total Livestock's | 150992 | 20.83 | 3145 |
| 2025 | Total Livestock's | 155250 | 20.83 | 3234 |

Table:-17

Table 11:- distribution of water schemes and water point in the Misrak Badawacho Woreda (WWIDO, 2015)

| s/n | KebeleName | SiteName | GPSx | GPSy | GPSz | Ty pe | Functionality | Estimated No HH users | EstimatedNoofHHusersin15KM | Yield Litrespersecond | Year of const | Remark |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1st AMBURSE | SHAKILA SERATGNOCH | 386744 | 790163 | 1963 | 4 | 1 | 38 | 38 | 0.36 | 1992 | WP 02 |
| 2 | 1st AMBURSE | ABABA TSEGAYE BERAF | 386520 | 790135 | 1970 | 4 | 1 | 196 | 196 | 0.35 | 1992 | WP 01 |
| 3 | 1st AMBURSE | MESAFERA | 386811 | 791308 | 1970 | 4 | 1 | 222 | 206 | 0.38 | 1992 | WP 03 |
| 4 | 1st AMBURSE | SENA | 387799 | 791394 | 1920 | 4 | 1 | 352 | 256 | 0.46 | 1992 | WP 04 |
| 5 | 1st CHEFA | SCHOOL COMP | 391985 | 796825 | 1781 | 4 | 1 | 527 | 316 | 3.8 | 1995 |  |
| 6 | 1st KERANSO | SEFATO | 397470 | 799399 | 1734 | 4 | 2 |  | 0 | 5.6 | 1998 | WAIT WELL |
| 7 | 1st KERANSO | MEHAL WISHIRA | 393972 | 800812 | 1775 | 4 | 2 |  |  | 0 | 1998 | wp1 |
| 8 | 1st KERANSO | MANDER 1 | 394080 | 799233 | 1786 | 4 | 2 |  |  | 0 | 1998 | WP1 |
| 9 | 1st KERANSO | ARADO | 394663 | 798953 | 1774 | 4 | 2 |  |  | 0 | 1998 | WP3 |
| 10 | 2nd KERANSO | BILATE | 399228 | 799669 | 1714 | 4 | 2 |  | 0 | 0 | 1992 | PAMP |
| 11 | 2nd KERANSO | SAFATO | 397476 | 799398 | 1732 | 4 | 2 |  |  | 0 | 1992 | WP |
| 12 | ABUKA | KEBELE TSE BET | 391770 | 788490 | 1733 | 4 | 1 | 704 | 400 | 4 | 1998 | ONSPOT |
| 13 | AJEBA BORARA | BORARA | 380210 | 795207 | 2017 | 4 | 1 | 422 | 369 | 0.3 | 1995 | PAMP & WP1 |
| 14 | AJEBA BORARA | BANTE ALATE | 380532 | 794429 | 1974 | 4 | 1 | 474 | 316 | 0.143 | 1995 | WP-2 |
| 15 | AJEBA CHALFO | LIBIDO SEFAR | 380156 | 792160 | 1946 | 3 | 1 | 84 | 69 | 0.33 | 1999 |  |
| 16 | AJEBA CHALFO | BADE MERA | 379760 | 791705 | 1942 | 3 | 1 | 94 | 74 | 0.25 | 1999 |  |
| 17 | AJEBA CHALFO | CHALFO | 379372 | 792517 | 1959 | 3 | 1 | 64 | 49 | 0.23 | 1999 |  |
| 18 | AJEBA ELELE | DALKESA | 378968 | 793275 | 1975 | 1 | 2 |  |  | 0 | 1986 |  |
| 19 | AJEBA ELELE | MULUWONGEL | 378210 | 792141 | 1947 | 3 | 2 |  |  | 0 | 1998 |  |
| 20 | AJEBA ELELE | ELELE | 379041 | 791632 | 1934 | 3 | 1 | 74 | 64 | 0.35 | 1998 |  |
| 21 | AN/ ANJULO | SCHOOL COMp | 387151 | 789353 | 1932 | 4 | 1 | 158 | 148 | 0.12 | 1992 | WP1 |
| 22 | AN/ANJULO | KIFLE BARE | 386616 | 788935 | 1949 | 4 | 1 | 232 | 223 | 0.131 | 1992 | WP2 |
| 23 | AN/ ANJULO | BLILO BARE | 386866 | 788389 | 1929 | 4 | 1 | 145 | 130 | 0.132 | 1992 | WP3 |
| 24 | AN/ANJULO | MEHAL ANDE | 388061 | 788296 | 1923 | 4 | 1 | 190 | 178 | 0.122 | 1992 | wp4 |
| 25 | BULGITA | Lalo | 381978 | 786503 | 1907 | 3 | 1 | 84 | 74 | 0.33 | 2000 |  |
| 26 | BULGITA | suro'o | 382290 | 786929 | 1908 | 3 | 1 | 64 | 54 | 0.23 | 2000 |  |
| 27 | BULGITA | ORGITA | 380514 | 785691 | 1891 | 3 | 1 | 54 | 44 | 0.23 | 1999 |  |
| 28 | BULGITA | SUTA | 379926 | 786963 | 1897 | 3 | 1 | 74 | 54 | 0.31 | 1999 |  |
| 29 | BULGITA | MEHAL BULGITA 2 | 381875 | 786512 | 1903 | 3 | 1 | 84 | 64 | 0.33 | 1986 |  |
| 30 | BULGITA | BULGITA WONZI | 382492 | 788158 | 1922 | 3 | 1 | 84 | 64 | 0.33 | 1999 |  |
| 31 | BULGITA | SUTA | 380539 | 786581 | 1903 | 3 | 1 | 64 | 43 | 0.31 | 1994 |  |
| 32 | BULGITA | SUTA | 380038 | 785814 | 1887 | 1 | 1 | 37 | 27 | 0.167 | 1994 |  |
| 33 | BULGITA | MEHAL BULGITA 1 | 381670 | 787185 | 1920 | 3 | 2 |  |  | 0 | 1996 |  |
| 34 | BULGITA | LALO | 382257 | 786600 | 1909 | 1 | 2 |  |  | 0 | 1999 |  |
| 35 | EDO | WUHA LIMAT | 395367 | 795129 | 1751 | 4 | 1 | 633 | 310 | 3.7 | 1976 | PAMP & WP1 |
| 36 | GEGERA | GOBARE | 398563 | 796185 | 1709 | 4 | 2 | 0 | 0 | 0 | 2001 | PAMP |
| 37 | GEGERA | GOBARE | 398544 | 796202 | 1714 | 4 | 2 |  |  | 0 | 2001 | WP1 |
| 38 | GEGERA | DODA | 396378 | 797209 | 1755 | 4 | 2 |  |  | 0 | 2001 | WP2 |
| 39 | GEGERA | WASHERMENA | 395385 | 797232 | 1756 | 4 | 2 |  |  | 0 | 2001 | WP3 |
| 40 | GERE BULGITA | LMEJA | 380212 | 787955 | 1906 | 3 | 1 | 54 | 52 | 0.31 | 1999 |  |
| 41 | GERE BULGITA | BUSHA | 381024 | 787351 | 1913 | 1 | 2 |  |  | 0 | 1999 |  |
| 42 | GERE BULGITA | BUSHA | 380724 | 788441 | 1910 | 3 | 1 | 94 | 64 | 0.31 | 1999 |  |
| 43 | GERE BULGITA | GERE WONZI | 380244 | 790248 | 1918 | 3 | 1 | 84 | 74 | 0.33 | 1999 |  |
| 44 | GERE BULGITA | GERE | 381099 | 789050 | 1919 | 4 | 2 | 0 | 0 | 0 | 1993 | PAMP |
| 45 | GERE BULGITA | GERE | 381578 | 789093 | 1929 | 4 | 2 |  |  | 0 | 1993 | WP1 |
| 46 | JARSO HADENA | ODA'A | 378383 | 786348 | 1916 | 4 | 1 | 316 | 283 | 6.6 | 1998 | PAMP &WP1 |
| 47 | JARSO HADENA | ODA'A | 377869 | 785195 | 1910 | 3 | 2 |  |  | 0 | 1998 |  |
| 48 | JARSO HADENA | BUSHA | 379515 | 785374 | 1894 | 3 | 1 | 74 | 67 | 0.41 | 1998 |  |
| 49 | JARSO HADENA | ODA'A | 377071 | 785624 | 1914 | 3 | 2 |  |  | 0 | 1998 |  |
| 50 | JARSO HADENA | BAINE | 375617 | 785895 | 1908 | 3 | 1 | 43 | 37 | 0.122 | 1998 |  |
| 51 | JARSO HADENA | LONKA | 377337 | 787718 | 1910 | 3 | 1 | 84 | 64 | 0.33 | 2001 |  |
| 52 | JARSO HADENA | LEMA | 377138 | 786822 | 1914 | 3 | 2 |  |  | 0 | 2001 |  |
| 53 | JARSO HADENA | ALEMAYEHU | 377746 | 786542 | 1916 | 1 | 3 |  |  | 0 | 2003 |  |
| 54 | KENCHERA | BANCHAMO | 385868 | 790065 | 1955 | 4 | 1 | 527 | 293 | 1.11 | 1984 | ONSPOT |
| 55 | KORGA BESHILO | MIRORE SEFAR | 391637 | 783606 | 1707 | 4 | 1 | 212 | 205 | 0.33 | 2001 | WP1 |
| 56 | KORGA BESHILO | ABERA GOT | 391272 | 782367 | 1692 | 4 | 1 | 128 | 107 | 0.23 | 2001 | WP2 |
| 57 | KORGA BESHILO | KEBELE TSI BET | 391100 | 783481 | 1718 | 4 | 1 | 109 | 104 | 0.33 | 2001 | WP3 |
| 58 | KORGA BESHILO | KEBELE TSE BET AKEBABI | 389909 | 782550 | 1688 | 4 | 1 | 139 | 118 | 0.33 | 2001 | WP4 |
| 59 | KORGA BESHILO | GMECHU SEFAR | 390368 | 783003 | 1726 | 4 | 1 | 142 | 130 | 0.123 | 2001 | WP5 |
| 60 | KORGA BESHILO | MIRORE | 391401 | 783225 | 1703 | 4 | 1 | 0 | 0 | 6.2 | 2001 | PAMP |
| 61 | LA/BURKITO | 2ND HATE | 388576 | 787456 | 1920 | 4 | 1 | 104 | 85 | 0.36 | 1992 | WP1 |
| 62 | LA/ BURKITO | 3RD HATE | 387748 | 787206 | 1903 | 4 | 1 | 260 | 188 | 0.21 | 1992 | WP2 |
| 63 | LENDA | KALE HIYWOT | 394635 | 791310 | 1729 | 4 | 1 | 0 | 0 | 4.76 | 1992 | PAMP |
| 64 | LENDA | SHAMEBO | 395655 | 791938 | 1711 | 4 | 1 | 206 | 184 | 0.45 | 1992 | WP1 |
| 65 | LENDA | MEHIYARA | 395952 | 791022 | 1723 | 4 | 1 | 163 | 149 | 0.45 | 1992 | WP2 |
| 66 | LENDA | GENET | 394558 | 791382 | 1717 | 4 | 1 | 430 | 328 | 0.45 | 1992 | WP3 |
| 67 | MEHAL KORGA | HAMUS | 390931 | 784646 | 1745 | 4 | 1 | 633 | 443 | 2.96 | 1972 | PAMP &WP1 |
| 68 | TIKARE ANBESA | WEHA LIMAT | 393499 | 792192 | 1733 | 4 | 1 | 0 | 0 | 3 | 1995 | PAMP |
| 69 | TIKARE ANBESA | WUHA LIMAT | 392555 | 792300 | 1761 | 4 | 1 | 390 | 390 | 0.32 | 1995 | WP1 |
| 70 | TIKARE ANBESA | SCHOOL COMPOUND | 391522 | 792464 | 1760 | 4 | 1 | 401 | 296 | 0.33 | 1995 | WP2 |
| 71 | WERA BOSHERA | DAWE WONZI | 382101 | 792950 | 1976 | 4 | 1 | 0 | 0 | 5 | 1999 | PAMP |
| 72 | WERA BOSHERA | TABE | 382199 | 793847 | 2008 | 4 | 1 | 316 | 260 | 0.33 | 1999 | WP1 |
| 73 | WERA BOSHERA | SALUDE | 382635 | 794754 | 2027 | 4 | 1 | 431 | 265 | 0.32 | 1999 | WP1 |
| 74 | WERA BOSHERA | NUGE | 383138 | 794263 | 2043 | 4 | 1 | 274 | 202 | 0.31 | 1999 | WP3 |
| 75 | WERA BOSHERA | TENA KELA | 383163 | 794835 | 2053 | 4 | 1 | 486 | 403 | 0.32 | 1999 | WP4 |
| 76 | W/ MAZORIYA | MAZORIYA | 384758 | 794176 | 2006 | 4 | 2 |  |  | 0 | 1976 | ONSPOT |
| 77 | WOLDEYA | WUHA LIMAT | 394233 | 786161 | 1681 | 4 | 1 | 422 | 296 | 3.8 | 1995 | ONSPOT |
| 78 | W/BONKOYA | BURA | 397432 | 778754 | 1549 | 4 | 1 | 0 | 0 | 3.5 | 1998 | PAMP |
| 79 | W/BONKOYA | YOHANIS GOT | 399339 | 779844 | 1562 | 4 | 1 | 456 | 316 | 0.66 | 1998 | WP1 |
| 80 | LANGANO | 2nd TOKE | 393972 | 787918 | 1615 | 4 | 1 | 0 | 0 | 2.78 | 1997 | PAMP |
| 81 | LANGANO | 1st TOKE | 394654 | 789191 | 1716 | 4 | 1 | 200 | 182 | 0.33 | 1997 | WP1 |
| 82 | LANGANO | AKUKU | 395575 | 788424 | 1709 | 4 | 1 | 400 | 345 | 0.32 | 1997 | WP2 |
| 83 | WERA LALO | BOTALY GOT | 384060 | 791559 | 1984 | 4 | 1 | 556 | 195 | 3.3 | 1981 | ONSPOT |
| 84 | WERA GERE | GERE WONZI | 381563 | 790459 | 1938 | 3 | 1 | 126 | 85 | 0.266 | 1999 |  |
| 85 | MEHAL JARSO | SCHOOL COMPOUND | 398942 | 788518 | 1933 | 3 | 1 | 49 | 45 | 0.25 | 1999 |  |
| 86 | MEHAL JARSO | LAMEJA | 379272 | 787813 | 1918 | 3 | 1 | 45 | 43 | 0.112 | 1999 |  |
| 87 | MEHAL JARSO | LAGADE | 379935 | 787666 | 1852 | 3 | 1 | 32 | 27 | 0 | 1999 |  |
| 88 | MEHAL JARSO | KFTENA | 377374 | 788924 | 1929 | 3 | 1 | 70 | 70 | 0.32 | 1999 |  |
| 89 | MEHAL JARSO | 3RD HATE | 376664 | 788076 | 1921 | 3 | 1 | 69 | 64 | 0.32 | 1999 |  |
| 90 | MEHAL JARSO | KEBELE TSE BET | 378253 | 787627 | 1923 | 3 | 1 | 96 | 81 | 0.12 | 1999 |  |
| 91 | MEHAL JARSO | ODA'A | 378920 | 786460 | 1918 | 3 | 1 | 68 | 68 | 0.23 | 1999 |  |
| 92 | MEHAL JARSO | BUSHA | 378932 | 785341 | 1897 | 3 | 1 | 76 | 62 | 0.23 | 1999 |  |
| 93 | MEHAL JARSO | ODA'A | 379678 | 787091 | 1900 | 3 | 2 |  |  | 0 | 2001 |  |
| 94 | MEHAL JARSO | BEKELE | 378392 | 788556 | 1924 | 3 | 2 |  |  | 0 | 1999 |  |
| 95 | JARSO KUTUBE | 1st WOLECHA | 379662 | 788524 | 1911 | 3 | 1 | 52 | 34 | 0.33 | 1998 |  |
| 96 | JARSO KUTUBE | MARANCHE | 378727 | 789783 | 1937 | 3 | 1 | 70 | 68 | 0.31 | 1999 |  |
| 97 | JARSO KUTUBE | MERETA | 377696 | 790065 | 1928 | 3 | 1 | 95 | 85 | 0.185 | 1998 |  |
| 98 | JARSO KUTUBE | BODA | 378029 | 791072 | 1918 | 3 | 1 | 101 | 74 | 0.167 | 1999 |  |
| 99 | JARSO KUTUBE | KUKORE | 379165 | 791176 | 1935 | 3 | 1 | 63 | 63 | 0.31 | 2001 |  |
| 100 | JARSO KUTUBE | TENA KELA | 379404 | 790249 | 1939 | 3 | 1 | 32 | 32 | 0.3125 | 2001 |  |
| 101 | JARSO KUTUBE | 2nd WOLECHA | 380141 | 789910 | 1925 | 3 | 1 | 53 | 42 | 0.3125 | 1999 |  |
| 102 | JARSO KUTUBE | 3rd WOLECHA | 380120 | 790771 | 1932 | 3 | 1 | 90 | 64 | 0.167 | 1999 |  |
| 103 | JARSO KUTUBE | MARANCHE | 378208 | 789062 | 1927 | 3 | 1 | 63 | 53 | 0.167 | 1999 |  |
| 104 | JARSO KUTUBE | 1st WOLECHA 2 | 379221 | 789451 | 1934 | 3 | 1 | 56 | 53 | 0.37 | 1992 |  |
| 105 | JARSO KUTUBE | KUKORE | 379526 | 790692 | 1938 | 1 | 1 | 37 | 26 | 0.22 | 1996 |  |
| 106 | JARSO HADENA | SCHOOL | 377630 | 786238 | 1924 | 3 | 1 | 50 | 40 | 0.32 | 2007 |  |
| 107 | JARSO HADENA | got 7 | 378644 | 787352 | 1890 | 3 | 1 | 49 | 41 | 0.312 | 2007 |  |
| 108 | JARSO HADENA | Got 8 | 378251 | 789956 | 1920 | 3 | 1 | 50 | 41 | 0.32 | 2007 |  |
| 109 | JARSO KUTUBE | Got 8 (2) | 378096 | 790414 | 1930 | 3 | 1 | 50 | 43 | 0.32 | 2007 |  |
| 110 | MEHAL JARSO | Got 11 | 372204 | 789432 | 1934 | 3 | 1 | 50 | 41 | 0.32 | 2007 |  |
| 111 | JARSO HADENA | Got-5 | 379772 | 789139 | 1926 | 3 | 1 | 50 | 37 | 0.32 | 2007 |  |
| 112 | JARSO KUTUBE | Got-1 | 379724 | 789139 | 1926 | 3 | 1 | 50 | 47 | 0.34 | 2007 |  |
| 113 | JARSO KUTUBE | Got-5 | 378721 | 790922 | 1929 | 3 | 1 | 50 | 43 | 0.31 | 2007 |  |
| 114 | GERE BULGITA | Got-2 | 380278 | 790706 | 1933 | 3 | 1 | 60 | 50 | 0.34 | 2007 |  |
| 115 | GERE BULGITA | Got-2(1) | 381317 | 790141 | 1948 | 3 | 1 | 60 | 53 | 0.34 | 2007 |  |
| 116 | GERE BULGITA | Got-3 | 380749 | 789787 | 1942 | 3 | 1 | 64 | 49 | 0.42 | 2007 |  |
| 117 | BULGITA | Got-4 | 381695 | 787185 | 1932 | 3 | 1 | 56 | 47 | 0.34 | 2007 |  |
| 118 | BULGITA | Got-10 | 382889 | 786499 | 1929 | 3 | 1 | 56 | 47 | 0.321 | 2007 |  |
| 119 | BULGITA | Got-8 | 383353 | 787089 | 1947 | 3 | 1 | 60 | 57 | 0.35 | 2007 |  |
| 120 | MEHAL JARSO | Got-1 | 379815 | 795645 | 1870 | 3 | 1 | 60 | 56 | 0.32 | 2007 |  |
| 121 | MEHAL JARSO | Got-10 | 377526 | 788061 | 1915 | 3 | 1 | 60 | 47 | 0.32 | 2007 |  |
| 122 | WERA GERE | Got-10 | 382464 | 789813 | 1942 | 3 | 1 | 87 | 80 | 0.32 | 2007 |  |
| 123 | WERA GERE | Got-9 | 381436 | 789763 | 1939 | 3 | 1 | 87 | 80 | 0.341 | 2007 |  |
| 124 | WERA GERE | Got-6 | 381590 | 790886 | 1948 | 3 | 1 | 90 | 80 | 0.34 | 2007 |  |
| 125 | GERE BULGITA | Got-3 | 381156 | 789233 | 1924 | 3 | 1 | 54 | 52 | 0.32 | 2007 |  |
| 126 | GERE BULGITA | Got-8 | 380644 | 788258 | 1914 | 3 | 1 | 60 | 48 | 0.32 | 2007 |  |
| 127 | GERE BULGITA | Got-9 | 381146 | 788893 | 1911 | 3 | 1 | 54 | 47 | 0.32 | 2007 |  |
| 128 | GERE BULGITA | Got-10 | 382617 | 788946 | 1935 | 3 | 1 | 58 | 52 | 0.32 | 2007 |  |
| 129 | GERE BULGITA | Got-2 | 380847 | 790123 | 1951 | 3 | 1 | 57 | 50 | 0.321 | 2007 |  |
| 130 | JARSO HADENA | Got-2 | 376321 | 786724 | 1906 | 3 | 1 | 47 | 47 | 0.321 | 2007 |  |
| 131 | MEHAL JARSO | Got-2 | 374087 | 788452 | 1926 | 3 | 1 | 54 | 50 | 0.32 | 2007 |  |
| 132 | JARSO HADENA | Got-1 | 376593 | 785713 | 1909 | 3 | 1 | 47 | 47 | 0.32 | 2007 |  |
| 133 | MEHAL JARSO | Got-1 | 378368 | 788568 | 1914 | 3 | 1 | 42 | 42 | 0.32 | 2007 |  |
| 134 | JARSO KUTUBE | Got-8(1) | 379182 | 789823 | 1929 | 3 | 1 | 42 | 37 | 0.32 | 2007 |  |
| 135 | JARSO KUTUBE | Got-2 | 380098 | 789368 | 1915 | 3 | 1 | 57 | 57 | 0.32 | 2007 |  |
| 136 | JARSO KUTUBE | Got-8(2) | 378598 | 790481 | 1940 | 3 | 1 | 47 | 47 | 0.32 | 2007 |  |
| 137 | JARSO HADENA | Got-5 | 376813 | 786356 | 1916 | 3 | 1 | 42 | 40 | 0.32 | 2007 |  |
| 138 | MEHAL JARSO | Got-7 | 378345 | 787024 | 1915 | 3 | 1 | 47 | 37 | 0.32 | 2007 |  |
| 139 | GERE BULGITA | Got-4 | 380145 | 788851 | 1916 | 3 | 1 | 56 | 52 | 0.32 | 2007 |  |

Appendix D

Correlations and One way ANOVA

Table:-1

| Table 1:-Correlations of home chemical use for water treatment and educational back ground |  |  |  |
| --- | --- | --- | --- |
|  |  | Home Chemical Use | Educational background |
| Home Chemical Use | Pearson Correlation | 1 | .204 |
|  | Sig. (2-tailed) |  | .062 |
|  | N | 85 | 85 |
| Educational background | Pearson Correlation | .204 | 1 |
|  | Sig. (2-tailed) | .062 |  |
|  | N | 85 | 85 |

Table 2

| Correlations between E-coli and PH of the sample |  |  |  |
| --- | --- | --- | --- |
|  |  | E-coli | PH |
| E-coli | Pearson Correlation | 1 | .728* |
|  | Sig. (2-tailed) |  | .017 |
|  | N | 10 | 10 |
| PH | Pearson Correlation | .728* | 1 |
|  | Sig. (2-tailed) | .017 |  |
|  | N | 10 | 10 |

Table 3

| Correlations between E-coli and residual chlorine |  |  |  |
| --- | --- | --- | --- |
|  |  | E-coli | Residual chlorine |
| E-coli | Pearson Correlation | 1 | .119 |
|  | Sig. (2-tailed) |  | .743 |
|  | N | 10 | 10 |
| Residual chlorine | Pearson Correlation | .119 | 1 |
|  | Sig. (2-tailed) | .743 |  |
|  | N | 10 | 10 |

Table 4

| Correlations between PH and Residual chlorine |  |  |  |
| --- | --- | --- | --- |
|  |  | PH | Residual chlorine |
| PH | Pearson Correlation | 1 | -.133 |
|  | Sig. (2-tailed) |  | .714 |
|  | N | 10 | 10 |
| Residual chlorine | Pearson Correlation | -.133 | 1 |
|  | Sig. (2-tailed) | .714 |  |
|  | N | 10 | 10 |

Table 5

| Correlations between Education and HH water treatment chemical use |  |  |  |
| --- | --- | --- | --- |
|  |  | Education | HH water treatment chemical use |
| Education | Pearson Correlation | 1 | .204 |
|  | Sig. (2-tailed) |  | .062 |
|  | N | 85 | 85 |
| HH water treatment chemical use | Pearson Correlation | .204 | 1 |
|  | Sig. (2-tailed) | .062 |  |
|  | N | 85 | 85 |

| Table 6:- Correlations of projected population and their future water demand |  |  |  |
| --- | --- | --- | --- |
|  |  | Projected water demand | Projected Population |
| Projected water demand | Pearson Correlation | 1 | 1.000** |
|  | Sig. (2-tailed) |  | .000 |
|  | N | 11 | 11 |
| Projected Population | Pearson Correlation | 1.000** | 1 |
|  | Sig. (2-tailed) | .000 |  |
|  | N | 11 | 11 |

Table:-8

| Corelation betwin HH size and amount of water consumed |  |  |  |
| --- | --- | --- | --- |
|  |  | HHpopu | WSSRI7 |
| Number of HH size | Pearson Correlation | 1 | .314** |
|  | Sig. (2-tailed) |  | .003 |
|  | N | 85 | 85 |
| Amount of water consumed per HH | Pearson Correlation | .314** | 1 |
|  | Sig. (2-tailed) | .003 |  |
|  | N | 85 | 85 |
| **. Correlation is significant at the 0.01 level (2-tailed). |  |  |  |

Appendix E

Figures

Fig 1:- Water schemes states in the study area

Fig: 2

Appendix E

General information of the respondents

These key issues highly determine the water use and demand in the households and the extent to which the households get involved in sanitation and hygienic issues. An understanding of these can help to see which areas were critical for enhancing water supply and sanitation schemes were to be education, house hold size and occupation. From all respondent about 95.29% were in the productive age range that is 25 to 64 years of ages. That means the data was gathered from productive age group and indeed people of this group are expected to take action on development process of rural water supply and sanitation. The average age of the respondent were about 44.61 with the standard deviation of 11.71 and having significant age difference among the respondents. According to HH interview, the mean household number is about 7.8 while the zonal, regional, and country average households are 6, 5 and 4.7 respectively(CSA 2007, SNNPR BoFED, 2011)

Households live in the study area have different occupations. These occupations include Farming, small scale business, Government employ, privet work and labor work. From all sample households, 76.5% are get their income by farming, 7.1% are government employ, 2.4% gets their income by small scale business, 14% are  gets their income by mixed system. Out of all sample households, the dominant one is faming. This shows almost all household in rural area make a living by subsistence agricultural farming and animal farming (Appendix C Table 11). Educational level of the sample household shown that 37.6% of respondents are primary educational background, 27.1% have no educational background, 16.5% have non-formal educational background and only 18.8% of the respondents have both secondary and higher educational backgrounds (Table 8). More than half of the respondents in the study area can write and read. In other way 27.1% of the respondent couldn’t write and read and 16.5% less pebble of writing and reading (Appendix C, table 12). Totally 43.6% of the respondents can’t read and write. This shows that educational level and household income source have an influence on clean water supply and sanitation program.